OSeMOSYS for Transmission

OSTRAM

Data Package v1.0 Report

South Asia Power System Connectivity Model

Deliverable #1

6 Countries  |  10 Model Nodes  |  8,600+ Data Records  |  40+ Verified Sources

UN ESCAP Energy Division

March 2026

# 1. Executive Summary

This report accompanies the delivery of Data Package v1.0 for the OSTRAM (OSeMOSYS for Transmission) South Asia Power System Connectivity Model. It documents the data foundation assembled to support long-term energy planning across Bangladesh, Bhutan, India (disaggregated into five sub-regions: North, East, Northeast, West, and South), Maldives, Nepal, and Sri Lanka over the 2023–2050 planning horizon [1], [2].

The data collection effort has produced two companion deliverables that together constitute the complete, model-ready dataset:

- SOASIA_OSeMOSYS_Template_v2_filled: A 26-sheet workbook structured for direct ingestion by the otoole/OSeMOSYS pipeline [1], containing all model parameters including technology definitions, costs, capacity factors, demand projections, interconnectors, and emissions data. It comprises over 5,200 parameter rows.

- OSTRAM_Consolidated_Data_Inventory_v1: A 13-sheet evidence base documenting provenance, sources, and remaining gaps. It includes plant-level generation inventories, a cost database with three scenarios [3], VRE profiles [4], and a full gaps-and-actions tracker. It contains over 8,600 records citing more than 40 verified sources.

Across the six countries and ten model nodes, the data collection is substantially complete: of 66 tracked data dimensions, 58 are fully populated, 5 are partially filled, 2 have identified gaps, and 1 is not applicable. Maldives is the only country with outstanding data gaps requiring attention.

# 2. Data Collection Summary

The following figures summarize the scope of the data assembled for the OSTRAM model:

| Category | Count | Description |
| --- | --- | --- |
| Existing Power Plants | 2,131 | Catalogued at plant level across all six countries [5]–[10] |
| Planned Generation Projects | 565 | Tracked with expected COD and development status |
| Transmission Lines | 2,360+ | Mapped across the region |
| VRE Timeslice Records | 2,160 | Solar and wind capacity factors [4] |
| Cross-Border Interconnectors | 13 | Parameterized corridors with CAPEX, loss %, and lifetime [11]–[14] |
| Cost Sources in Registry | 28 | Verified citations with URLs and access status |

# 3. Data Completeness Assessment

A systematic completeness matrix tracks the status of each data dimension across all six countries. The matrix uses three categories: Complete (data fully populated and source-verified), Partial (data available but from a single source or with some estimation), and Gap (data missing or insufficient for modeling).

| Data Dimension | Bangladesh | Bhutan | India | Maldives | Nepal | Sri-Lanka |
| --- | --- | --- | --- | --- | --- | --- |
|  | BGD | BTN | IND | MDV | NPL | LKA |
| Existing Generation (plant-level) | Complete | Complete | Complete | Partial | Complete | Complete |
| Planned Generation Pipeline | Complete | Complete | Complete | Partial | Complete | Complete |
| Demand Forecasts (to 2050) | Complete | Complete | Complete | Complete | Complete | Complete |
| Historical Production / Gen. Mix | Complete | Complete | Complete | Complete | Complete | Complete |
| Cross-Border Interconnections | Complete | Complete | Complete | Complete | Complete | Complete |
| Transmission Grid | Complete | Complete | Complete | Complete | Complete | Complete |
| VRE Capacity Factors (Solar/Wind) | Complete | Complete | Complete | Complete | Complete | Complete |
| Timeslice Demand Profiles | Complete | Complete | Complete | Partial | Complete | Complete |
| Hydro Seasonal Detail | Partial | Complete | Complete | N/A | Complete | Complete |
| Technology Costs (CAPEX/O&M) | Complete | Complete | Complete | Complete | Complete | Complete |
| Hourly Load Shape | Complete | Complete | Complete | Partial | Complete | Complete |

Of the 66 data points tracked, 58 are complete, 5 are partial, 2 are gaps, and 1 is not applicable (Maldives hydro). Maldives remains the only country with outstanding gaps, specifically in timeslice demand fractions and hourly load shape data.

# 4. Outstanding Gaps and Actions

The following table lists the remaining data gaps, ranked by priority. Each item has been logged in the Gaps_Actions tracker within the Consolidated Data Inventory with assigned actions and responsible parties.

| Priority | Gap Description | Recommended Action |
| --- | --- | --- |
| HIGH | Maldives demand profiles: missing timeslice fractions | Look at academic references, e.g. [42], or find the data directly with STELCO -the country’s electricity company-. |
| HIGH | Fuel cost subsidies per country | Collect from national energy ministries and ADB databases [15] |
| HIGH | India demand forecast post-2037 | Source from CEA 20th EPS [16] or NITI Aayog long-term scenarios |
| MEDIUM | 15 country multiplier cells flagged as assumptions | Source from national utilities and ADB project data |
| MEDIUM | Maldives outer island electrification plan | Obtain MEE/STELCO island-by-island capacity data [9] |
| MEDIUM | Emission factors: country-specific values | Extract from national communications and UNFCCC reports [43-48] |
| LOW | Post-2044 Sri Lanka demand extrapolation | Growth rate extension from CEB LTGEP 2025–2044 [17] |

# 5. File Architecture and Data Detail

## 5.1 OSeMOSYS Template Workbook

The SOASIA_OSeMOSYS_Template_v6_filled.xlsx workbook contains 26 worksheets organized into six functional groups, designed for direct ingestion by the otoole pipeline [1]:

### Model Structure

Sheets: README, Fixed_Horizon_Parameters, Primary_Techs, Secondary_Techs, Demand_Techs. These define the technology set, operational lifetimes, and capacityToActivity conversion units. Approximately 2,500 parameter rows span primary and secondary generation technologies.

### Costs and Economics

Sheets: Technology_Costs, VariableCost, Emissions. These contain CAPEX, fixed O&M, variable costs, and emission activity ratios by technology. Cost data is anchored to India and cross-checked against the NREL Annual Technology Baseline (ATB) [3].

### Capacity and Dispatch

Sheets: Capacities_CF, Capacities_CF_Options, Yearsplit_Template, Yearsplit_ReNinja, DaySplit. These provide per-timeslice capacity factors with three source options (template defaults, Renewables Ninja profiles [4], and country-verified values), along with year-split fractions for the 12-timeslice architecture.

### Demand and Trade

Sheets: Demand_Projection, Demand_Profiles, Interconnectors, Interconnector_Params. These contain annual demand by node (in PJ), timeslice demand fractions, and the 13 cross-border corridor definitions including CAPEX, loss percentages, and operational parameters [11]–[14].

### Inventory and QA

Sheets: Existing_Generation (2,115 plants), Planned_Generation (554 projects), RE_Targets, RE_Potential_Ceilings. These provide plant-level inventories [5]–[10], national renewable energy targets aligned to NDC commitments, and physical RE potential limits used for TotalAnnualMaxCapacity constraints.

### Validation and Provenance

Sheets: Integration_Log, Provenance_Matrix, ATB_Comparison, Cross_Validation_Log, Validation_ThermalDispatch. These support cell-level source tracking, 172 cross-validation entries, ATB cost benchmarks [3], and thermal dispatch capacity factor validation data.

## 5.2 Consolidated Data Inventory

The OSTRAM_Consolidated_Data_Inventory_v5.xlsx workbook serves as the evidence base behind the model template. Its 13 sheets document what was collected, where it came from, and what gaps remain:

| Sheet | Rows | Contents |
| --- | --- | --- |
| Existing_Generation | 2,125 | Plant-level inventory: country, node, fuel, capacity, owner |
| Planned_Generation | 560 | Project pipeline with expected COD and development status |
| Technology_Costs | 182 | Three cost scenarios across seven milestone years (2023–2050) |
| Fuel_Costs | 27 | Crude, coal, LNG, diesel price trajectories for three scenarios |
| Country_Multipliers | 15 | India-anchored cost adjustments with source flag per cell |
| Interconnectors | 14 | 13 cross-border corridors: CAPEX, loss %, lifetime |
| Demand_Forecasts | 185 | Historical and projected demand per country to 2050 |
| Capacity_Factors_TS | 2,461 | Dispatch and RE Ninja CFs per timeslice per technology |
| Demand_Profiles | 109 | Timeslice demand fractions for BTN, IND (5 regions), NPL |
| Renewable_Ninja | 2,161 | Solar/wind CFs: 10 nodes, 9-year average, 12 timeslices [4] |
| Sources_Registry | 41 | Full citations with URLs, document type, and access status |
| Gaps_Actions | 39 | Tracked items with status, priority, and required action |

# 6. Power Sector Inventory

The model draws on a comprehensive inventory of existing and planned power infrastructure across all six countries. The following table summarizes the count of catalogued assets:

| Country | Existing Gen. | Planned Gen. | Exist. Intercon. | Planned Intercon. | Transmission |
| --- | --- | --- | --- | --- | --- |
| India | 1,875 | 379 | 17 | 13 | 2,089 lines |
| Bangladesh | 140 | 17 | 7 | 10 | 30 lines |
| Nepal | 48 | 32 | 6 | 7 | 151 lines |
| Bhutan | 15 | 16 | 21 | 11 | 46 lines |
| Sri Lanka | 42 | 96 | 3 | 16 | 33 lines |
| Maldives | 11 | 25 | 3 | 4 | 11 lines |
| TOTAL | 2,131 | 565 | 57 | 61 | 2,360+ |

Primary data sources include CEA [7] and NITI Aayog (India) [20], BPDB (Bangladesh) [5], NEA (Nepal) [8], BPC (Bhutan) [6], CEB (Sri Lanka) [10], and STELCO/MCCEE (Maldives) [9]. These plant-level inventories are maintained in the 20 disaggregated country workbooks organized across three pillars: Energy Statistics, Power Infrastructure, and Demand Analysis.

# 7. Cost Architecture

Technology costs follow an India-anchored multiplier approach [3]. India (multiplier = 1.0) serves as the base, and each country receives a cost uplift ratio sourced from ADB project data [15], utility reports, or expert estimates. Costs are tracked across three scenarios (Conservative, Moderate, and Ambitious) for seven milestone years spanning 2023 to 2050.

The cost database covers 23 generation technologies plus battery storage, with 182 technology cost entries in total. India demonstrates a structural cost advantage, with renewable energy costs 35–57% below global ATB benchmarks [3]. The following table shows the country multiplier matrix for key technologies:

| Technology | IN | BD | LK | NP | BT | MV | Confidence |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Solar PV | 1.00 | 1.75 | 2.20 | 2.25 | 2.25 | 6.00 | Partial |
| Onshore Wind | 1.00 | 1.75 | 1.90 | 1.00* | 1.00* | 1.00* | Partial |
| Hydro RoR | 1.00 | 1.00* | 1.30 | 1.50 | 0.95 | 1.00* | Good |
| Hydro Storage | 1.00 | 1.00* | 1.50 | 2.50 | 1.10 | 1.00* | Partial |
| Coal | 1.00 | 1.60 | 2.00 | 1.00* | 1.00* | 1.00* | Partial |
| CCGT | 1.00 | 1.10 | 1.90 | 1.00* | 1.00* | 1.00* | Partial |
| BESS 4h | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | Low |
| Diesel | 1.00 | 1.10 | 1.40 | 1.50 | 1.50 | 1.00 | Good |

Values marked with * are default assumptions (1.0) that still require sourcing from national utilities or project databases. Confidence levels reflect the quality of underlying data: Good indicates ADB or utility project data, Partial indicates a single source or estimate, and Low means no country-specific data was found.

Thirteen cross-border interconnectors have been parameterized [11]–[14], covering corridors such as BD↔IN_E, BD↔IN_NE, BT↔IN_E, BT↔IN_NE, NP↔IN_N, NP↔IN_E, LK↔IN_S, MV↔IN_S, plus five internal India corridors (N↔E, N↔W, E↔NE, E↔S, W↔S). Each corridor includes CAPEX (ranging from $28 to $1,374/kW), fixed O&M, loss percentage, and operational lifetime.

# 8. Timeslice Architecture

The model uses a 12-timeslice structure defined by four seasons crossed with three daily bands:

| Season / Band | D1: Night (00–06) | D2: Day (06–18) | D3: Evening (18–24) |
| --- | --- | --- | --- |
| S1: Winter (Dec–Feb) | S1D1 | S1D2 | S1D3 |
| S2: Pre-monsoon (Mar–May) | S2D1 | S2D2 | S2D3 |
| S3: SW Monsoon (Jun–Sep) | S3D1 | S3D2 | S3D3 |
| S4: Post-monsoon (Oct–Nov) | S4D1 | S4D2 | S4D3 |

Three major datasets feed into this timeslice structure:

- Capacity_Factors_TS (2,460 rows): Dispatch capacity factors for Bangladesh [18] and Sri Lanka [19], plus Renewables Ninja profiles [4] for all six countries.

- Demand_Profiles (108 rows): Demand fractions per timeslice for Bhutan [6], India (five sub-regions) [20], and Nepal [21].

- Renewable_Ninja (2,160 rows): Solar and wind capacity factors across 10 regions, calculated as nine-year climate averages (2014–2022) from MERRA-2 reanalysis data [4], disaggregated into 12 timeslices.

# 9. Variable Renewable Energy Profiles

VRE capacity factor profiles are sourced from Renewables Ninja [4], which uses NASA MERRA-2 reanalysis data to produce consistent hourly climate fields (irradiance, wind speed, temperature) at approximately 50 km resolution. The dataset covers the full 2014–2022 period for all 10 OSTRAM nodes, providing both solar and wind capacity factors.

Key observations from the VRE profile analysis include: diurnal solar patterns are consistent across all nodes, with peak capacity factors reaching 0.35–0.40 during daytime hours. Wind shows higher variability, particularly in the Sri Lanka and southern India nodes during the monsoon season (S3). The monsoon period concentrates approximately 35% of annual demand across all nodes, creating important correlations between VRE availability and system load.

Hydro seasonal capacity factors exhibit pronounced patterns. Bangladesh Kaptai, for example, shows a monsoon peak with capacity factors exceeding 0.7 in S3 and dry-season lows below 0.15 in S2 [18]. This level of seasonal variation requires the use of TotalTechnologyAnnualActivityUpperLimit constraints rather than simple MaxCapacity bounds to avoid solver infeasibility. Sri Lanka mini-hydro capacity factors peak in the post-monsoon S4 period [17].

# 10. Supporting Country Workbooks

Behind the two consolidated files sit 20 structured workbooks organized across three pillars, following a consistent naming convention ([ISO3]_[Pillar].xlsx):

### Energy Statistics (6 workbooks, one per country)

Each workbook contains six sheets covering capacity factors by technology, demand forecasts (historical and projected), historical generation mix, seasonality and climate data, installed capacity inventories, and source registries with URLs [22]–[27]. These provide the raw evidence base for generation capacity factors and demand growth assumptions.

### Power Infrastructure (6 workbooks, one per country)

Each workbook contains seven sheets documenting existing generation at plant level, generation summaries by fuel type, existing and planned interconnections, existing and planned transmission lines, and planned generation projects. These feed directly into the Existing_Generation and Planned_Generation sheets of the consolidated inventory.

### Demand Analysis (5 workbooks + 3 additional assets)

The demand analysis workbooks cover OSTRAM timeslice profiles, demand forecasts, year-by-year trajectories, hydro availability (RELAC methodology), installed capacity snapshots, cross-validation checks, source selection rationale, and full source citations. The Maldives demand analysis is documented separately as a timeslice assessment methodology note, pending hourly load data.

# 11. Preliminary BAU Scenario Results

Note: The datasets from Data Package v1.0 have not yet been fully integrated into an OSeMOSYS Global base model [1]. The following results are from an initial BAU (v0) scenario run using OSeMOSYS Global defaults and serve as a baseline for comparison once the OSTRAM-specific data is incorporated.

## 11.1 Capacity and Generation Mix

Under the initial BAU scenario, regional installed capacity grows from 458 GW in 2023 to approximately 2,470 GW by 2040. Solar PV and wind dominate new capacity additions, reflecting their improving cost competitiveness across the region [3], [28]. On the generation side, the fuel mix transitions gradually, with renewables capturing an increasing share while thermal generation persists to meet baseload requirements.

## 11.2 Investment and System Costs

Cumulative capital expenditure is concentrated in solar PV, wind, and grid infrastructure. Overall system costs (CAPEX plus OPEX) remain within a relatively narrow band across the three cost scenarios, suggesting that the model is more sensitive to technology deployment patterns than to unit cost assumptions within the explored range.

## 11.3 Discounted Cost and Renewable Share

Discounted system costs by technology show that solar PV and wind represent an increasing share of total investment as their levelized costs decline over the horizon [3], [29]. The renewable share of generation grows from approximately 17% in 2023 to 60% by 2035, driven primarily by aggressive solar PV deployment in India and increasing wind penetration across the region.

## 11.4 CO2 Emissions

Annual CO2 emissions rise from approximately 860 Mt in 2025 to around 1,280 Mt by 2039 under the BAU scenario. India dominates cumulative emissions, reflecting both its scale and its continued reliance on coal-fired generation in the near to medium term [30]. These emission trajectories will serve as the reference against which decarbonization scenarios are measured.

## 11.5 Interconnector Flows

Preliminary interconnector flow analysis reveals that the INDWE↔INDSO corridor dominates near-term flows, reaching approximately 107 TWh by 2030 [11]. By 2050, the INDNO↔INDNE corridor grows substantially to 298 TWh, and cross-border flows to Sri Lanka [14] and Maldives increase meaningfully. These flows highlight the importance of regional grid integration for enabling renewable energy trade and balancing seasonal supply-demand mismatches.

# 12. Modeling Pipeline

The OSTRAM model runs through a five-step automated pipeline from OSeMOSYS Global base inputs to final solved results [1]:

- Import OSeMOSYS Global Inputs: CSV input files from OSeMOSYS Global stored in OG_csvs_inputs/ provide base parameters for technologies, fuels, demands, and costs.

- Pre-processing: Temporal profile normalization, country code corrections, technology-country filtering, NGS unification, and region consolidation produce Excel scenario files.

- Add Transmission Technologies: Domestic transmission and dispatch technologies (RNWTRN, PWRTRN, DSPTRN) are added per country with CAPEX, loss percentages, and operational lifetimes sourced from YAML configuration.

- Compile Model Data: Scenario-specific Excel files are compiled into OSeMOSYS-compatible CSV parameter files via the otoole pipeline.

- Execute Model: otoole converts the data, the GLPK/CBC/CPLEX solver produces results, and outputs are written back to CSV. The pipeline supports parallel multi-scenario runs and is fully reproducible via DVC.

An alternative workflow using run.py automates Steps 4 and 5 via DVC and is recommended for production runs. Full documentation, data dictionaries, and scenario configuration guides are available at ostram.readthedocs.io.

# 13. Collaboration

The OSTRAM model is maintained in a private GitHub repository. To contribute, collaborators should share their GitHub username with the modeling team, accept the repository invitation, and consult the documentation site at ostram.readthedocs.io, which provides installation guides, pipeline walkthroughs, parameter references, and contribution guidelines.

# 14. Next Steps and Timeline

The following milestones guide the project through to completion:

| Date | Milestone | Notes |
| --- | --- | --- |
| 15 Mar 2026 | Data Package v1.0 Freeze | This delivery — documented gaps to improve in future iterations |
| Mid-Apr 2026 | Training Session 1 | Data and scenario setup using preliminary data |
| 30 Apr 2026 | BAU Results + Exchange Maps | Use ATB costs [3] if technology cost data still missing |
| 29 May 2026 | Optimize VRE Results | VRE profile sensitivities if uncertainty is high |
| Mid-Jun 2026 | Training Session 2 | Results and illustrative scenarios |
| 30 Jun 2026 | VRE Target Results | Policy documents review in detail |
| Aug 2026 | Final Package + Handover | Complete reproducible run packages |
| Sep 2026 | Policy Compatibility Report | Subregional modeling compatibility synthesis |

Original milestone dates have been preserved, with contingency planning preferred over schedule slippage.

# 15. Conclusion

Data collection for the OSTRAM South Asia model is substantially complete across all six countries. The BAU scenario results from the initial OSeMOSYS Global run [1] are available and provide a preliminary baseline. The immediate priority is to integrate the Data Package v1.0 datasets into the OSeMOSYS Global base model to produce updated BAU results, followed by the Optimize VRE and VRE Target scenario runs. With the data foundation now frozen, the project is well positioned to proceed through the remaining milestones toward the final handover in August 2026 and the policy compatibility report in September 2026.

# References

The following references are cited throughout this report using IEEE numbered citation format.

[1]  OSeMOSYS Global, "OSeMOSYS Global: An open-source, open-data global electricity system model generator," GitHub repository, 2024. [Online]. Available: https://github.com/OSeMOSYS/osemosys_global

[2]  M. Howells et al., "OSeMOSYS: The Open Source Energy Modelling System," Energy Policy, vol. 39, no. 10, pp. 5850–5870, 2011.

[3]  National Renewable Energy Laboratory (NREL), "2024 Annual Technology Baseline (ATB)," Golden, CO, 2024. [Online]. Available: https://atb.nrel.gov/

[4]  S. Pfenninger and I. Staffell, " Using bias-corrected reanalysis to simulate current and future wind power output.", Energy, vol. 114, pp. 1224–1239, 2016. [Online]. Available: https://www.renewables.ninja/

[5]  Bangladesh Power Development Board (BPDB), "Daily Electricity Generation Report – 10 February 2026," Dhaka, Bangladesh. [Online]. Available: https://misc.bpdb.gov.bd/daily-generation?date=10-02-2026

[6]  Bhutan Power Corporation Limited (BPC), "Power Data Book 2024," Thimphu, Bhutan, 2024. [Online]. Available: https://www.bpc.bt.

[7]  Central Electricity Authority (CEA), "National Electricity Plan (Volume I) Generation" Ministry of Power, Government of India, New Delhi, 2023. [Online]. Available: https://cea.nic.in/

[8]  Nepal Electricity Authority (NEA), System Operation Department, "Yearly Operational Report of Nepal for FY 2079/80," Load Dispatch Centre (LDC), Kathmandu, Nepal, 2023. [Online]. Available: https://www.nea.org.np/

[9]  State Electric Company Limited (STELCO), "Annual Report 2024," Male', Maldives, 2024. URL: https://www.stelco.com.mv/

[10]  Ceylon Electricity Board (CEB), "Annual Report 2023," Colombo, Sri Lanka, 2024. [Online]. Available: https://www.ceb.lk/

[11]  Asian Development Bank (ADB), "Bangladesh–India Electrical Grid Interconnection Project (Bheramara): Project Administration Document," ADB, Manila, 2018. [Online]. Available: https://www.adb.org/

[12]  PFC Consulting Limited (PFCCL), "e-RfP: Appointment of Consultant for Feasibility Report and Techno-Commercial Analysis for Domestic Manufacturing, Safe Laying and Maintenance of Subsea Cables," New Delhi, January 2025. [Online]. Available: https://www.pfcclindia.com/

[13]  World Bank, "Nepal–India Electricity Transmission and Trade Project: Project Appraisal Document," Washington, DC, 2019. [Online]. Available: https://www.worldbank.org/

[14]  D. Palchak, J. Cochran, et al., "Cross-Border Electricity Trade between India and Sri Lanka," National Renewable Energy Laboratory, NREL/TP-6A20-71983, Golden, CO, 2018. [Online]. Available: https://docs.nrel.gov/docs/fy19osti/71983.pdf.

[15]  Asian Development Bank (ADB), "Energy sector assessment, strategy, and road map—South Asia," ADB, Manila, various years. [Online]. Available: https://www.adb.org/

[16]  Central Electricity Authority (CEA), "20th Electric Power Survey of India," Ministry of Power, Government of India, New Delhi, 2022. [Online]. Available: https://cea.nic.in/

[17]  Ceylon Electricity Board (CEB), "Long Term Generation Expansion Plan 2025–2044," Transmission and Generation Planning Branch, Colombo, Sri Lanka, May 2025.

[18]  Power Grid Company of Bangladesh (PGCB), "Hourly electricity generation dataset (2015–2025)," UCI Machine Learning Repository, 92,650 records, CC BY 4.0, 2025. DOI: 10.24432/C59P6V

[19]  Public Utilities Commission of Sri Lanka (PUCSL), "15-minute dispatch data for Sri Lanka (363 daily sheets, 2023)," Colombo, Sri Lanka, 2024.

[20]  NITI Aayog, “India’s Power Sector | Capacity & Generation Mix,” India Climate & Energy Dashboard. [Online]. Available: https://iced.niti.gov.in/energy/electricity/generation

[21]  NREL and Nepal Electricity Authority (NEA), "Demand forecasts and load profiles FY 2073/2079–80," Kathmandu, Nepal, 2023.

[22]  IRENA, "Energy profile: Bangladesh," International Renewable Energy Agency, Abu Dhabi, updated 22 Sep. 2025. [Online]. Available: https://www.irena.org/

[23]  IRENA, "Energy profile: Bhutan," International Renewable Energy Agency, Abu Dhabi, updated 2025. [Online]. Available: https://www.irena.org/

[24]  IRENA, "Energy profile: India," International Renewable Energy Agency, Abu Dhabi, updated 2025. [Online]. Available: https://www.irena.org/

[25]  IRENA, "Energy profile: Maldives," International Renewable Energy Agency, Abu Dhabi, updated 2025. [Online]. Available: https://www.irena.org/

[26]  IRENA, "Energy profile: Nepal," International Renewable Energy Agency, Abu Dhabi, updated 2025. [Online]. Available: https://www.irena.org/

[27]  IRENA, "Energy profile: Sri Lanka," International Renewable Energy Agency, Abu Dhabi, updated 22 Sep. 2025. [Online]. Available: https://www.irena.org/

[28]  IRENA, "Renewable Power Generation Costs in 2023," International Renewable Energy Agency, Abu Dhabi, 2024. [Online]. Available: https://www.irena.org/publications

[29]  International Energy Agency (IEA), "World Energy Outlook 2025," IEA, Paris, 2025. [Online]. Available: https://www.iea.org/reports/world-energy-outlook-2025

[30]  World Bank, "Commodity Markets Outlook," Washington, DC, 2024. [Online]. Available: https://www.worldbank.org/

[31]  Japan International Cooperation Agency (JICA) and Institute of Energy Economics, Japan (IEEJ), "Integrated Energy and Power Master Plan (IEPMP) for Bangladesh," Government of Bangladesh, Dhaka, Nov. 2023.

[32]  Institute for Energy Economics and Financial Analysis (IEEFA), "Fixing Bangladesh’s Power Sector," IEEFA, 2025. [Online]. Available: https://ieefa.org/

[33]  BloombergNEF (BNEF), "Bangladesh generation mix snapshot (end-2022)," Bloomberg LP, Oct. 2023.

[34]  S. Islam, Turja, and M. A. Habib, " Enhanced power demand forecasting for Bangladesh: using feature engineering associated with environmental and economic impact", Springer Nature Link, 2025. DOI: 10.1007/s42488-025-00140-9

[35]  Central Electricity Regulatory Commission (CERC), "Terms and Conditions for Tariff Determination from Renewable Energy Sources, Regulations 2020," New Delhi, 2020. Available: https://cercind.gov.in/2020/regulation/159_reg.pdf

[36]  A. Abou-Jaoude, L. Larsen, N. Guaita, I. Trivedi, F. Josek, C. Lohse, E. Hoffman, N. Stauff, K. Shirvan, and A. Stein, "Meta-Analysis of Advanced Nuclear Reactor Cost Estimations," Idaho National Laboratory, INL/RPT-24-78006, June 2024. Available: https://www.osti.gov/biblio/2371533

[37]  International Institute for Sustainable Development (IISD), "Mapping India's Energy Policy 2025: Government Support for Fossil Fuels and Clean Energy," IISD, Winnipeg, December 2025. [Online]. Available: https://www.iisd.org/

[38]  JICA, TEPCO HD, and Nippon Koei, "Power System Master Plan 2040 (PSMP 2040)," Department of Energy, Ministry of Economic Affairs, Thimphu, Bhutan, Nov. 2019.

[39]  Government of Maldives, "Maldives Energy Roadmap," Ministry of Environment, Climate Change and Energy, Male, 2024.

[40]  T. Barnes, W. Usher. "otoole: OSeMOSYS tools for energy system modelling," Journal of Open Source Software, 2021. [Online]. Available: https://github.com/OSeMOSYS/otoole

[41]  DVC (Data Version Control), "Open-source version control system for ML projects," Iterative, 2024. [Online]. Available: https://dvc.org/

[42] A. Saadha, K. N. Ishihara, T. Ogawa, and H. Okumura, "Optimizing energy futures in the Maldives: A study of Ocean Thermal Energy Conversion technology energy mixes," Renewable Energy, vol. 256, no. Part D, p. 124204, 2026, doi: 10.1016/j.renene.2025.124204.

[43] Ministry of Environment, Forest and Climate Change, Government of Bangladesh, Third National Communication of Bangladesh to the United Nations Framework Convention on Climate Change, Dhaka, Bangladesh, 2018. [Online]. Available: https://unfccc.int/documents/192278

[44] National Environment Commission, Royal Government of Bhutan, Third National Communication to the UNFCCC, Thimphu, Bhutan, 2020. [Online]. Available: https://unfccc.int/sites/default/files/resource/TNC%20of%20Bhutan%202020.pdf

[45] Ministry of Environment, Forest and Climate Change, Government of India, India: Third Biennial Update Report to the United Nations Framework Convention on Climate Change, New Delhi, India, Feb. 2021. [Online]. Available: https://unfccc.int/documents/268470

[46] Ministry of Forests and Environment, Government of Nepal, Third National Communication to the United Nations Framework Convention on Climate Change, Kathmandu, Nepal, 2021. [Online]. Available: https://unfccc.int/documents/302726

[47] Ministry of Environment, Government of Sri Lanka, Third National Communication of Climate Change in Sri Lanka, Colombo, Sri Lanka, 2022. [Online]. Available: https://unfccc.int/documents/624533

[48] IPCC, "Stationary Combustion," in 2006 IPCC Guidelines for National Greenhouse Gas Inventories, vol. 2, ch. 2, Hayama, Japan: IGES, 2006. [Online]. Available: https://www.ipcc-nggip.iges.or.jp/public/2006gl/vol2.html

Note: URLs were last accessed between January and March 2026. Source availability may change over time. All datasets used in this study are documented in the Sources_Registry sheet of the OSTRAM_Consolidated_Data_Inventory_v5.xlsx workbook, with access status and document type metadata.

Otoole is an open-source data interfacing tool that translates input csvs to OSeMOSYS compatible input datafile.

a representative subdivision of a model year. It defines the model’s intra-annual temporal resolution