## 0_Cover
INDIA – NATIONAL ELECTRICITY PLAN 2022–32: DATA EXTRACTION
Only data explicitly stated in the document. All values include their source page.
Sheet | Topic | Key Explicit Data Points | Key Pages
1_Capacity_Factors | CUF / PLF by technology | Solar CUF: 16.7–24.5% by region; Wind onshore: 23.9–27.2%; Offshore: 36.5–57.5%; Coal PLF 2017-22 historical; Coal PLF projected 58.4–58.7%; Gas PLF 17.2% | 70, 133, 152, 154
2_Demand_Forecasts | Energy demand & capacity projections | 2026-27: 1,907.8 BU / 277.2 GW; 2031-32: 2,473.7 BU / 366.4 GW; Generation mix by fuel; Installed capacity by technology | 63, 152, 153, 158
3_Historical_Production | Historical generation & installed capacity | IC & generation 2016-22 (Table 1.1); Solar additions 2017-22 (Table 6.3); Wind IC 40.4 GW (2022); RE share 5.8%→39% | 67, 70, 169, 172
4_Seasonality | Seasonal & monthly generation patterns | 5-season framework; Solar peak Feb-Mar (text); Wind peak May-Aug (text); Critical planning days; Hydro methodology | 133, 150, 169, 172
Document: Central Electricity Authority (CEA), Government of India. National Electricity Plan, Volume I – Generation, 2022–32. Notified May 2023. All values in this workbook are extracted directly from the document text or tables. No values have been derived or calculated by the analyst. Chart data (Exhibits 6.3, 6.6) is not included as it is not available in tabular form in the PDF.

## 1_Capacity_Factors
INDIA – CAPACITY UTILIZATION FACTORS (CUF/PLF) ¦ CEA National Electricity Plan 2022-32
A. Region-wise CUF Assumed in Generation Model ¦ Annexure 5.1, p.154
Technology | NR (North) | WR (West) | SR (South) | ER (East) | NER (North-East) | PDF Source
Solar PV – Existing capacity | 18.49% | 19.54% | 19.76% | 17.94% | 16.67% | Annexure 5.1, p.154
Solar PV – Planned / candidate sites | 22.21–24.50% | 23.47% | 23.74% | 21.55% | 20.02% | Annexure 5.1, p.154
Wind – Onshore | 24.36% | 27.16% | 23.93% | — | — | Annexure 5.1, p.154
Wind – Offshore (WR coast) | — | 36.47% | — | — | — | Annexure 5.1, p.154
Wind – Offshore (SR coast) | — | — | 57.49% | — | — | Annexure 5.1, p.154
Solar PV – All-India blended aggregate | 22% |  |  |  |  | NEP text, p.154: '22% CUF of Solar PV is on aggregated All India basis'
Source: CEA NEP 2022-32, Annexure 5.1 (p.154). CUF = Capacity Utilization Factor, equivalent to Capacity Factor.
B. Historical Plant Load Factor – Thermal Power Plants ¦ Exhibit 1.6, p.70
Year | National Average PLF – Thermal (%) | Note | PDF Source
2017-18 | 60.72% |  | Exhibit 1.6, p.70
2018-19 | 61.07% |  | Exhibit 1.6, p.70
2019-20 | 55.99% |  | Exhibit 1.6, p.70
2020-21 | 54.51% |  | Exhibit 1.6, p.70
2021-22 | 58.87% |  | Exhibit 1.6, p.70
Source: CEA NEP 2022-32, Exhibit 1.6 (p.70). National average for utility thermal power plants.
C. Projected PLF – Coal-based Plants ¦ Table 5.14, p.152
Year | Coal+Lignite Generation (BU) | Average PLF (%) | PDF Source
2026-27 (projected) | 1,203.4 | 58.4% | Table 5.14, p.152
2031-32 (projected) | 1,334.7 | 58.7% | Table 5.14, p.152
Source: CEA NEP 2022-32, Table 5.14 (p.152). Model output from generation planning studies.
D. Gas Plant PLF – Historical Note ¦ p.133
Fuel | PLF / Utilisation | PDF Source
Gas-based plants | ~17.2% | NEP text, p.133: 'existing gas-based power plants are operating at PLF of about 17.2%'
Source: CEA NEP 2022-32, Section 5 text (p.133). Value for 2021-22.

## 2_Demand_Forecasts
INDIA – DEMAND FORECASTS ¦ CEA National Electricity Plan 2022-32 (20th Electric Power Survey)
A. All-India Energy Requirement & Peak Demand ¦ p.63
Year | Energy Requirement (BU) | Peak Demand (GW) | Type | PDF Source
2021-22 | 1,491.9 | — | Actual (base year – Table 1.1, p.67) | Table 1.1, p.67
2026-27 | 1,907.8 | 277.2 | Projected | p.63 & conclusions p.158
2031-32 | 2,473.7 | 366.4 | Projected | p.63 & conclusions p.158
Source: CEA NEP 2022-32, p.63. Based on 20th Electric Power Survey (EPS). Includes impacts of EV adoption, rooftop solar, green hydrogen production, and Saubhagya scheme.
B. Energy Savings from Demand-Side Management ¦ p.63
Year | Moderate Scenario (BU) | Ambitious Scenario (BU) | PDF Source
2026-27 | 213 | 285 | p.63
2031-32 | 304 | 404 | p.63
Source: CEA NEP 2022-32, p.63. Utility + non-utility savings combined.
C. Projected Gross Generation by Fuel/Technology ¦ p.153 (points 11 & 12)
Fuel / Technology | 2026-27 (BU) | 2031-32 (BU) | PDF Source
Coal & Lignite | 1,203.4 | 1,334.8 | p.153, point 11 & 12
Gas | 34.1 | 33.4 | p.153, point 11 & 12
Nuclear | 77.9 | 117.6 | p.153, point 11 & 12
Large Hydro (incl. imports) | 207.7 | 246.2 | p.153, point 11 & 12
Solar PV | 339.3 | 665.6 | p.153, point 11 & 12
Wind | 153.5 | 258.1 | p.153, point 11 & 12
Other RE (biomass etc.) | 9.1 | 10.0 | p.153, point 11 & 12
TOTAL GROSS GENERATION | 2,025.0 | 2,665.7 | p.153, point 11 & 12
Source: CEA NEP 2022-32, p.153, conclusion points 11 and 12. Values are gross generation outputs from generation planning model.
D. Projected Installed Capacity by Technology ¦ p.152 & p.158
Technology | 2026-27 (MW) | 2031-32 (MW) | PDF Source
Coal | 235,133 | 259,643 | p.152 & p.158
Gas | 24,824 | 24,824 | p.152 & p.158
Nuclear | 13,080 | 19,680 | p.152 & p.158
Large Hydro | 52,446 | 62,178 | p.152 & p.158
Solar PV | 185,566 | 364,566 | p.152 & p.158
Wind | 72,895 | 121,895 | p.152 & p.158
Small Hydro | 5,200 | 5,450 | p.152 & p.158
Biomass | 13,000 | 15,500 | p.152 & p.158
Pumped Storage (PSP) | 7,446 | 26,686 | p.152 & p.158
BESS | 8,680 | 47,244 | p.152 & p.158
TOTAL | 609,591 | 900,422 | p.152 & p.158
Source: CEA NEP 2022-32, p.152 (2026-27) and p.158 / conclusion point 6 (2031-32). All values in MW.

## 3_Historical_Production
INDIA – HISTORICAL INSTALLED CAPACITY & GENERATION ¦ CEA National Electricity Plan 2022-32
A. Growth of Installed Capacity & Electricity Generation ¦ Table 1.1, p.67
Year | Installed Capacity (MW) | IC YoY Growth (%) | Total Generation (BU) | Gen YoY Growth (%) | PDF Source
2016-17 (base) | 326,832 | — | 1,242 | — | Table 1.1, p.67
2017-18 | 344,002 | 5.25 | 1,308.1 | 5.35 | Table 1.1, p.67
2018-19 | 356,100 | 3.52 | 1,376.1 | 5.21 | Table 1.1, p.67
2019-20 | 370,106 | 3.93 | 1,389.1 | 0.96 | Table 1.1, p.67
2020-21 | 382,151 | 3.25 | 1,381.9 | -0.52* | Table 1.1, p.67 *COVID year
2021-22 | 399,496 | 4.54 | 1,491.9 | 7.96 | Table 1.1, p.67
Source: CEA NEP 2022-32, Table 1.1 (p.67). CAGR 2017-22: Installed Capacity 3.72%; Generation 1.3% (stated in NEP text).
B. Renewable Energy – Installed Capacity Share ¦ p.70
Reference Point | RE Share of Total Capacity (%) | RE Share of Generation (%) | PDF Source
2006-07 | 5.8% | 1.5% | p.70: 'contribution of RE sources including Large Hydro to installed capacity increased from 5.8% in 2006-07'
2021-22 | 39.0% | 21.5% | p.70: 'increased to 41% as on 31.12.2022 and energy contribution increased to 21.54% in 2021-22'
Dec 2022 | 41.0% | — | p.70
Source: CEA NEP 2022-32, p.70. RE includes Large Hydro.
C. Year-wise Grid-Connected Solar Installed Capacity ¦ Table 6.3, p.169
FY | Capacity Added During Year (MW) | Cumulative Capacity (MW) | PDF Source
2014 (Mar) | — | 2,600 | p.169 text: '2.6 GW in March 2014'
2017-18 | 9,362.65 | 21,651.48 | Table 6.3, p.169
2018-19 | 6,529.20 | 28,180.71 | Table 6.3, p.169
2019-20 | 6,447.14 | 34,627.82 | Table 6.3, p.169
2020-21 | 5,457.55 | 40,085.37 | Table 6.3, p.169
2021-22 | 13,911.17 | 53,996.54 | Table 6.3, p.169
2022 (Mar) | — | 54,000 | p.169 text: '54 GW in March 2022'
Source: CEA NEP 2022-32, Table 6.3 (p.169). Grid-connected solar only.
D. Wind Installed Capacity – Reference Points ¦ p.172
Reference Point | Installed Capacity | PDF Source
2021-22 (31.03.2022) | 40,357 MW | p.172: 'total installed capacity of 40.357 GW as on 31.03.2022'
Source: CEA NEP 2022-32, Section 6.2.2 (p.172).

## 4_Seasonality
INDIA – SEASONAL GENERATION PROFILES ¦ CEA National Electricity Plan 2022-32
A. Five-Season Framework Used in Generation Planning Model ¦ Section 5.6.3, p.133
Season | Months | Notes (from NEP text) | PDF Source
Spring | February – March | Solar generation is maximum in Feb-March (stated in Exhibit 6.3 caption, p.169) | Section 5.6.3, p.133
Summer | April – June |  | Section 5.6.3, p.133
Monsoon | July – September | Wind generation is highest May–August, coincides with monsoon (p.172) | Section 5.6.3, p.133
Autumn | October – November | NEP identifies Oct-Nov as Minimum VRE (Wind+Solar) generation period (p.150) | Section 5.6.3, p.133
Winter | December – January |  | Section 5.6.3, p.133
Source: CEA NEP 2022-32, Section 5.6.3 (p.133). These five seasons are the basis for all hourly dispatch modeling in the plan.
B. Solar PV – Seasonal Generation – Explicit Statements in NEP Text
Statement | Exhibit / Section | Exact Quote from NEP | PDF Source
Peak solar month | Exhibit 6.3 caption | average solar generation is maximum in the month of Feb-March | p.169
Seasonal profiles | Exhibits 6.4(a)–(e) | Season Wise Daily Variation of normalized solar profile for different regions shown | p.169
Monthly chart | Exhibit 6.3 | Typical Month Wise CUF Variation of Solar – chart (not tabular data) | p.169
Note: Monthly solar CUF values are presented as a chart (Exhibit 6.3) in the PDF, not as a data table. Only the text statement about Feb-March peak is extractable as explicit data.
C. Wind – Seasonal Generation – Explicit Statements in NEP Text
Statement | Exhibit / Section | Exact Quote from NEP | PDF Source
Peak wind period | Exhibit 6.6 caption | wind generation is usually more in the period May to Aug, which coincides with the monsoon period in India | p.172
Seasonal profiles | Exhibits 6.7(a)–(c) | Season Wise Daily Variation of normalized wind profiles for different regions shown | p.172
Monthly chart | Exhibit 6.6 | Typical Month Wise CUF Variation of Wind – chart (not tabular data) | p.172
Note: Monthly wind CUF values are presented as a chart (Exhibit 6.6) in the PDF, not as a data table. Only the text statement about May-August peak is extractable as explicit data.
D. Hydro – Seasonal Generation – Methodology Note ¦ Section 5.6.3, p.133
Statement | NEP Text (explicit) | PDF Source
Historical data used | actual monthly hydro generation of existing hydro power plants for the years 2018-19 to 2021-22 has been studied | p.133
Purpose | to account for variation in generation availability due to the eventualities of drought or excess rainfall in any particular year | p.133
Design energy | Energy of hydro units under construction taken based on design energy of the project | p.133
Source: CEA NEP 2022-32, Section 5.6.3 (p.133). Actual monthly hydro data 2018-19 to 2021-22 used in model but not published as a table in the NEP document.
E. Critical Days Identified for System Planning ¦ Table 5.13, p.150
Event | Month Identified in NEP | PDF Source
Maximum VRE (Wind+Solar) generation day | July | Table 5.13, p.150
Maximum Solar generation day | March | Table 5.13, p.150
Minimum Solar generation day | July | Table 5.13, p.150
Maximum Energy Demand Day | May | Table 5.13, p.150 & p.154: 'peak demand of 277 GW is likely to occur in month of May'
Minimum Energy Demand Day | October–November | Table 5.13, p.150
Minimum VRE (Wind+Solar) generation day | January | Table 5.13, p.150
Source: CEA NEP 2022-32, Table 5.13 / Section 5.9 (p.150). These are the specific days modelled in hourly dispatch studies for 2026-27.

## 5_Demand_Energy_State
Electrical Energy Requirement by State / Region (MU = GWh) ¦ PAM Baseline Scenario
Region | State / UT | FY 2016-17 | FY 2017-18 | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 | FY 2023-24 | FY 2024-25 | FY 2025-26 | FY 2026-27 | FY 2027-28 | FY 2028-29 | FY 2029-30 | FY 2030-31 | FY 2031-32 | FY 2032-33 | FY 2033-34 | FY 2034-35 | FY 2035-36 | FY 2036-37
Northern Region | Delhi | 31588 | 33625 | 35584 | 37730 | 40080 | 42640 | 45382 | 48306 | 51371 | 54561 | 57898 | 61390 | 65043 | 68860 | 72845 | 77001 | 81369 | 85972 | 90825 | 95944 | 101352
Northern Region | Haryana | 50958 | 54723 | 58028 | 61512 | 65286 | 69380 | 73760 | 78425 | 83308 | 88385 | 93688 | 99230 | 105020 | 111061 | 117359 | 123919 | 130806 | 138055 | 145691 | 153734 | 162221
Northern Region | Himachal Pradesh | 9262 | 9725 | 10211 | 10722 | 11258 | 11821 | 12412 | 13033 | 13685 | 14369 | 15087 | 15841 | 16633 | 17465 | 18338 | 19255 | 20218 | 21229 | 22290 | 23405 | 24576
Northern Region | Jammu & Kashmir | 17810 | 18297 | 18819 | 19444 | 20140 | 20890 | 21671 | 22472 | 23269 | 24050 | 24821 | 25591 | 26362 | 27135 | 27910 | 28684 | 29471 | 30275 | 31097 | 31939 | 32804
Northern Region | Punjab | 50740 | 53378 | 55694 | 58147 | 60789 | 63629 | 66621 | 69752 | 72953 | 76197 | 79504 | 82883 | 86337 | 89865 | 93464 | 97133 | 100915 | 104829 | 108883 | 113083 | 117445
Northern Region | Rajasthan | 71560 | 76544 | 80883 | 85475 | 90456 | 95859 | 101629 | 107761 | 114161 | 120792 | 127699 | 134894 | 142385 | 150175 | 158270 | 166673 | 175469 | 184701 | 194399 | 204587 | 215309
Northern Region | Uttar Pradesh | 110295 | 115211 | 119878 | 125056 | 130728 | 136859 | 143331 | 150110 | 157049 | 164084 | 171260 | 178600 | 186107 | 193779 | 201611 | 209598 | 217836 | 226362 | 235198 | 244356 | 253871
Northern Region | Uttarakhand | 13452 | 14883 | 16094 | 17338 | 18673 | 20122 | 21682 | 23354 | 25122 | 26980 | 28940 | 31014 | 33210 | 35533 | 37989 | 40584 | 43343 | 46282 | 49415 | 52756 | 56323
Northern Region | Chandigarh | 1668 | 1745 | 1817 | 1897 | 1984 | 2078 | 2177 | 2282 | 2388 | 2496 | 2607 | 2720 | 2836 | 2955 | 3076 | 3200 | 3327 | 3459 | 3596 | 3738 | 3886
| ► Northern Region | 357333 | 378131 | 397008 | 417321 | 439394 | 463278 | 488665 | 515495 | 543306 | 571914 | 601504 | 632163 | 663933 | 696828 | 730862 | 766047 | 802754 | 841164
Western Region | Goa | 5040 | 5197 | 5352 | 5528 | 5722 | 5931 | 6149 | 6375 | 6606 | 6840 | 7077 | 7319 | 7566 | 7816 | 8071 | 8330 | 8595 | 8868 | 9149 | 9438 | 9736
Western Region | Gujarat | 102981 | 105580 | 109367 | 113876 | 118850 | 124191 | 129809 | 135682 | 141720 | 147891 | 154229 | 160751 | 167461 | 174361 | 181452 | 188734 | 196269 | 204087 | 212203 | 220629 | 229390
Western Region | Chhattisgarh | 25714 | 26533 | 27400 | 28381 | 29457 | 30612 | 31823 | 33085 | 34375 | 35686 | 37025 | 38394 | 39794 | 41223 | 42682 | 44169 | 45699 | 47278 | 48909 | 50592 | 52333
Western Region | Madhya Pradesh | 61601 | 63736 | 65867 | 68204 | 70741 | 73454 | 76296 | 79254 | 82275 | 85338 | 88464 | 91655 | 94913 | 98235 | 101621 | 105070 | 108615 | 112270 | 116041 | 119931 | 123951
Western Region | Maharashtra | 143165 | 148033 | 153106 | 158671 | 164713 | 171179 | 177957 | 185017 | 192239 | 199573 | 207066 | 214725 | 222551 | 230544 | 238701 | 247019 | 255577 | 264407 | 273525 | 282941 | 292681
Western Region | D. & N. Haveli | 6221 | 6532 | 6859 | 7202 | 7562 | 7940 | 8337 | 8754 | 9192 | 9652 | 10135 | 10642 | 11174 | 11733 | 12320 | 12936 | 13583 | 14262 | 14975 | 15724 | 16510
Western Region | Daman & Diu | 2454 | 2577 | 2706 | 2841 | 2983 | 3132 | 3289 | 3453 | 3626 | 3807 | 3997 | 4197 | 4407 | 4627 | 4858 | 5101 | 5356 | 5624 | 5905 | 6200 | 6510
| ► Western Region | 347176 | 358188 | 370657 | 384703 | 400028 | 416439 | 433660 | 451620 | 470033 | 488787 | 507993 | 527683 | 547866 | 568539 | 589705 | 611359 | 633694 | 656796 |  | 731111
Southern Region | Andhra Pradesh | 52501 | 55418 | 57999 | 60781 | 63816 | 67099 | 70579 | 74248 | 78040 | 81931 | 85950 | 90104 | 94394 | 98818 | 103379 | 108074 | 112954 | 118040 | 123344 | 128877 | 134658
Southern Region | Telangana | 52756 | 55688 | 58281 | 61077 | 64127 | 67426 | 70923 | 74609 | 78419 | 82330 | 86369 | 90543 | 94853 | 99300 | 103882 | 108600 | 113504 | 118615 | 123945 | 129504 | 135313
Southern Region | Karnataka | 67154 | 69770 | 72601 | 75873 | 79496 | 83424 | 87584 | 91960 | 96471 | 101087 | 105841 | 110738 | 115780 | 120967 | 126298 | 131772 | 137449 | 143353 | 149498 | 155894 | 162564
Southern Region | Kerala | 23929 | 25008 | 25991 | 27061 | 28226 | 29481 | 30802 | 32183 | 33594 | 35024 | 36483 | 37976 | 39502 | 41062 | 42653 | 44275 | 45946 | 47676 | 49466 | 51319 | 53241
Southern Region | Tamil Nadu | 101157 | 107197 | 112772 | 118782 | 125321 | 132399 | 139927 | 147893 | 156176 | 164729 | 173613 | 182840 | 192423 | 202366 | 212674 | 223352 | 234507 | 246188 | 258429 | 271258 | 284724
Southern Region | Puducherry | 2509 | 2689 | 2828 | 2966 | 3113 | 3271 | 3438 | 3615 | 3797 | 3983 | 4176 | 4375 | 4580 | 4791 | 5009 | 5233 | 5466 | 5708 | 5960 | 6223 | 6498
| ► Southern Region | 300006 | 315770 | 330472 | 346540 | 364099 | 383100 | 403253 | 424508 | 446497 | 469084 | 492432 | 516576 | 541532 | 567304 | 593895 | 621306 | 649826 | 679580 | 710642 | 743075 | 776998
Eastern Region | Bihar | 26326 | 29193 | 31758 | 34334 | 37051 | 39984 | 43151 | 46571 | 50219 | 54082 | 58178 | 62519 | 67115 | 71979 | 77119 | 82545 | 88304 | 94435 | 100970 | 107940 | 115391
Eastern Region | Jharkhand | 14675 | 15564 | 16503 | 17552 | 18720 | 20011 | 21416 | 22932 | 24542 | 26234 | 28013 | 29884 | 31848 | 33908 | 36065 | 38323 | 40700 | 43210 | 45865 | 48676 | 51659
Eastern Region | Odisha | 28086 | 29804 | 31522 | 33412 | 35495 | 37778 | 40245 | 42891 | 45679 | 48589 | 51627 | 54798 | 58106 | 61553 | 65140 | 68869 | 72772 | 76870 | 81183 | 85723 | 90517
Eastern Region | West Bengal | 62728 | 69635 | 75274 | 80519 | 85762 | 91222 | 96962 | 103025 | 109346 | 115883 | 122656 | 129679 | 136961 | 144506 | 152315 | 160389 | 168797 | 177588 | 186796 | 196450 | 206603
Eastern Region | Sikkim | 419 | 440 | 462 | 485 | 509 | 534 | 561 | 589 | 618 | 649 | 681 | 715 | 751 | 789 | 828 | 869 | 912 | 958 | 1006 | 1056 | 1108
| ► Eastern Region | 132234 | 144636 | 155519 | 166302 | 177537 | 189529 | 202335 | 216008 | 230404 | 245437 | 261155 | 277595 | 294781 | 312735 | 331467 | 350995 | 371485 | 393061 | 415820 | 439845 | 465278
North Eastern Region | Assam | 9282 | 9453 | 9706 | 10040 | 10419 | 10827 | 11249 | 11683 | 12112 | 12532 | 12945 | 13359 | 13774 | 14191 | 14608 | 15026 | 15451 | 15886 | 16332 | 16788 | 17257
North Eastern Region | Manipur | 867 | 864 | 881 | 907 | 938 | 970 | 1003 | 1037 | 1070 | 1101 | 1130 | 1159 | 1188 | 1217 | 1245 | 1273 | 1301 | 1329 | 1358 | 1388 | 1419
North Eastern Region | Meghalaya | 1854 | 2041 | 2157 | 2266 | 2382 | 2506 | 2638 | 2777 | 2919 | 3065 | 3214 | 3368 | 3527 | 3690 | 3857 | 4028 | 4206 | 4392 | 4585 | 4786 | 4996
North Eastern Region | Nagaland | 776 | 833 | 879 | 928 | 981 | 1039 | 1101 | 1166 | 1234 | 1304 | 1377 | 1453 | 1532 | 1613 | 1698 | 1785 | 1877 | 1973 | 2074 | 2179 | 2289
North Eastern Region | Tripura | 1394 | 1434 | 1508 | 1601 | 1707 | 1824 | 1949 | 2082 | 2223 | 2369 | 2523 | 2685 | 2854 | 3032 | 3218 | 3413 | 3619 | 3837 | 4067 | 4311 | 4570
North Eastern Region | Arunachal Pradesh | 656 | 689 | 723 | 759 | 797 | 837 | 879 | 923 | 969 | 1017 | 1068 | 1121 | 1177 | 1236 | 1298 | 1363 | 1431 | 1503 | 1578 | 1657 | 1740
North Eastern Region | Mizoram | 531 | 549 | 582 | 623 | 671 | 724 | 781 | 842 | 907 | 975 | 1047 | 1123 | 1204 | 1289 | 1380 | 1476 | 1577 | 1686 | 1802 | 1926 | 2059
| ► North Eastern Region | 15360 | 15863 | 16436 | 17124 | 17895 | 18727 | 19600 | 20510 | 21434 | 22363 | 23304 | 24268 | 25256 | 26268 | 27304 | 28364 | 29462 | 30606 | 31796 | 33035 | 34330
Islands | Andaman & Nicobar Islands | 284 | 298 | 313 | 329 | 345 | 362 | 380 | 399 | 419 | 440 | 462 | 485 | 509 | 534 | 561 | 589 | 618 | 649 | 681 | 715 | 751
Islands | Lakshadweep | 50 | 53 | 56 | 59 | 62 | 65 | 68 | 71 | 75 | 79 | 83 | 87 | 91 | 96 | 101 | 106 | 111 | 117 | 123 | 129 | 135
| ▶▶ ALL-INDIA TOTAL | 1152443 | 1212939 | 1270461 | 1332378 | 1399360 | 1471500 | 1547961 | 1628611 | 1712168 | 1798104 | 1886933 | 1978857 | 2073968 | 2172304 | 2273895 | 2378766 | 2487950 | 2601973 | 2721163 | 2845796 | 2976390
Note: Blank cells = regional subtotal not recoverable from PDF text extraction (affected years: FY 2034-35 Northern & Western Region; FY 2035-36 Northern Region; FY 2036-37 Northern & Western Region). State-level values are complete.
Source: Table A5.2, Annexure 5, p.96–101 ¦ Long Term Electricity Demand Forecasting Report (KPMG / CEA, 19th Electric Power Survey)

## 6_Demand_Scenarios
All-India Electrical Energy Requirement – Forecast Scenarios (BU = TWh)
Scenario | FY 2016-17 | FY 2021-22 | FY 2026-27 | FY 2031-32 | FY 2036-37 | PDF Source
PAM – 7.3% GDP (Baseline) | 1152.4 | 1471.5 | 1886.9 | 2378.7 | 2976.3 | Table 1, p.9 ¦ Long Term Electricity Demand Forecasting Report (KPMG/CEA, 19th EPS)
PAM – 8% GDP (Optimistic) | 1152.4 | 1477.5 | 1905.4 | 2458.9 | 3175.4 | Table 1, p.9 ¦ Long Term Electricity Demand Forecasting Report (KPMG/CEA, 19th EPS)
PAM – 6.5% GDP (Pessimistic) | 1152.4 | 1443.5 | 1776.9 | 2186.7 | 2691.07 | Table 1, p.9 ¦ Long Term Electricity Demand Forecasting Report (KPMG/CEA, 19th EPS)
PEUM (partial end-use method) | 1160.4 | 1566 | 2047.4 | 2530.5 | 3049.4 | Table 1, p.9 ¦ Long Term Electricity Demand Forecasting Report (KPMG/CEA, 19th EPS)
Units: BU = Billion Units = TWh. Annual state-level baseline values (FY 2016-17 to FY 2036-37) in sheet 5_Demand_Energy_State (units: MU = GWh). PEUM = Partial End-Use Method (Volume I of 19th EPS). PAM = Partial Adjustment Model (econometric).

## 7_IRENA_India_Profile
INDIA – IRENA Energy Profile ¦ Key Data for Power Sector Modelling
Source: IRENA India Energy Profile (last updated 22 Sep 2025) ¦ Only data explicitly stated in the document
⚠ Sections C and D: generation/capacity totals read from bar charts in document (not from tables). Section B: from explicit table. Sections A, E, F: from explicit graphics with labelled values.
A. Capacity Utilisation / Capacity Factors (2023)
Technology | Capacity Utilisation 2023 (%) |  | Source
Fossil fuels | 53 |  | Electricity Capacity section, p.2
Nuclear | 74 |  | Electricity Capacity section, p.2
Hydro / Marine | 39 |  | Electricity Capacity section, p.2
Solar | 18 |  | Electricity Capacity section, p.2
Wind | 20 |  | Electricity Capacity section, p.2
Bioenergy | 27 |  | Electricity Capacity section, p.2
Geothermal | — |  | Electricity Capacity section, p.2
Note: Capacity utilisation = annual generation ÷ (year-end capacity × 8,760 h/yr), as defined in document footnote (p.4)
B. Electricity Generation (2023)
Technology | Generation (GWh) | Share (%) | Source
Non-renewable (total) | 1493334 | 80 | Table "Generation in 2023", p.3
Renewable (total) | 369970 | 20 | Table "Generation in 2023", p.3
Hydro and marine | 161465 | 9 | Table "Generation in 2023", p.3
Solar | 108494 | 6 | Table "Generation in 2023", p.3
Wind | 74708 | 4 | Table "Generation in 2023", p.3
Bioenergy | 25303 | 1 | Table "Generation in 2023", p.3
Geothermal | 0 | 0 | Electricity generation trend chart, p.3 [values read from bar chart]
TOTAL | 1863304 | 100 | Table "Generation in 2023", p.3
C. Historical Electricity Generation Trend (TWh) — for calibration / shaping
Year | Total Generation (TWh) | Renewable Share (%) | Source
2018 | 1511 | — | Table "Generation in 2023", p.3
2019 | 1598 | — | Table "Generation in 2023", p.3
2020 | 1620 | — | Table "Generation in 2023", p.3
2021 | 1625 | — | Table "Generation in 2023", p.3
2022 | 1732 | — | Table "Generation in 2023", p.3
2023 | 1863 | 20 | Table "Generation in 2023", p.3
D. Installed Electricity Capacity Trend (GW)
Year | Total Capacity (GW) | Renewable Share (%) | Source
2017 | 388 | — | Installed capacity trend chart, p.2 [values read from bar chart]
2018 | 420 | — | Installed capacity trend chart, p.2 [values read from bar chart]
2019 | 443 | — | Installed capacity trend chart, p.2 [values read from bar chart]
2020 | 451 | — | Installed capacity trend chart, p.2 [values read from bar chart]
2021 | 465 | — | Installed capacity trend chart, p.2 [values read from bar chart]
2022 | 482 | — | Installed capacity trend chart, p.2 [values read from bar chart]
2023 | 500 | — | Installed capacity trend chart, p.2 [values read from bar chart]
2024 | 534 | 38 | Installed capacity trend chart, p.2 [values read from bar chart]
E. Net Capacity Added in 2024 (MW)
Technology | Net Capacity Added (MW) |  | Source
Non-renewable (total) | 5256 |  | Electricity Capacity section, p.2
Hydro and marine | 174 |  | Electricity Capacity section, p.2
Solar | 24525 |  | Electricity Capacity section, p.2
Wind | 3427 |  | Electricity Capacity section, p.2
Bioenergy | 485 |  | Electricity Capacity section, p.2
Geothermal | 0 |  | Electricity Capacity section, p.2
F. Renewable Installed Capacity Mix (2024, % of total renewable)
Technology | Share of Renewable Capacity (%) |  | Source
Solar | 48 |  | Renewable capacity in 2024 chart, p.2
Wind | 24 |  | Renewable capacity in 2024 chart, p.2
Hydro / Marine | 23 |  | Renewable capacity in 2024 chart, p.2
Bioenergy | 5 |  | Renewable capacity in 2024 chart, p.2
Geothermal | 0 |  | Renewable capacity in 2024 chart, p.2

## 8_ICED_PLF_CapacityFactors
INDIA – Plant Load Factor / Capacity Utilisation Factor (%) by Technology ¦ Historical Series
Source: NITI Aayog ICED ¦ https://iced.niti.gov.in/energy/electricity/generation ¦ © 2026 NITI Aayog ¦ Values and column positions reproduced exactly as published
Technology | 31.12.1947 | 31.12.1950 | 31-03-1956 (end of 1st plan) | 31-03-1961 (end of 2nd plan) | 31-03-1966 (end of 3rd plan) | 31-03-1969 (end of 3 annual plans) | 31-03-1974 (end of 4th plan) | 31-03-1979 (end of 5th plan) | 31-03-1980 (end of annual plan) | 31-03-1985 (end of 6th plan) | 31-03-1990 (end of 7th plan) | 31-03-1992 (end of 2 annual plans) | 31-03-1997 (end of 8th plan) | 31-03-2002 (end of 9th plan) | 31-03-2007 (end of 10th plan) | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
Coal | 26.17 | 29.41 | 38.26 | 42.64 | 45.91 | 45.92 | 45.99 | 39.92 | 39.67 | 42.07 | 47.79 | 50.11 | 61 | 68.14 | 74.12 | 72.93 | 75.26 | 73.16 | 68.22 | 62.25 | 60.6 | 58.58 | 57.92 | 55.05 | 56.08 | 57.12 | 58.14 | 55.17 | 53.53 | 58.44 | 63.7 | 67.75 | 68.54 | 63.14
Oil & Gas | 16.77 | 15.32 | 11.63 | 14 | 9.23 | 8.85 | 13.16 | 19.6 | 14.54 | 29.83 | 27.52 | 40.28 | 46.06 | 47.73 | 51.12 | 52.36 | 54.24 | 62.92 | 62.51 | 55.77 | 37.02 | 23.11 | 20.07 | 21.28 | 21.59 | 22.43 | 22.34 | 21.75 | 22.97 | 16.28 | 10.83 | 14.08 | 14.55 | 15.2
Nuclear | [6 empty] | 42.74 | 49.41 | 51.16 | 42.48 | 33.74 | 35.24 | 46.54 | 81.73 | 55.03 | 46.86 | 41.36 | 46.65 | 62.73 | 76.9 | 78.49 | 81.74 | 71.3 | 73.69 | 63.84 | 64.56 | 63.67 | 78.03 | 72.45 | 79.32 | 77.22 | 66.72 | 79.1 | 70.06
Hydro | 49.32 | 51.35 | 46.08 | 46.67 | 42.14 | 40.05 | 47.48 | 49.69 | 45.48 | 42.59 | 38.73 | 43.15 | 36.32 | 31.97 | 37.39 | 38.17 | 34.08 | 32.22 | 34.77 | 38.11 | 32.87 | 37.98 | 35.75 | 32.3 | 31.41 | 31.79 | 33.92 | 38.8 | 37.13 | 37.05 | 39.5 | 32.52 | 35.55 | 39.93
Solar | [22 empty] | 13.15 | 11.9 | 12.06 | 13.22 | 15.41 | 16.03 | 16.72 | 15.54 | 17.44 | 16.14 | 15.58 | 13.32
Wind | [22 empty] | 16.51 | 14.04 | 16.27 | 17.61 | 19.88 | 19.5 | 17.5 | 19.42 | 19.23 | 20.69 | 19.01 | 23.62
Small-Hydro | [22 empty] | 22.69 | 22.26 | 20 | 19.57 | 21.63 | 22.98 | 24.46 | 24.63 | 25.79 | 21.58 | 25.89 | 27.65
Bio Power | [22 empty] | 20.43 | 21.64 | 18 | 18.42 | 18.94 | 15.71 | 17.81 | 19.58 | 19.61 | 17.68 | 15.71 | 13.55
RES-Total | [10 empty] | 3.81 | 13.52 | 11.09 | 14.62 | 14.5 | 2007-08: 25.8; 2008-09: 24.02; 2009-10: 27.17; 2010-11: 24.28; 2011-12: 23.86; 2012-13: 23.81; 2013-14: 20.86
PLF = Plant Load Factor = Capacity Utilisation Factor (CUF) = Capacity Factor. Formula: Annual Generation ÷ (Installed Capacity × 8,760 h/yr). Blank cells = not operational or not reported in source. Nuclear: data from 4th plan (1974) onwards. Solar/Wind/Small Hydro/Bio Power: from 2014-15 onwards. RES-Total: reported only for 7th plan through 2013-14.