## Capacity Factors
SRI LANKA — CAPACITY FACTORS (PLANT FACTORS)
Section A — CEB-Owned Power Plants: Actual Plant Factors Year 2023
Plant / Complex | Installed Capacity (MW) | Generation (GWh) | Availability Factor (%) | Plant Factor (%) | Source
Victoria (Mahaweli) | 210 | 627.5 | 99.6% | 34.2% | CEB Annual Report 2023, p.22, Table G1
Kotmale (Mahaweli) | 201 | 415.3 | 99.7% | 23.7% | CEB Annual Report 2023, p.22, Table G1
Upper Kotmale (Mahaweli) | 150 | 421 | 99.4% | 32.2% | CEB Annual Report 2023, p.22, Table G1
Randenigala (Mahaweli) | 122.6 | 321.7 | 97.9% | 30.3% | CEB Annual Report 2023, p.22, Table G1
Rantembe (Mahaweli) | 50 | 161.7 | 99.6% | 38.1% | CEB Annual Report 2023, p.22, Table G1
Ukuwela (Mahaweli) | 40 | 193.4 | 82.9% | 55.4% | CEB Annual Report 2023, p.22, Table G1
Bowatenna (Mahaweli) | 40 | 92.8 | 99.9% | 26.6% | CEB Annual Report 2023, p.22, Table G1
Nillambe (Mahaweli) | 3.2 | 9.7 | 99.9% | 33.3% | CEB Annual Report 2023, p.22, Table G1
Thambapavani Wind (Mannar) | 103.5 | 391.4 | 88.4% | 43.8% | CEB Annual Report 2023, p.22, Table G1
Laxapana (Laxapana Complex) | 153.8 | 776.4 | 94.3% | 57.8% | CEB Annual Report 2023, p.23, Table G1
Polpitiya (Laxapana Complex) | 90 | 430.1 | 93.7% | 54.7% | CEB Annual Report 2023, p.23, Table G1
Canyon (Laxapana Complex) | 60 | 153 | 97.8% | 29.2% | CEB Annual Report 2023, p.23, Table G1
Wimalasurendra (Laxapana Complex) | 50 | 126.7 | 92.6% | 29.0% | CEB Annual Report 2023, p.23, Table G1
Broadlands (Laxapana Complex) | 35 | 104.3 | 85.0% | 32.9% | CEB Annual Report 2023, p.23, Table G1
Samanalawewa (Samanala Complex) | 120 | 375.2 | 93.5% | 35.9% | CEB Annual Report 2023, p.23, Table G1
Kukule Ganga (Samanala Complex) | 75 | 335.5 | 83.4% | 55.2% | CEB Annual Report 2023, p.23, Table G1
Udawalawa (Samanala Complex) | 4 | 9.3 | 83.9% | 27.6% | CEB Annual Report 2023, p.23, Table G1
Inginiyagala (Samanala Complex) | 8.8 | 19.4 | 99.7% | 19.9% | CEB Annual Report 2023, p.23, Table G1
Sapugaskanda A | 80 | 205.7 | 75.7% | 34.9% | CEB Annual Report 2023, p.23, Table G2
Sapugaskanda B | 80 | 366.2 | 90.6% | 60.4% | CEB Annual Report 2023, p.23, Table G2
Kelanitissa CC1 (GT) | 110 | 701.1 | 81.9% | 49.5% | CEB Annual Report 2023, p.23, Table G2
Kelanitissa CC1 (ST) | 55 | — | — | 50.5% | CEB Annual Report 2023, p.23, Table G2
Kelanitissa CC2 (GT) | 157 | 167.5 | 73.9% | 17.8% | CEB Annual Report 2023, p.23, Table G2
Kelanitissa CC2 (ST) | 54 | — | 73.9% | 19.1% | CEB Annual Report 2023, p.23, Table G2
Kelanitissa GT-07 | 115 | 84 | 94.0% | 7.7% | CEB Annual Report 2023, p.23, Table G2
Uthuru Janani | 24 | 99.2 | 86.6% | 52.0% | CEB Annual Report 2023, p.23, Table G2
Barge Mounted PS | 60 | 304 | 94.1% | 57.8% | CEB Annual Report 2023, p.23, Table G2
Lakvijaya Coal Unit 01 | 300 | 1593.4 | 79.9% | 67.3% | CEB Annual Report 2023, p.23, Table G3
Lakvijaya Coal Unit 02 | 300 | 1875.5 | 85.1% | 79.2% | CEB Annual Report 2023, p.23, Table G3
Lakvijaya Coal Unit 03 | 300 | 1176.6 | 84.3% | 65.3% | CEB Annual Report 2023, p.23, Table G3
Section B — Planning Capacity Factors by Technology / Zone (used in LTGEP modelling)
Technology / Zone | Capacity Factor (%) | Notes |  |  | Source
Wind — Puttalam Region | 32% | Average plant factor for onshore wind; private sector projects in NW coastal area |  |  | LTGEP 2025-2044, p.5-11 (Section 5.6.2)
Wind — Northern Region | 34% | Average plant factor for onshore wind; Silawathura, Pooneryn, Veravil, Karachchi areas |  |  | LTGEP 2025-2044, p.5-11 (Section 5.6.2)
Wind — Mannar Region | 40% | Average plant factor; Thambapavani (100 MW) commissioned 2020 in southern Mannar island |  |  | LTGEP 2025-2044, p.5-11 (Section 5.6.2)
Wind — Offshore Region | 50% | Estimated planning factor for future offshore wind; no detailed studies yet available |  |  | LTGEP 2025-2044, p.5-11 (Section 5.6.2)
Mini Hydro — Typical | ~39% | Example: Thalpitigala (15 MW) feasibility study; majority of mini hydro energy Sep–Dec |  |  | LTGEP 2025-2044, p.5-3 (Section 5.2.2)
Solar — Dry Season (Jan–Apr) | High (peak output) | Solar energy highest in dry season Jan–Apr; significant reduction in wet season |  |  | LTGEP 2025-2044, p.5-12 (Section 5.7, Fig 5.6)
Solar — Wet Season reduction | Low (reduced output) | Wet season brings significant reduction in solar output across all regions |  |  | LTGEP 2025-2044, p.5-12 (Section 5.7, Fig 5.6)

## Demand Forecast
SRI LANKA — ELECTRICITY DEMAND FORECAST
Table E1 — Base Demand Forecast 2025–2049 ¦ Source: LTGEP 2025-2044, p.E-4, Table E1
Year | Demand (GWh) | Net Loss (%) | Net Generation (GWh) | Growth Rate (%) | Day Peak (MW) | Day Peak Growth (%) | Night Peak (MW) | Source
2025 | 16319 | 7.93 | 17725 | 5.2% | 2727 | 5.3% | 2696 | LTGEP 2025-2044, p.E-4, Table E1
2026 | 17203 | 7.76 | 18650 | 5.2% | 2872 | 5.3% | 2824 | LTGEP 2025-2044, p.E-4, Table E1
2027 | 18135 | 7.62 | 19630 | 5.3% | 3027 | 5.4% | 2959 | LTGEP 2025-2044, p.E-4, Table E1
2028 | 19118 | 7.48 | 20662 | 5.3% | 3190 | 5.4% | 3101 | LTGEP 2025-2044, p.E-4, Table E1
2029 | 20153 | 7.34 | 21750 | 5.3% | 3362 | 5.4% | 3250 | LTGEP 2025-2044, p.E-4, Table E1
2030 | 21245 | 7.34 | 22927 | 5.4% | 3548 | 5.5% | 3411 | LTGEP 2025-2044, p.E-4, Table E1
2031 | 22264 | 7.33 | 24026 | 4.8% | 3722 | 4.9% | 3560 | LTGEP 2025-2044, p.E-4, Table E1
2032 | 23329 | 7.33 | 25174 | 4.8% | 3904 | 4.9% | 3714 | LTGEP 2025-2044, p.E-4, Table E1
2033 | 24438 | 7.32 | 26369 | 4.7% | 4094 | 4.9% | 3874 | LTGEP 2025-2044, p.E-4, Table E1
2034 | 25602 | 7.32 | 27624 | 4.8% | 4294 | 4.9% | 4041 | LTGEP 2025-2044, p.E-4, Table E1
2035 | 26842 | 7.31 | 28961 | 4.8% | 4507 | 5.0% | 4219 | LTGEP 2025-2044, p.E-4, Table E1
2036 | 28188 | 7.31 | 30411 | 5.0% | 4738 | 5.1% | 4412 | LTGEP 2025-2044, p.E-4, Table E1
2037 | 29619 | 7.31 | 31953 | 5.1% | 4985 | 5.2% | 4616 | LTGEP 2025-2044, p.E-4, Table E1
2038 | 31141 | 7.3 | 33594 | 5.1% | 5247 | 5.3% | 4833 | LTGEP 2025-2044, p.E-4, Table E1
2039 | 32702 | 7.3 | 35275 | 5.0% | 5516 | 5.1% | 5055 | LTGEP 2025-2044, p.E-4, Table E1
2040 | 34338 | 7.29 | 37038 | 5.0% | 5798 | 5.1% | 5286 | LTGEP 2025-2044, p.E-4, Table E1
2041 | 36058 | 7.29 | 38892 | 5.0% | 6095 | 5.1% | 5528 | LTGEP 2025-2044, p.E-4, Table E1
2042 | 37798 | 7.28 | 40767 | 4.8% | 6397 | 4.9% | 5772 | LTGEP 2025-2044, p.E-4, Table E1
2043 | 39582 | 7.28 | 42689 | 4.7% | 6706 | 4.8% | 6020 | LTGEP 2025-2044, p.E-4, Table E1
2044 | 41424 | 7.27 | 44673 | 4.6% | 7026 | 4.8% | 6275 | LTGEP 2025-2044, p.E-4, Table E1
2045 | 43235 | 7.27 | 46624 | 4.4% | 7342 | 4.5% | 6524 | LTGEP 2025-2044, p.E-4, Table E1
2046 | 45062 | 7.26 | 48592 | 4.2% | 7660 | 4.3% | 6773 | LTGEP 2025-2044, p.E-4, Table E1
2047 | 46922 | 7.26 | 50594 | 4.1% | 7985 | 4.2% | 7025 | LTGEP 2025-2044, p.E-4, Table E1
2048 | 48732 | 7.25 | 52544 | 3.9% | 8303 | 4.0% | 7267 | LTGEP 2025-2044, p.E-4, Table E1
2049 | 50592 | 7.25 | 54546 | 3.8% | 8630 | 3.9% | 7516 | LTGEP 2025-2044, p.E-4, Table E1
5-yr avg growth (2025–2029) | 5.4% | Night peak 5-yr avg: 5.2% ¦ Day peak 5-yr avg: 5.4% | [5 empty] | LTGEP 2025-2044, p.E-4, Table E1 (footnote averages)
10-yr avg growth (2025–2034) | 5.1% | Night peak 10-yr avg: 5.1% ¦ Day peak 10-yr avg: 5.2% | [5 empty] | LTGEP 2025-2044, p.E-4, Table E1 (footnote averages)
20-yr avg growth (2025–2044) | 5.0% | Night peak 20-yr avg: 5.0% ¦ Day peak 20-yr avg: 5.1% | [5 empty] | LTGEP 2025-2044, p.E-4, Table E1 (footnote averages)

## Historical Production
SRI LANKA — HISTORICAL ELECTRICITY GENERATION (for calibration / shaping)
Section A — Annual Net Generation by Source 1999–2023 ¦ Source: LTGEP 2025-2044, p.1-17, Table 1.6
Year | Hydro (GWh) | Hydro (%) | Other Renew. (GWh) | Other Renew. (%) | Thermal (GWh) | Thermal (%) | Self-Gen (GWh) | Self-Gen (%) | Total (GWh) | Source
1999 | 4135 | 67.5% | 21 | 0.3% | 1871 | 30.6% | 97 | 1.6% | 6125 | LTGEP 2025-2044, p.1-17, Table 1.6
2000 | 3138 | 46.3% | 46 | 0.7% | 3437 | 50.7% | 158 | 2.3% | 6780 | LTGEP 2025-2044, p.1-17, Table 1.6
2001 | 3030 | 46.2% | 68 | 1.0% | 3361 | 51.2% | 105 | 1.6% | 6564 | LTGEP 2025-2044, p.1-17, Table 1.6
2002 | 2575 | 37.4% | 107 | 1.6% | 4074 | 59.1% | 136 | 2.0% | 6892 | LTGEP 2025-2044, p.1-17, Table 1.6
2003 | 3175 | 42.0% | 124 | 1.6% | 4263 | 56.4% | 0 | — | 7562 | LTGEP 2025-2044, p.1-17, Table 1.6
2004 | 2739 | 33.8% | 208 | 2.6% | 5051 | 62.3% | 115 | 1.4% | 8113 | LTGEP 2025-2044, p.1-17, Table 1.6
2005 | 3158 | 36.3% | 282 | 3.2% | 5269 | 60.5% | 0 | — | 8709 | LTGEP 2025-2044, p.1-17, Table 1.6
2006 | 4272 | 45.9% | 349 | 3.7% | 4694 | 50.4% | 0 | — | 9314 | LTGEP 2025-2044, p.1-17, Table 1.6
2007 | 3585 | 36.8% | 347 | 3.6% | 5800 | 59.6% | 0 | — | 9733 | LTGEP 2025-2044, p.1-17, Table 1.6
2008 | 3683 | 37.5% | 438 | 4.5% | 5697 | 58.0% | 0 | — | 9819 | LTGEP 2025-2044, p.1-17, Table 1.6
2009 | 3338 | 34.0% | 552 | 5.6% | 5914 | 60.3% | 0 | — | 9803 | LTGEP 2025-2044, p.1-17, Table 1.6
2010 | 4969 | 46.7% | 731 | 6.9% | 4948 | 46.5% | 0 | — | 10649 | LTGEP 2025-2044, p.1-17, Table 1.6
2011 | 3999 | 35.2% | 725 | 6.4% | 6629 | 58.4% | 2.9 | — | 11356 | LTGEP 2025-2044, p.1-17, Table 1.6
2012 | 2710 | 23.1% | 736 | 6.3% | 8280 | 70.6% | 1.4 | — | 11727 | LTGEP 2025-2044, p.1-17, Table 1.6
2013 | 5990 | 50.3% | 1179 | 9.9% | 4729 | 39.7% | 0 | — | 11898 | LTGEP 2025-2044, p.1-17, Table 1.6
2014 | 3632 | 29.5% | 1217 | 9.9% | 7466 | 60.6% | 0 | — | 12316 | LTGEP 2025-2044, p.1-17, Table 1.6
2015 | 4904 | 37.5% | 1467 | 11.2% | 6718 | 51.3% | 0 | — | 13090 | LTGEP 2025-2044, p.1-17, Table 1.6
2016 | 3481 | 24.6% | 1160 | 8.2% | 9507 | 67.2% | 0 | — | 14148 | LTGEP 2025-2044, p.1-17, Table 1.6
2017 | 3059 | 20.8% | 1464 | 10.0% | 10148 | 69.2% | 0 | — | 14671 | LTGEP 2025-2044, p.1-17, Table 1.6
2018 | 5149 | 33.5% | 1832 | 11.9% | 8390 | 54.6% | 2.4 | — | 15374 | LTGEP 2025-2044, p.1-17, Table 1.6
2019 | 3784 | 23.7% | 1806 | 11.3% | 10378 | 64.9% | 14.2 | 0.1% | 15982 | LTGEP 2025-2044, p.1-17, Table 1.6
2020 | 3911 | 24.8% | 1931 | 12.2% | 9936 | 63.0% | 1.6 | — | 15780 | LTGEP 2025-2044, p.1-17, Table 1.6
2021 | 5640 | 33.6% | 3005 | 17.9% | 8153 | 48.5% | 0 | — | 16798 | LTGEP 2025-2044, p.1-17, Table 1.6
2022 | 5364 | 33.4% | 3050 | 19.0% | 7642 | 47.6% | 4.1 | — | 16060 | LTGEP 2025-2044, p.1-17, Table 1.6
2023 | 4573 | 29.1% | 3374 | 21.5% | 7780 | 49.5% | 0 | — | 15728 | LTGEP 2025-2044, p.1-17, Table 1.6
Section B — CEB-Owned Plant Generation & Cost Year 2023 ¦ Source: CEB Annual Report 2023, p.26, Table G4
Plant / Complex | Net Generation (GWh) | Expenditure (LKR million) | Avg Unit Cost (LKR/kWh) | [6 empty] | Source
Kelanitissa Gas Turbines (KPS GT7) | 84.9 | 10442.1 | 122.96 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Kelanitissa Combined Cycles 1 | 701.1 | 41591.1 | 59.64 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Kelanitissa Combined Cycles 2 | 167.5 | 12617.2 | 75.05 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Sapugaskanda (A+B) | 571.8 | 33858.1 | 59.19 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Uthuru Janani | 99.2 | 5490.4 | 55.33 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Barge Mounted PS | 304 | 16677.3 | 54.86 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Diesel 1MW×40 (MYPS+DJPS) | 43.5 | 4261.6 | 97.96 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Island Small Generators | 2.7 | 420.2 | 158.4 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Total Thermal (oil) | 1974.8 | 125358 | 63.57 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Lakvijaya Coal Plant | 4645.5 | 187163.1 | 40.29 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Total Thermal (all) | 6620.3 | 312521.1 | 47.23 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Victoria Hydro | 627.5 | 886.8 | 1.41 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Kotmale Hydro | 415.3 | 1205.1 | 2.9 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Ukuwela Hydro | 193.4 | 384.2 | 1.99 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Bowatenna Hydro | 92.8 | 346.3 | 3.73 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Randenigala/Rantambe Hydro | 483.4 | 1162.2 | 2.4 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Nilambe Hydro | 9.7 | 119.8 | 12.37 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Upper Kotmale Hydro | 421 | 1892.6 | 4.5 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Total Mahaweli (Hydro) | 2243.1 | 5996.9 | 2.67 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Laxapana+Polpitiya+Wimalasurendra+Canyon+Broadlands | 1590.5 | 4748 | 2.99 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Samanalawewa+Kukule+Inginiyagala+Udawalawa | 739.5 | 2644.8 | 3.58 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Total Hydro | 4573.2 | 13389.8 | 2.93 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Thambapavani Wind | 391.4 | 7658.6 | 19.57 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
TOTAL CEB (at generation point) | 11584.7 | 333569.6 | 29.81 | [6 empty] | CEB Annual Report 2023, p.26, Table G4 (Energy Sales Branch)
Section C — NCRE (Other Renewable Energy) Capacity & Generation Trend 2004–2023 ¦ Source: LTGEP 2025-2044, p.5-8, Table 5.3
Year | ORE Generation (GWh) | ORE Share of Total Gen. | ORE Capacity (MW) | ORE Share of Total Cap. | [5 empty] | Source
2004 | 208 | 3% | 73 | 3% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2005 | 282 | 3% | 88 | 4% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2006 | 349 | 4% | 112 | 5% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2007 | 347 | 4% | 119 | 5% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2008 | 438 | 4% | 161 | 6% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2009 | 552 | 6% | 181 | 7% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2010 | 731 | 7% | 220 | 8% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2011 | 725 | 6% | 244 | 8% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2012 | 736 | 6% | 317 | 10% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2013 | 1179 | 10% | 367 | 11% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2014 | 1217 | 10% | 458 | 12% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2015 | 1467 | 11% | 491 | 13% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2016 | 1167 | 8% | 566 | 14% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2017 | 1479 | 10% | 663 | 16% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2018 | 1742 | 11% | 784 | 19% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2019 | 1806 | 11% | 917 | 20% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2020 | 1932 | 12% | 1055 | 23% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2021 | 3005 | 18% | 1330 | 28% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2022 | 3050 | 19% | 1507 | 31% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
2023 | 3375 | 21% | 1689 | 33% | [5 empty] | LTGEP 2025-2044, p.5-8, Table 5.3
Section D — Historical Installed Capacity & Peak Demand 2004–2023 ¦ Source: LTGEP 2025-2044, p.1-15, Table 1.5
Year | Installed Capacity (MW) | Cap Growth (%) | Peak Demand (MW) | Peak Growth (%) | [5 empty] | Source
2004 | 2280 | 4.4% | 1563 | 3.1% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2005 | 2411 | 5.4% | 1748 | 11.8% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2006 | 2434 | 0.9% | 1893 | 8.3% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2007 | 2444 | 0.4% | 1842 | -2.7% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2008 | 2645 | 7.6% | 1922 | 4.3% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2009 | 2684 | 1.5% | 1868 | -2.8% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2010 | 2818 | 4.8% | 1955 | 4.7% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2011 | 3141 | 10.3% | 2163 | 10.6% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2012 | 3312 | 5.2% | 2146 | -0.8% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2013 | 3359 | 1.4% | 2164 | 0.8% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2014 | 3946 | 17.5% | 2152 | -0.6% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2015 | 3875 | -1.8% | 2283 | 6.1% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2016 | 4079 | 5.2% | 2453 | 7.4% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2017 | 4136 | 1.4% | 2523 | 2.9% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2018 | 4215 | 1.9% | 2616 | 3.7% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2019 | 4497 | 6.7% | 2669 | 2.0% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2020 | 4617 | 2.7% | 2717 | 1.8% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2021 | 4701 | 1.8% | 2802 | 3.1% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2022 | 4907 | 4.4% | 2708 | -3.4% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5
2023 | 5194 | 5.9% | 2415 | -10.8% | [5 empty] | LTGEP 2025-2044, p.1-15, Table 1.5

## Seasonality
SRI LANKA — SEASONALITY OF GENERATION RESOURCES
Section A — Seasonal Resource Patterns (Qualitative) ¦ Source: LTGEP 2025-2044, Chapter 5
Resource | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Source
Wind (Southwest monsoon) | L | L | L | L | H | H | H | H | H | M | L | L | LTGEP 2025-2044, p.5-11, Fig. 5.5: 'Wind Production Annual Variation'. SW monsoon May–Sep drives peak wind in Puttalam/Northern/Mannar zones.
Solar (irradiance) | [12 empty] | LTGEP 2025-2044, p.5-12, Fig. 5.6: 'Solar energy highest during dry season Jan–Apr; significant reduction in wet season.' | bar: Jan to Dec
Mini Hydro | M | L | L | L | M | M | M | M | H | H | H | H | LTGEP 2025-2044, p.5-9, Fig. 5.4: 'Majority of mini hydro energy production occurs from September to December.'
Major Hydro (Mahaweli + other) | [12 empty] | LTGEP 2025-2044, p.5-3, Fig. 5.2: Monthly hydro energy from major hydro in average hydro condition (avg generation + avg inflow shown). Inflows peak Oct–Dec. | bar: Jan to Dec
Demand (cooling/peak) | [12 empty] | CEB Annual Report 2023, p.28–29: Max night peak occurred 2023-03-29 (March, dry season). LTGEP p.3-5: Time-series model includes monthly cooling impact (CI) variable. | bar: Jan to Dec
Legend: H = High output / peak season M = Medium / moderate output L = Low output / off-season
Section B — Three Operational Seasons used in LTGEP System Dispatch Modelling ¦ Source: LTGEP 2025-2044, p.A10-8, Annex 10.4
Season Name | Jan: Months; Feb: Description
Dry Season | Jan: January – April; Feb: Solar highest. Demand night-peak highest (March). Wind low. Major hydro depends on reservoir levels. Thermal often dispatched for backup. | LTGEP 2025-2044, Annex 10.4 (p.A10-8): Weekly dispatch figures organized by these three seasons for 2025, 2035, 2040.
High Wind Season | Jan: May – September; Feb: SW monsoon active. Wind generation peaks across all zones. Solar still significant. Curtailment most likely during daytime on Sundays (LTGEP p.E-11). | LTGEP 2025-2044, Annex 10.4 (p.A10-8) & p.E-11: 'Curtailments primarily daytime, especially Sundays, throughout the week during high wind season.'
Wet Season | Jan: October – December; Feb: Mini hydro and major hydro peak. Wind drops. Solar moderate. Demand relatively stable. | LTGEP 2025-2044, Annex 10.4 (p.A10-8) & p.5-9, Fig. 5.4: Mini hydro production peaks Sep–Dec.
Section C — Demand Forecast Seasonality: Time-Series Model (Medium-Term 2025–2029) ¦ Source: LTGEP 2025-2044, p.3-5, Section 3.4.1
Parameter | Jan: Description / Value; Feb: Source
Demand model equation | Jan: TotDem(t) = 5.09·t + 39.83·CI(t) − 102.84·SI(t) + 829.49 | LTGEP 2025-2044, p.3-5, Section 3.4.1
CI — Cooling Impact variable | Jan: Degrees (°C) that monthly avg temp exceeds critical threshold. Captures weather-dependent demand seasonality. Highest in hot dry months (Jan–Apr). | LTGEP 2025-2044, p.3-5, Section 3.4.1
SI — Shock Impact dummy | Jan: Binary (0/1) variable capturing demand changes from external shocks (COVID-19, economic downturn 2022). | LTGEP 2025-2044, p.3-5, Section 3.4.1
t — Time in months | Jan: Linear trend coefficient: +5.09 GWh/month baseline growth. | LTGEP 2025-2044, p.3-5, Section 3.4.1
Day peak vs Night peak trend | Jan: Day peak growth is higher than night peak growth. Future: day peak expected to exceed night peak due to EV charging and industrial load growth. | LTGEP 2025-2044, p.3-9, Section 3.4.6
Maximum demand recorded 2023 | Jan: 2,414.8 MW on 2023-03-29 at 19:00 (night peak, dry season). Max day peak 2023: 2,166 MW on 2023-08-22 at 16:00. | CEB Annual Report 2023, p.28–29 (Transmission Division)
Hourly load profile base year | Jan: Year 2021 used as base (2022 excluded due to continuous load shedding). Profile adjusted for rooftop solar self-consumption. | LTGEP 2025-2044, p.3-15, Section 3.8

## Projected Generation (Annex 10.
SRI LANKA — PROJECTED ANNUAL GENERATION & PLANT FACTORS BY PLANT 2025–2044 (AVG HYDRO SCENARIO)
Source: LTGEP 2025-2044, pp.A10-3 to A10-7, Annex 10.3 — Base Case Scenario, Average RE hydrology shown
Year | Plant Name | Capacity (MW) | Energy Low RE (GWh) | Energy Avg RE (GWh) | Energy High RE (GWh) | PF Low RE | PF Avg RE | PF High RE | Source
2025 | Renewable Energy (Major Hydro+ORE) | 1563 | 8715 | 9827 | 10605 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2025 | Sapugaskanda A | 68 | 217 | 108 | 72 | 36% | 18% | 12% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2025 | Sapugaskanda B | 72 | 455 | 316 | 203 | 72% | 50% | 32% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2025 | Gas Turbine No.7 | 115 | 2 | 2 | 3 | 0% | 0% | 0% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2025 | Kelanitissa Combined Cycle 1 | 161 | 1128 | 998 | 663 | 80% | 71% | 47% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2025 | Kelanitissa Combined Cycle 2 | 155 | 18 | 2 | 0 | 1% | 0% | 0% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2025 | Westcoast Combined Cycle | 270 | 631 | 165 | 94 | 27% | 7% | 4% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2025 | Lakvijaya Coal | 810 | 5768 | 5737 | 5681 | 81% | 81% | 80% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2025 | Uthurujanani | 26.7 | 145 | 90 | 39 | 62% | 38% | 17% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2025 | CEB Barge Power | 62.4 | 409 | 286 | 147 | 75% | 52% | 27% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2025 | Dakunujanani & Mathugama DPS | 50 | 2 | 2 | 4 | 0% | 1% | 1% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2025 | New NG Combined Cycles | 312 | 230 | 180 | 199 | 8% | 7% | 7% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2025 | TOTAL THERMAL | — | 9003 | 7885 | 7105 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2025 | TOTAL GENERATION | — | 17719 | 17712 | 17710 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2026 | Renewable Energy (Major Hydro+ORE) | 4130 | 9461 | 10849 | 12057 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2026 | Lakvijaya Coal | 810 | 5739 | 5640 | 5218 | 81% | 79% | 74% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2026 | New NG Combined Cycles | 312+212 | 382 | 264 | 254 | 8% | 6% | 6% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2026 | TOTAL THERMAL | — | 9185 | 7789 | 6581 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2026 | TOTAL GENERATION | — | 18645 | 18638 | 18638 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2027 | Renewable Energy (Major Hydro+ORE) | 4820 | 11174 | 12059 | 13699 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2027 | Lakvijaya Coal | 810 | 5559 | 5401 | 4687 | 78% | 76% | 66% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2027 | New NG Combined Cycles | 2×350 | 1680 | 1347 | 719 | 27% | 22% | 12% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2027 | TOTAL THERMAL | — | 8456 | 7569 | 5927 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2027 | TOTAL GENERATION | — | 19630 | 19628 | 19626 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2028 | Renewable Energy (Major Hydro+ORE) | 5510 | 13275 | 14214 | 15183 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2028 | Lakvijaya Coal | 810 | 5256 | 4971 | 4453 | 74% | 70% | 63% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2028 | New NG Combined Cycles | 2×350 | 1829 | 1284 | 872 | 30% | 21% | 14% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2028 | TOTAL THERMAL | — | 7412 | 6472 | 5508 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2028 | TOTAL GENERATION | — | 20687 | 20686 | 20690 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2030 | Renewable Energy (Major Hydro+ORE) | 6790 | 15342 | 16560 | 17849 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2030 | Lakvijaya Coal | 810 | 5222 | 4777 | 3999 | 74% | 67% | 56% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2030 | New NG Combined Cycles | 2×350 | 2060 | 1379 | 949 | 34% | 22% | 15% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2030 | TOTAL THERMAL | — | 7648 | 6438 | 5150 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2030 | TOTAL GENERATION | — | 22990 | 22997 | 22999 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2035 | Renewable Energy (Major Hydro+ORE) | 9220 | 20826 | 21972 | 23227 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2035 | Lakvijaya Coal | 810 | 5387 | 5099 | 4850 | 76% | 72% | 68% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2035 | New NG Combined Cycles | 2×350 | 2652 | 2104 | 1329 | 43% | 34% | 22% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2035 | TOTAL THERMAL | — | 8760 | 7607 | 6370 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2035 | TOTAL GENERATION | — | 29721 | 29579 | 29597 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2040 | Renewable Energy (Major Hydro+ORE) | 11790 | 26366 | 27282 | 28071 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2040 | Lakvijaya Coal | 810 | 5516 | 5475 | 5541 | 78% | 77% | 78% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2040 | New NG Combined Cycles | 2×350 | — | — | — | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2040 | TOTAL GENERATION | — | — | — | — | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2044 | Renewable Energy (Major Hydro+ORE) | 14130 | 29733 | 31448 | 33001 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2044 | New NG Combined Cycles | 2×350 | 4822 | 4564 | 4170 | 79% | 74% | 68% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2044 | Nuclear Power Plant | 552 | 4399 | 4399 | 4398 | 91% | 91% | 91% | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2044 | TOTAL THERMAL | — | 14035 | 12581 | 11259 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7
2044 | TOTAL GENERATION | — | 43768 | 44029 | 44260 | — | — | — | LTGEP 2025-2044, Annex 10.3, pp.A10-3 to A10-7

## IRENA – Seasonality
IRENA — SRI LANKA SEASONALITY & RESOURCE CONTEXT
Section A — Renewable TFEC Trend 2017–2022 (PJ) ¦ Values from chart p.2 explicitly labeled
Year | Total Renewable TFEC (PJ) |  |  | Source
2017 | 193 |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Renewable TFEC trend' chart (values explicitly labeled on bars)
2018 | 197 |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Renewable TFEC trend' chart (values explicitly labeled on bars)
2019 | 201 |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Renewable TFEC trend' chart (values explicitly labeled on bars)
2020 | 183 |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Renewable TFEC trend' chart (values explicitly labeled on bars)
2021 | 198 |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Renewable TFEC trend' chart (values explicitly labeled on bars)
2022 | 194 |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Renewable TFEC trend' chart (values explicitly labeled on bars)
Note: TFEC = Total Final Energy Consumption. Renewable TFEC in 2022 composition: Bioenergy 85% ¦ Electricity 15% (from p.2 pie chart). No monthly breakdown provided.
Section B — Renewable Energy Consumption by Sector 2017 and 2022 (TJ) ¦ From explicit table p.2
Sector | 2017 (TJ) | 2022 (TJ) |  | Source
Industry | 69219 | 77342 |  | IRENA Energy Profile Sri Lanka, p.2, Table 'Consumption by sector'
Transport | 0 | 0 |  | IRENA Energy Profile Sri Lanka, p.2, Table 'Consumption by sector'
Households | 98803 | 77003 |  | IRENA Energy Profile Sri Lanka, p.2, Table 'Consumption by sector'
Other | 25112 | 39659 |  | IRENA Energy Profile Sri Lanka, p.2, Table 'Consumption by sector'
Note: Sector shares 2022: Industry 40%, Transport 0%, Households 40%, Other 20% — from pie chart p.2. These are shares of total energy consumption (TJ), not specifically electricity.
Section C — Renewable Resource Potential ¦ Only numerical values explicitly stated in document
Resource / Indicator | Value | Unit | Notes | Source
Biomass — Net Primary Production (NPP) | 3.5 | tC/ha/yr | Explicitly labeled on p.4 NPP chart. Global average = 3–4 tC/ha/yr. Sri Lanka is at the global average. | IRENA Energy Profile Sri Lanka, p.4, 'Biomass potential: net primary production' (value 3.5 explicitly labeled)
Solar PV resource potential | Seven classes: <1.2 to >2.0 | MWh/kWp/yr | Distribution across classes shown as bar chart only — no numerical % per class given in the document. Chart shows SL bar concentrated in middle-upper classes relative to world average. EXACT % not provided. | IRENA Energy Profile Sri Lanka, p.4, 'Distribution of solar potential' (chart only, no numeric % labeled)
Onshore wind resource potential | Seven classes: <260 to >1060 | W/m² at 100m height | Distribution across classes shown as bar chart only — no numerical % per class given in the document. Chart shows SL bar heavily concentrated in lowest class (<260 W/m²). EXACT % not provided. | IRENA Energy Profile Sri Lanka, p.4, 'Distribution of wind potential' (chart only, no numeric % labeled)
Wind — Class 3+ threshold | ≥420 W/m² | W/m² at 100m | Per IRENA methodology note p.4: 'Areas in the third class or above [420–560 W/m²] are considered to be a good wind resource.' SL appears to have a small proportion of land in this class based on chart. | IRENA Energy Profile Sri Lanka, p.4, methodology note (threshold value stated in text)
IMPORTANT: Solar and wind distribution charts on p.4 show bar chart proportions visually only. No numerical percentages per class are labeled or stated in the document text. Only the biomass NPP value (3.5 tC/ha/yr) and the wind class 3 threshold (420 W/m²) are numerically explicit.
Section D — CO2 Emissions Context (for seasonal/calibration awareness) ¦ From explicit values p.3
Indicator | Value | Year / Period | Notes | Source
Total power sector CO2 emissions | 7 Mt CO2 | 2023 | Explicitly labeled on p.3 Elec. & heat generation CO2 pie. Also: 7 Mt CO2 avoided from renewables. | IRENA Energy Profile Sri Lanka, p.3, energy & emissions section
CO2 emission factor (elec. & heat) | 504 tCO2/GWh (LKA) | 2018 | Labeled on p.3 chart 'CO2 emission factor for elec. & heat generation'. Declined to ~430 by 2023 (approx from chart). | IRENA Energy Profile Sri Lanka, p.3, energy & emissions section
CO2 emission factor — Asia average | 434 tCO2/GWh | 2023 | Explicitly labeled on p.3 chart. | IRENA Energy Profile Sri Lanka, p.3, energy & emissions section
CO2 emissions trend | -7% | 2018–2023 | Change labeled on p.3 CO2 emissions by sector chart. | IRENA Energy Profile Sri Lanka, p.3, energy & emissions section
Fossil fuel CO2 mix (power sector) | Coal+others 78% ¦ Oil 22% ¦ Gas 0% | 2023 | Pie chart p.3 explicitly labeled. | IRENA Energy Profile Sri Lanka, p.3, energy & emissions section

## IRENA – Historical Production
IRENA — SRI LANKA HISTORICAL ELECTRICITY GENERATION 2018–2023
Section A — Total Generation Trend 2018–2023 (TWh) ¦ Values from chart — explicitly labeled
Year | Total Generation (TWh) | Renewable Share (%) |  |  | Source
2018 | 16 | — |  |  | IRENA Energy Profile Sri Lanka, p.3, 'Electricity generation trend' chart (TWh values explicitly labeled); renewable share % labeled for 2023
2019 | 17 | — |  |  | IRENA Energy Profile Sri Lanka, p.3, 'Electricity generation trend' chart (TWh values explicitly labeled); renewable share % labeled for 2023
2020 | 17 | — |  |  | IRENA Energy Profile Sri Lanka, p.3, 'Electricity generation trend' chart (TWh values explicitly labeled); renewable share % labeled for 2023
2021 | 18 | — |  |  | IRENA Energy Profile Sri Lanka, p.3, 'Electricity generation trend' chart (TWh values explicitly labeled); renewable share % labeled for 2023
2022 | 17 | — |  |  | IRENA Energy Profile Sri Lanka, p.3, 'Electricity generation trend' chart (TWh values explicitly labeled); renewable share % labeled for 2023
2023 | 16 | 49% |  |  | IRENA Energy Profile Sri Lanka, p.3, 'Electricity generation trend' chart (TWh values explicitly labeled); renewable share % labeled for 2023
Note: TWh values read from explicitly labeled chart bars (±0.5 TWh precision). Renewable share % only labeled for 2023. Sub-annual breakdown available for 2023 only.
Section B — Generation 2023: Detailed Breakdown ¦ From explicit table p.3
Source | GWh | % Share |  |  | IRENA Source Page
Non-renewable | 8428 | 51% |  |  | IRENA Energy Profile Sri Lanka, p.3, Table 'Generation in 2023'
Renewable | 7954 | 49% |  |  | IRENA Energy Profile Sri Lanka, p.3, Table 'Generation in 2023'
Hydro and Marine | 5978 | 36% |  |  | IRENA Energy Profile Sri Lanka, p.3, Table 'Generation in 2023'
Solar PV | 998 | 6% |  |  | IRENA Energy Profile Sri Lanka, p.3, Table 'Generation in 2023'
Wind | 824 | 5% |  |  | IRENA Energy Profile Sri Lanka, p.3, Table 'Generation in 2023'
Bioenergy | 153 | 1% |  |  | IRENA Energy Profile Sri Lanka, p.3, Table 'Generation in 2023'
Geothermal | — | 0% |  |  | IRENA Energy Profile Sri Lanka, p.3, Table 'Generation in 2023'
TOTAL | 16382 | 100% |  |  | IRENA Energy Profile Sri Lanka, p.3, Table 'Generation in 2023'
Section C — Total Energy Supply (TES) 2017 and 2022 ¦ From explicit table p.1
Category | 2017 | 2022 | Growth 2017–22 | Growth 2021–22 | Source
Non-renewable (TJ) | 293476 | 234858 | -20.0% | -17.9% | IRENA Energy Profile Sri Lanka, p.1, Table 'Total Energy Supply (TES)'
Renewable (TJ) | 176178 | 163856 | -7.0% | -2.0% | IRENA Energy Profile Sri Lanka, p.1, Table 'Total Energy Supply (TES)'
Total TES (TJ) | 469654 | 398714 | -15.1% | -12.0% | IRENA Energy Profile Sri Lanka, p.1, Table 'Total Energy Supply (TES)'
Renewable share (%) | 38% | 41% | — | — | IRENA Energy Profile Sri Lanka, p.1, Table 'Total Energy Supply (TES)'
Energy self-sufficiency (%) | 37% | 41% | — | — | IRENA Energy Profile Sri Lanka, p.1, Table 'Total Energy Supply (TES)'
Imports (TJ) | 308355 | 261915 | — | — | IRENA Energy Profile Sri Lanka, p.1, Table 'Total Energy Supply (TES)'
Exports (TJ) | 0 | 404 | — | — | IRENA Energy Profile Sri Lanka, p.1, Table 'Total Energy Supply (TES)'
Net trade (TJ) | -308355 | -261511 | — | — | IRENA Energy Profile Sri Lanka, p.1, Table 'Total Energy Supply (TES)'
Imports (% of supply) | 66% | 66% | — | — | IRENA Energy Profile Sri Lanka, p.1, Table 'Total Energy Supply (TES)'
Exports (% of production) | 0% | 0% | — | — | IRENA Energy Profile Sri Lanka, p.1, Table 'Total Energy Supply (TES)'
Section D — Per Capita Generation & Demand Indicators ¦ From explicit values p.1 and p.3
Indicator | Value | Year | Notes |  | Source
Per capita electricity generation — Sri Lanka | 504 kWh | 2023 | Explicitly labeled on chart. Compared to Asia avg 434 kWh and World avg (unlabeled). |  | IRENA Energy Profile Sri Lanka, p.1 and p.3 (values explicitly labeled on charts or tables)
Per capita electricity generation — Asia avg | 434 kWh | 2023 | Explicitly labeled on chart p.3. |  | IRENA Energy Profile Sri Lanka, p.1 and p.3 (values explicitly labeled on charts or tables)
Per capita renewable capacity | 135.9 W/person | 2023 | Explicitly labeled on chart p.1, SDG 7.b.1. |  | IRENA Energy Profile Sri Lanka, p.1 and p.3 (values explicitly labeled on charts or tables)
Energy intensity | 1.5 MJ/USD GDP 2021 PPP | 2022 | Last value on chart p.1, SDG 7.3.1. PDF text extraction ambiguous — value is either 1.5 or 1.6 MJ/USD for 2022. Range across 2017–2022 is 1.4–1.6. |  | IRENA Energy Profile Sri Lanka, p.1 and p.3 (values explicitly labeled on charts or tables)
GDP per capita | 13.8 USD'000s 2021 PPP | 2022 | Labeled on chart p.1. GDP growth rate -2.9% also labeled. |  | IRENA Energy Profile Sri Lanka, p.1 and p.3 (values explicitly labeled on charts or tables)
Public flows to renewables | ~17 USD mn 2019 | 2023 | Approximate — read from bar chart p.1. Exact value not labeled as text; labeled as '17' on chart. |  | IRENA Energy Profile Sri Lanka, p.1 and p.3 (values explicitly labeled on charts or tables)
Renewable energy % TFEC (SDG 7.2.1) | 53% | 2023 | Explicitly labeled on p.1 SDG 7.2.1 chart. NOTE: The 35% on the same chart = Access to clean cooking (SDG 7.1.2) — a different indicator. |  | IRENA Energy Profile Sri Lanka, p.1 and p.3 (values explicitly labeled on charts or tables)
Access to clean cooking (SDG 7.1.2) | 35% | 2023 | Explicitly labeled on p.1 SDG chart. Often confused with renewable TFEC share — these are two separate indicators on the same chart. |  | IRENA Energy Profile Sri Lanka, p.1 (SDG 7.1.2 chart)
Access to electricity (% population) | 100% | 2023 | Explicitly labeled on p.1 SDG 7.1.1 chart. |  | IRENA Energy Profile Sri Lanka, p.1 and p.3 (values explicitly labeled on charts or tables)

## IRENA – Capacity Factors
IRENA — SRI LANKA CAPACITY & CAPACITY UTILISATION
Section A — Capacity Utilisation by Technology, Year 2023 (generation ÷ year-end capacity × 8,760 h/yr)
Technology | Capacity Utilisation 2023 (%) |  |  |  | Source
Fossil fuels | 49% |  |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Capacity utilisation in 2023 (%)' bar chart
Hydro / Marine | 37% |  |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Capacity utilisation in 2023 (%)' bar chart
Solar PV | 13% |  |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Capacity utilisation in 2023 (%)' bar chart
Wind | 36% |  |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Capacity utilisation in 2023 (%)' bar chart
Bioenergy | 37% |  |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Capacity utilisation in 2023 (%)' bar chart
Nuclear | — |  |  |  | No nuclear generation in Sri Lanka.
Geothermal | — |  |  |  | No geothermal generation in Sri Lanka.
Section B — Installed Capacity Trend 2017–2024 (GW total) and Renewable Share (%)
Year | Total Installed (GW) | Renewable Share (%) |  |  | Source
2017 | 4.1 | — |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Installed capacity trend' chart (values explicitly labeled)
2018 | 4.2 | — |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Installed capacity trend' chart (values explicitly labeled)
2019 | 4.5 | — |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Installed capacity trend' chart (values explicitly labeled)
2020 | 4.6 | — |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Installed capacity trend' chart (values explicitly labeled)
2021 | 4.7 | — |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Installed capacity trend' chart (values explicitly labeled)
2022 | 4.8 | — |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Installed capacity trend' chart (values explicitly labeled)
2023 | 5.2 | — |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Installed capacity trend' chart (values explicitly labeled)
2024 | 5.7 | 63% |  |  | IRENA Energy Profile Sri Lanka, p.2, 'Installed capacity trend' chart (values explicitly labeled)
Section C — Installed Capacity Mix 2024 (MW and % share of renewable total; capacity changes)
Technology | MW (2024) | % of RE total | Cap. change 2019–24 (%) | Cap. change 2023–24 (MW) | Source
Non-renewable | 2103 | 37% of total | -4% | 0 MW | IRENA Energy Profile Sri Lanka, p.2, capacity tables (MW and % columns explicitly stated)
Renewable — Total | 3612 | 63% of total | +55% | +502 MW | IRENA Energy Profile Sri Lanka, p.2, capacity tables (MW and % columns explicitly stated)
Hydro / Marine | 1846 | 32% of RE | +2% | +10 MW | IRENA Energy Profile Sri Lanka, p.2, capacity tables (MW and % columns explicitly stated)
Solar PV | 1450 | 25% of RE | +315% | +492 MW | IRENA Energy Profile Sri Lanka, p.2, capacity tables (MW and % columns explicitly stated)
Wind | 267 | 5% of RE | +108% | 0 MW | IRENA Energy Profile Sri Lanka, p.2, capacity tables (MW and % columns explicitly stated)
Bioenergy | 49 | 1% of RE | +22% | 0 MW | IRENA Energy Profile Sri Lanka, p.2, capacity tables (MW and % columns explicitly stated)
Geothermal | 0 | 0% | 0% | 0 MW | IRENA Energy Profile Sri Lanka, p.2, capacity tables (MW and % columns explicitly stated)
TOTAL | 5715 | 100% | +26% | +502 MW | IRENA Energy Profile Sri Lanka, p.2, capacity tables (MW and % columns explicitly stated)
Note: MW values and % shares from p.2 capacity tables. GW totals from installed capacity trend chart. Renewable share 63% in 2024 explicitly labeled on chart.

## Sources Index
SOURCES INDEX — Sri Lanka Power Sector Data
# | Document | Relevant Pages / Tables | Content Used in This Workbook
1 | CEB Annual Report 2023 (Ceylon Electricity Board) | p.22–23 Table G1; p.23 Tables G2, G3; p.26 Table G4; p.28–29 | Actual plant factors 2023 per hydro/wind/thermal plant; per-plant generation (GWh), availability factors, unit costs; demand peak data
2 | LTGEP 2025-2044 (CEB, Transmission & Generation Planning Branch, May 2025) | p.E-4 Table E1 | Base demand forecast 2025–2049: demand (GWh), net loss (%), net generation (GWh), day peak (MW), night peak (MW), growth rates
3 | LTGEP 2025-2044 | p.1-15 Table 1.5 | Historical installed capacity (MW) and peak demand (MW) 2004–2023
4 | LTGEP 2025-2044 | p.1-17 Table 1.6 | Historical electricity generation by source (Hydro, NCRE/ORE, Thermal, Self-gen) 1999–2023
5 | LTGEP 2025-2044 | p.5-8 Table 5.3 | NCRE (Other Renewable Energy) annual generation (GWh) and capacity (MW) 2004–2023
6 | LTGEP 2025-2044 | p.5-11 Section 5.6.2 | Wind planning capacity factors by zone: Puttalam 32%, Northern 34%, Mannar 40%, Offshore 50%
7 | LTGEP 2025-2044 | p.5-12 Section 5.7, Fig. 5.6 | Solar seasonality: highest Jan–Apr (dry), significant reduction in wet season
8 | LTGEP 2025-2044 | p.5-9 Fig. 5.4 | Mini hydro production profile: majority of output September–December
9 | LTGEP 2025-2044 | p.5-3 Fig. 5.2 | Monthly major hydro energy and inflow (average hydrology condition)
10 | LTGEP 2025-2044 | p.3-5 Section 3.4.1 | Demand time-series model equation with cooling impact (CI) seasonal variable
11 | LTGEP 2025-2044 | p.3-15 Section 3.8 | Hourly load profile methodology; base year 2021; 8,760-hour resolution
12 | LTGEP 2025-2044 | p.A10-3 to A10-7, Annex 10.3 | Projected annual generation (GWh) and plant factors by plant 2025–2044 (Low/Avg/High RE scenarios)
13 | LTGEP 2025-2044 | p.A10-8 to A10-10, Annex 10.4–10.6 | Weekly system dispatch by season (Dry Jan–Apr, High Wind May–Sep, Wet Oct–Dec) for 2025, 2035, 2040
14 | LTGEP 2025-2044 | p.E-11 (Executive Summary) | Curtailment seasonality note: primarily daytime Sundays in high wind season
15 | LTGEP 2025-2044 | p.5-2 to 5-3 Section 5.2 | Candidate hydro: Thalpitigala 15 MW at 39% plant factor; Moragolla 31 MW run-of-river
16 | IRENA Energy Profile — Sri Lanka (updated 22 Sep 2025) | p.2, 'Capacity utilisation in 2023 (%)' bar chart | Capacity utilisation by technology: Fossil 49%, Hydro/Marine 37%, Solar 13%, Wind 36%, Bioenergy 37%. All values explicitly labeled.
17 | IRENA Energy Profile — Sri Lanka | p.2, capacity tables (MW and %) | Installed capacity 2024: Total 5,715 MW (Non-RE 2,103 MW / 37%, Renewable 3,612 MW / 63%). Breakdown: Hydro 1,846 MW, Solar 1,450 MW, Wind 267 MW, Bioenergy 49 MW. Capacity changes 2019–24 and 2023–24 explicitly stated.
18 | IRENA Energy Profile — Sri Lanka | p.2, 'Installed capacity trend' chart | Total installed capacity 2017–2024 (GW): 4.1, 4.2, 4.5, 4.6, 4.7, 4.8, 5.2, 5.7 GW. Renewable share 63% in 2024 — labeled on chart.
19 | IRENA Energy Profile — Sri Lanka | p.3, 'Electricity generation trend' chart + Table 'Generation in 2023' | Total generation 2018–2023 (TWh): 16, 17, 17, 18, 17, 16. Renewable share 2023: 49%. Detailed 2023: Hydro 5,978 GWh, Solar 998 GWh, Wind 824 GWh, Bioenergy 153 GWh, Total 16,382 GWh.
20 | IRENA Energy Profile — Sri Lanka | p.1, Table 'Total Energy Supply (TES)' + SDG charts | TES 2017: 469,654 TJ; 2022: 398,714 TJ. Renewable share 38%→41%. Self-sufficiency 37%→41%. Per capita RE capacity 135.9 W/person (2023). Per capita electricity 504 kWh (LKA) vs 434 kWh (Asia) in 2023.
21 | IRENA Energy Profile — Sri Lanka | p.2, 'Renewable TFEC trend' chart | Renewable TFEC 2017–2022 (PJ): 193, 197, 201, 183, 198, 194. Composition 2022: Bioenergy 85%, Electricity 15%.
22 | IRENA Energy Profile — Sri Lanka | p.3, energy & emissions section | Power sector CO2: 7 Mt (2023). CO2 factor: 504 tCO2/GWh (2018). Asia avg 434 tCO2/GWh (2023). Fossil mix: Coal 78%, Oil 22%, Gas 0%.
23 | IRENA Energy Profile — Sri Lanka | p.4, resource potential charts + methodology note | Biomass NPP: 3.5 tC/ha/yr (explicitly labeled). Wind class 3 threshold: 420 W/m² (stated in text). Solar and wind distribution charts are visual only — no numeric % per class provided in document.