## Capacity Factors
MALDIVES — CAPACITY FACTORS
Source: IRENA Energy Profile – Maldives (updated 22 Sep 2025), reference year 2023
Technology | Capacity Factor (%) | Notes | Source
Fossil Fuels (Diesel) | 26% | All islands; diesel dominates generation | IRENA 2023
Solar PV | 18% | Grid-connected; annual avg ~1,200 kWh/m²/yr irradiation | IRENA 2023
Wind | 20% | Limited deployment | IRENA 2023
Bioenergy | 1% | Waste-to-Energy (WTE) plants | IRENA 2023

## Demand Forecasts
MALDIVES — DEMAND FORECASTS
Source: MCCEE Energy Road Map 2024-2033 (ADB, Nov 2024)
A. NATIONAL ELECTRICITY CONSUMPTION
Metric | Value | Notes
Historical consumption 2023 | ~1,284 GWh | Total national (IRENA 2023)
Growth rate assumption | ~5% per year | Road Map base case
2028 projection – Total | ~2,400 GWh | Road Map target year
2028 projection – Renewable share | 800 GWh (33%) | 33% RE target announced at COP28 Dec 2023
National RE target | 33% by end-2028 | Government commitment
B. PEAK DEMAND BY SEGMENT (MW)
Segment | 2023 Peak (MW) | 2028 Forecast (MW) | Growth Rate | Notes | Source
Greater Malé | 108 | 150 | ~7.9%/yr | 9.6% growth in 2024 | Road Map
Other Inhabited Islands | 70 | 100 | ~9%/yr | ~157 islands served by Fenaka | Road Map
Resort Islands | 160 | 170 | ~2%/yr | Slower growth; mostly diesel | Road Map
TOTAL | 338 | 420 | ~4-5%/yr | Approximate sum | Road Map
C. DIESEL FUEL FOR ELECTRICITY GENERATION
Year | Diesel (000 tons) | Notes
2023 | 390 | Actual estimate – Road Map
2028 | 330 | Projected if 33% RE target met – Road Map

## Historical Production
MALDIVES — HISTORICAL ELECTRICITY PRODUCTION / UTILISATION
Sources: IRENA Energy Profile (2025); STELCO Statistical Yearbook Tables 12.1 & 12.2 (2024)
A. NATIONAL GENERATION (GWh) — IRENA
Year | Total (GWh) | Non-Renewable (GWh) | Renewable (GWh) | RE Share (%)
2018 | 702
2019 | 756
2020 | 762
2021 | 1200
2022 | 1177
2023 | 1284 | 1199 | 85 | 6.6% | Solar: 83 GWh ¦ Wind: 2 GWh
B. MALE' ELECTRICITY UTILISATION BY SECTOR (000 kWh) — STELCO Table 12.1
Year | Total | Residential | Manuf. & Commercial | Government Buildings | Public Places & Schools | % Residential | % Manuf. & Comm.
2010 | 195723 | 95039 | 71403 | 25530 | 3751 | 48.56% | 36.48%
2011 | 211889 | 103656 | 77814 | 26612 | 3807 | 48.92% | 36.72%
2012 | 219663 | 111364 | 79364 | 25668 | 3268 | 50.7% | 36.13%
2013 | 232023 | 119971 | 82566 | 26272 | 3215 | 51.71% | 35.59%
2014 | 239067 | 123902 | 85616 | 26534 | 3015 | 51.83% | 35.81%
2015 | 260445 | 137096 | 91504 | 28590 | 3256 | 52.64% | 35.13%
2016 | 271814 | 137727 | 100920 | 30685 | 2481 | 50.67% | 37.13%
2017 | 304527 | 158916 | 104097 | 31177 | 10338 | 52.18% | 34.18%
2018 | 318851 | 166586 | 109946 | 29469 | 12850 | 52.25% | 34.48%
2019 | 356354 | 189660 | 118500 | 32819 | 15375 | 53.22% | 33.25%
2020 | 349092 | 202005 | 100990 | 29747 | 16350 | 57.87% | 28.93%
2021 | 355496 | 201693 | 105736 | 31329 | 16738 | 56.74% | 29.74%
2022 | 384809 | 204596 | 123295 | 39469 | 17448 | 53.17% | 32.04%
2023 | 391864 | 213007 | 127342 | 36135 | 15380 | 54.36% | 32.5%
2024 | 407035 | 235710 | 130094 | 41231 | 15264 | 57.91% | 31.96%

## Seasonality
MALDIVES — SEASONALITY (Monthly Data, 2024)
Source: STELCO Statistical Yearbook Table 12.2 (Monthly Electricity Production) & Table 12.3 (Monthly Fuel Consumption), 2024
A. MONTHLY ELECTRICITY PRODUCTION BY LOCALITY — PUBLIC SECTOR (000 kWh) — Table 12.2
Locality | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Region
K.Male' | 23921.99 | 26605.15 | 30624.69 | 30543.68 | 29987.84 | 30590.51 | 29922.14 | 27601.54 | 29119.41 | 28494.98 | 28678.34 | 29371.28 | 345461.55 | Greater Malé
K.Vilimale' | 1233.67 | 1233.79 | 2097.07 | 1186.55 | 1396.47 | 1400.78 | 1462.7 | 1294.66 | 1296.28 | 1341.06 | 1263.74 | 1265.95 | 16472.72 | Greater Malé
K.Hulhumale' | 31728.83 | 30305.61 | 34112.25 | 34457.17 | 34921.09 | 32841.68 | 36807.74 | 31757.96 | 27670.05 | 33591.59 | 29717.48 | 28153.01 | 386064.46 | Greater Malé
K.Thilafushi | 671.68 | 680.35 | 780.2 | 756.09 | 758.49 | 756.01 | 793.91 | 711.94 | 722.26 | 750.33 | 720 | 747.25 | 8848.51 | Greater Malé
K.Gulhifalhu | 128.34 | 128.38 | 138.97 | 137.52 | 141.5 | 136.64 | 143.14 | 128.52 | 129.87 | 133.74 | 130.54 | 137.82 | 1614.98 | Greater Malé
K.Kaashidhoo | 392.4 | 392.57 | 511.23 | 532.92 | 451.53 | 481.01 | 461.59 | 414.17 | 433.19 | 429.03 | 413.14 | 403.85 | 5316.63 | Greater Malé
K.Gaafaru | 232.01 | 250.18 | 301.17 | 312.34 | 250.91 | 274.73 | 265.46 | 234.69 | 247.06 | 250.34 | 255.85 | 251.93 | 3126.67 | Greater Malé
K.Dhiffushi | 422.24 | 431.29 | 488.59 | 486.86 | 440.86 | 452.24 | 463.18 | 409.01 | 421.01 | 433.59 | 469.61 | 479.8 | 5398.28 | Greater Malé
K.Thulusdhoo | 441.75 | 467.96 | 562.99 | 580.57 | 520.42 | 530.54 | 518.46 | 481.47 | 502.49 | 499.23 | 500.25 | 508.46 | 6114.59 | Greater Malé
K.Himmafushi | 436.56 | 450.35 | 518.24 | 540.72 | 527.7 | 549.63 | 540.12 | 463.54 | 491.23 | 513.77 | 487.09 | 476.67 | 5995.62 | Greater Malé
K.Gulhi | 205.02 | 205.84 | 255.13 | 257.66 | 233.26 | 240.27 | 248.37 | 223.87 | 222.97 | 235.04 | 233.31 | 248.95 | 2809.69 | Greater Malé
K.Maafushi | 1399.53 | 1406.43 | 1647.25 | 1629.45 | 1548.96 | 1559.19 | 1661 | 1517.2 | 1511.5 | 1536.22 | 1473.45 | 1586.03 | 18476.21 | Greater Malé
K.Guraidhoo | 388.04 | 389.04 | 476.25 | 475.14 | 443.44 | 456.86 | 457.17 | 419.61 | 443.24 | 444.6 | 447.91 | 465.83 | 5307.13 | Greater Malé
AA.Ukulhas | 385.08 | 409.61 | 463.48 | 433.24 | 357.3 | 366.05 | 384.29 | 344.97 | 361.83 | 363.99 | 384.72 | 400.53 | 4655.09 | Alif Alif
AA.Mathiveri | 174.18 | 182.8 | 228.91 | 224.02 | 185.58 | 219.05 | 201.69 | 181.4 | 179.92 | 178.71 | 187.04 | 199.94 | 2343.24 | Alif Alif
AA.Bodufolhudhoo | 127.5 | 133.26 | 160.51 | 163.71 | 138.29 | 157.1 | 162.16 | 137.83 | 136.33 | 139.49 | 135.83 | 142.58 | 1734.59 | Alif Alif
AA.Feridhoo | 111.67 | 118.39 | 138.48 | 142.38 | 116.21 | 125.63 | 125.49 | 112.36 | 115.42 | 118.7 | 113.53 | 122.04 | 1460.3 | Alif Alif
AA.Maalhos | 86.44 | 88.7 | 109.74 | 114.05 | 96.79 | 109.47 | 107.05 | 90.25 | 95.08 | 100.33 | 95.76 | 105.3 | 1198.96 | Alif Alif
AA.Himandhoo | 145.43 | 158.1 | 192.53 | 197.5 | 171.99 | 172.23 | 182.06 | 150.42 | 154.88 | 155.38 | 146.28 | 156.83 | 1983.63 | Alif Alif
AA.Rasdhoo | 353.33 | 384.79 | 442.24 | 438.48 | 357.3 | 373.41 | 371.06 | 345.5 | 339.5 | 362.78 | 367.45 | 374.28 | 4510.12 | Alif Alif
AA.Thoddoo | 533.44 | 572.16 | 694.8 | 599.48 | 502.93 | 524.07 | 536.86 | 472.39 | 485.92 | 535.73 | 547.64 | 594.82 | 6600.24 | Alif Alif
ADh.Omadhoo | 140.44 | 146.55 | 183.32 | 192.77 | 156.36 | 158.96 | 159.28 | 144.37 | 143.98 | 147.98 | 146.04 | 147.14 | 1867.19 | Alif Dhaal
ADh.Kunburudhoo | 77.39 | 78.41 | 101.83 | 103.2 | 94.7 | 99.37 | 102.89 | 89.07 | 93.03 | 94.81 | 88.67 | 91.88 | 1115.25 | Alif Dhaal
ADh.Dhigurah | 315.36 | 325.89 | 380.9 | 402.44 | 309.21 | 290.49 | 324.22 | 307.62 | 285.66 | 301.35 | 311.87 | 374.4 | 3929.41 | Alif Dhaal
ADh.Fenfushi | 129.71 | 142.25 | 162.87 | 179.69 | 154.35 | 169.82 | 170.25 | 153.37 | 163.72 | 173.69 | 157.82 | 172.17 | 1929.71 | Alif Dhaal
ADh.Mahibadhoo | 441.26 | 446.73 | 535.27 | 545.51 | 491.23 | 516.78 | 522.36 | 465.38 | 463.35 | 484.5 | 449.18 | 134.27 | 5495.82 | Alif Dhaal
ADh.Hangnameedhoo | 115.71 | 117.79 | 141.82 | 138.75 | 110.51 | 118.53 | 113.96 | 101.7 | 101.45 | 103.86 | 102.57 | 111.51 | 1378.16 | Alif Dhaal
ADh.Dhihdhoo | 36.63 | 32.09 | 41.72 | 45.01 | 40.94 | 39.35 | 38.19 | 35.07 | 33.89 | 34.55 | 32.66 | 35.26 | 445.36 | Alif Dhaal
ADh.Mandhoo | 62.15 | 61.79 | 74.95 | 77.12 | 77.79 | 76.61 | 75.47 | 68.24 | 72.07 | 73.33 | 66.39 | 71.62 | 857.53 | Alif Dhaal
ADh.Dhangethi | 243.04 | 247.83 | 296.71 | 302.35 | 256.29 | 261.47 | 266.45 | 242.79 | 248.13 | 257.4 | 247.36 | 282.56 | 3152.38 | Alif Dhaal
V.Felidhoo | 149 | 152.9 | 184.8 | 178.45 | 152.55 | 173.09 | 178.43 | 152.71 | 159.8 | 159.43 | 152.02 | 163.2 | 1956.38 | Vaavu
V.Fulidhoo | 152.58 | 157.97 | 197.91 | 201.52 | 169.27 | 178.86 | 199.63 | 175.14 | 177.78 | 185.64 | 180.4 | 201.58 | 2178.28 | Vaavu
V.Thinadhoo | 189.15 | 196.22 | 231.25 | 212.68 | 211.49 | 164.97 | 174.12 | 180.29 | 176.55 | 191.84 | 216.04 | 221.49 | 2366.09 | Vaavu
V.Keyodhoo | 148.24 | 151.78 | 232.27 | 192.07 | 151.46 | 162.73 | 165.87 | 154.14 | 147.17 | 153.42 | 145.53 | 165.62 | 1970.3 | Vaavu
V.Rakeedhoo | 30.7 | 27.98 | 37.01 | 41.65 | 36.83 | 38.44 | 36.96 | 33.38 | 34.3 | 32.93 | 23.71 | 25.27 | 399.16 | Vaavu
TOTAL ALL LOCALITIES | 65750.49 | 67280.93 | 77747.35 | 77022.74 | 75961.84 | 74766.57 | 78343.72 | 69796.57 | 67380.32 | 73003.36 | 69089.22 | 68391.12 | 864534.23
B. MONTHLY FUEL CONSUMPTION FOR ELECTRICITY GENERATION BY LOCALITY — PUBLIC SECTOR (000 litres) — Table 12.3
Locality | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Region
K.Male' | 7208.435 | 7139.199 | 7007.386 | 7329.29 | 6918.78 | 7442.486 | 7567.329 | 7479.102 | 7640.717 | 7559.385 | 6566.288 | 5973.345 | 85831.742 | Greater Malé
K.Vilimale' | 305.852 | 302.682 | 315.289 | 318.069 | 322.303 | 370.868 | 349.249 | 358.458 | 369.115 | 366.653 | 313.391 | 313.391 | 4005.32 | Greater Malé
K.Hulhumale' | 6562.784 | 6963.623 | 7901.459 | 7455.426 | 7470.124 | 8699.641 | 7788.351 | 8271.952 | 8207.325 | 8181.398 | 7205.222 | 7506.105 | 92213.41 | Greater Malé
K.Thilafushi | 204.053 | 194.831 | 204.08 | 195.412 | 190.784 | 213.719 | 204.961 | 209.622 | 207.151 | 209.875 | 186.13 | 184.927 | 2405.545 | Greater Malé
K.Gulhifalhu | 41.615 | 39.431 | 41.467 | 40.512 | 41.704 | 42.941 | 42.557 | 44.217 | 43.104 | 45.635 | 40.143 | 40.093 | 503.419 | Greater Malé
K.Kaashidhoo | 111.852 | 109.325 | 113.736 | 114.106 | 110.054 | 122.58 | 127.542 | 121.01 | 141.759 | 136.922 | 104.562 | 104.562 | 1418.01 | Greater Malé
K.Gaafaru | 67.284 | 67.671 | 66.95 | 65.337 | 62.087 | 70.192 | 73.298 | 68.509 | 84.435 | 80.219 | 66.267 | 61.32 | 833.569 | Greater Malé
K.Dhiffushi | 140.855 | 141.466 | 132.966 | 126.989 | 125.402 | 137.715 | 136.935 | 130.64 | 147.576 | 144.644 | 125.604 | 124.992 | 1615.784 | Greater Malé
K.Thulusdhoo | 145.419 | 137.925 | 140.778 | 136.296 | 156.81 | 144.446 | 144.853 | 144.199 | 157.652 | 152.531 | 126.686 | 120.697 | 1708.292 | Greater Malé
K.Himmafushi | 132.57 | 133.229 | 138.249 | 134.341 | 127.983 | 147.302 | 149.36 | 144.331 | 153.296 | 146.156 | 121.509 | 116.559 | 1644.885 | Greater Malé
K.Gulhi | 68.803 | 64.812 | 66.256 | 63.569 | 61.05 | 69.315 | 66.466 | 65.312 | 71.874 | 70.169 | 56.752 | 56.358 | 780.736 | Greater Malé
K.Maafushi | 446.23 | 420.128 | 419.488 | 421.047 | 417.032 | 454.885 | 399.408 | 403.239 | 426.677 | 430.285 | 370.308 | 372.096 | 4980.823 | Greater Malé
K.Guraidhoo | 131.568 | 125.283 | 127.402 | 122.706 | 117.753 | 118.914 | 130.03 | 127.946 | 137.239 | 135.423 | 111.466 | 111.803 | 1497.533 | Greater Malé
AA.Ukulhas | 115.408 | 112.846 | 106.343 | 108.013 | 101.685 | 112.957 | 105.994 | 103.869 | 124.647 | 136.235 | 122.032 | 110.451 | 1360.48 | Alif Alif
AA.Mathiveri | 55.007 | 51.593 | 48.139 | 48.353 | 50.249 | 56.086 | 59.504 | 51.805 | 62.815 | 63.944 | 50.923 | 47.887 | 646.305 | Alif Alif
AA.Bodufolhudhoo | 39.964 | 38.603 | 39.192 | 38.812 | 39.304 | 45.956 | 43.557 | 38.948 | 45.882 | 45.591 | 37.121 | 35.838 | 488.768 | Alif Alif
AA.Feridhoo | 37.415 | 33.994 | 35.641 | 34.578 | 33.669 | 37.916 | 36.569 | 34.679 | 41.767 | 41.273 | 35.665 | 32.187 | 435.353 | Alif Alif
AA.Maalhos | 25.258 | 23.27 | 27.208 | 22.773 | 22.116 | 26.435 | 26.48 | 23.405 | 27.328 | 26.384 | 21.362 | 21.071 | 293.09 | Alif Alif
AA.Himandhoo | 47.932 | 42.763 | 45.499 | 45.93 | 45.154 | 52.788 | 49.736 | 50.077 | 56.189 | 55.026 | 46.661 | 44.751 | 582.506 | Alif Alif
AA.Rasdhoo | 111.541 | 98.68 | 108.125 | 99.859 | 97.641 | 111.253 | 115.117 | 110.903 | 129.579 | 134.629 | 117 | 108.53 | 1342.857 | Alif Alif
AA.Thoddoo | 157.192 | 165.001 | 131.925 | 110.474 | 134.248 | 136.303 | 127.093 | 123.449 | 152.794 | 171.778 | 144.523 | 133.331 | 1688.111 | Alif Alif
ADh.Omadhoo | 43.398 | 41.561 | 40.956 | 40.415 | 39.497 | 43.286 | 44.351 | 38.55 | 45.23 | 45.742 | 36.144 | 35.322 | 494.452 | Alif Dhaal
ADh.Kunburudhoo | 28.455 | 27.182 | 27.776 | 26.566 | 25.538 | 28.932 | 29.268 | 28.182 | 32.679 | 32.691 | 23.585 | 23.566 | 334.42 | Alif Dhaal
ADh.Dhigurah | 98.687 | 88.683 | 87.283 | 79.835 | 82.755 | 87.83 | 79.466 | 84.831 | 104.796 | 108.267 | 87.654 | 88.441 | 1078.528 | Alif Dhaal
ADh.Fenfushi | 51.601 | 46.373 | 52.157 | 48.65 | 46.508 | 50.64 | 48.084 | 48.131 | 53.501 | 48.663 | 40.583 | 39.862 | 574.753 | Alif Dhaal
ADh.Mahibadhoo | 128.71 | 120.542 | 138.51 | 145.603 | 130.162 | 153.558 | 160.803 | 139.056 | 153.412 | 153.518 | 124.943 | 123.812 | 1672.629 | Alif Dhaal
ADh.Hangnameedhoo | 31.494 | 29.629 | 34.074 | 32.691 | 33.362 | 35.967 | 35.103 | 31.404 | 38.59 | 42.695 | 36.94 | 36.262 | 418.211 | Alif Dhaal
ADh.Dhihdhoo | 12.73 | 11.71 | 12.655 | 11.619 | 11.285 | 12.602 | 12.426 | 12.698 | 13.952 | 13.328 | 10.77 | 11.709 | 147.484 | Alif Dhaal
ADh.Mandhoo | 19.752 | 18.338 | 20.86 | 21.206 | 18.921 | 21.462 | 22.391 | 24.728 | 23.2 | 22.27 | 19.058 | 18.35 | 250.536 | Alif Dhaal
ADh.Dhangethi | 74.551 | 65.478 | 70.766 | 66.831 | 64.365 | 71.253 | 71.261 | 71.34 | 84.644 | 80.107 | 67.775 | 65.425 | 853.796 | Alif Dhaal
V.Felidhoo | 45.61 | 40.885 | 42.206 | 42.709 | 41.045 | 47.673 | 46.141 | 43.291 | 49.591 | 52.082 | 42.673 | 43.021 | 536.927 | Vaavu
V.Fulidhoo | 55.911 | 49.84 | 50.738 | 49.093 | 51.992 | 54.406 | 48.735 | 46.472 | 54.812 | 53.512 | 43.351 | 41.996 | 600.858 | Vaavu
V.Thinadhoo | 66.089 | 64.536 | 55.76 | 49.895 | 50.992 | 48.476 | 45.66 | 60.06 | 60.06 | 64.747 | 55.276 | 52.248 | 673.799 | Vaavu
V.Keyodhoo | 47.326 | 40.455 | 39.963 | 38.56 | 40.14 | 43.141 | 42.49 | 40.264 | 50.565 | 52.18 | 41.655 | 40.582 | 517.321 | Vaavu
V.Rakeedhoo | 8.036 | 7.476 | 10.287 | 10.851 | 10.687 | 11.451 | 12.108 | 11.406 | 12.989 | 11.569 | 8.619 | 9.398 | 124.877 | Vaavu
TOTAL ALL LOCALITIES | 16869.387 | 17059.043 | 17901.569 | 17696.416 | 17293.181 | 19325.375 | 18442.676 | 18786.085 | 19206.942 | 19115.526 | 16608.641 | 16250.288 | 214555.129
C. MALDIVES CLIMATE SEASONALITY — MALE' (LONG-TERM AVERAGES)
Sources: (1) GHI — Solargis/World Bank Global Solar Atlas, Maldives validated model (1999–2017 long-term avg, Male' 4.175°N 73.509°E). (2) Temperature, Rainfall, Sunshine hours — CRU/Met Office/KNMI long-term climatology for Male'. (3) Monsoon classification — WMO / MCCEE Energy Road Map 2024-2033.
Legend: | Jan: NE Monsoon / Dry season (Nov–Apr); May: SW Monsoon / Wet season (May–Oct); Sep: Transition months
Parameter | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | Units
GHI — Global Horizontal Irradiation | 5.37 | 5.82 | 6.23 | 6.1 | 5.41 | 4.89 | 4.95 | 5.12 | 5.05 | 4.98 | 4.72 | 4.85 | 5.29 | kWh/m²/day
↳ Solargis long-term avg (1999–2017). Annual total ~1,932 kWh/m²/yr. Peak in Feb–Apr (NE monsoon / clear skies); trough Jun–Jul (SW monsoon cloud cover).
Temperature — Mean | 28 | 28.2 | 28.9 | 29.3 | 29 | 28.4 | 28 | 28 | 28 | 28.2 | 28.2 | 28 | 28.4 | °C
↳ Near-constant equatorial temperature year-round. Peak Mar–May (pre-SW monsoon). Minimal seasonal range (~1.3°C) means cooling demand is relatively stable.
Rainfall — Monthly total | 114 | 53 | 73 | 122 | 221 | 234 | 208 | 197 | 237 | 198 | 231 | 178 | 2066 | mm/month (annual: mm/yr)
↳ Wet season May–Oct (SW monsoon): >190 mm/month typical. Driest months Feb–Mar. Rainfall reduces solar output due to cloud cover.
Sunshine hours — Daily average | 8.3 | 8.6 | 8.4 | 7.9 | 6.5 | 6.2 | 6.2 | 6.5 | 6.7 | 7.1 | 7.4 | 7.9 | 7.3 | hrs/day
↳ Directly correlated with GHI. Peak Feb–Mar (NE monsoon). SW monsoon (Jun–Jul) lowest sunshine (~6.2 hrs/day), reducing PV output ~25% vs peak.
Relative Humidity — Mean | 79 | 77 | 77 | 79 | 82 | 83 | 82 | 82 | 83 | 83 | 82 | 81 | 81 | %
↳ High humidity year-round; slightly lower in NE monsoon. High humidity increases AC demand and slightly reduces PV panel efficiency.
Wind Speed — Mean at 10m | 3.6 | 3.5 | 3.3 | 3.1 | 4.2 | 5.8 | 5.7 | 5.4 | 4.5 | 3.8 | 3.4 | 3.5 | 4.2 | m/s
↳ SW monsoon (May–Aug) brings strongest winds from southwest (~5–6 m/s). NE monsoon winds moderate (~3–4 m/s). Annual avg too low for utility wind; some small-scale wind installed on outer islands.
D. MONSOON SEASON SUMMARY — ENERGY RELEVANCE
Season | NE Monsoon / Dry season (Nov–Apr) Jan: Months; NE Monsoon / Dry season (Nov–Apr) Feb: Direction; NE Monsoon / Dry season (Nov–Apr) Mar: Key Characteristics; NE Monsoon / Dry season (Nov–Apr) Apr: Solar Impact; SW Monsoon / Wet season (May–Oct) May: Wind Impact
NE Monsoon (Dry Season) | NE Monsoon / Dry season (Nov–Apr) Jan: Nov – Apr; NE Monsoon / Dry season (Nov–Apr) Feb: Northeast; NE Monsoon / Dry season (Nov–Apr) Mar: Clear skies, low rainfall (<120 mm/month), lower humidity. Driest Feb–Mar.; NE Monsoon / Dry season (Nov–Apr) Apr: BEST solar resource. GHI peaks Feb–Apr (~5.8–6.2 kWh/m²/day). PV output ~20–25% higher than SW monsoon months.; Transition months Oct: Moderate NE winds (~3–4 m/s). Below wind turbine optimal range.
SW Monsoon (Wet Season) | NE Monsoon / Dry season (Nov–Apr) Jan: May – Oct; NE Monsoon / Dry season (Nov–Apr) Feb: Southwest; NE Monsoon / Dry season (Nov–Apr) Mar: Heavy rainfall (>190 mm/month May–Oct), high cloud cover, high humidity. Peak rain Sep (~237 mm).; NE Monsoon / Dry season (Nov–Apr) Apr: REDUCED solar. GHI drops to ~4.9–5.1 kWh/m²/day. Increased cloud cover reduces PV output. Diesel backup more critical during this period.; Transition months Oct: Strongest winds (~5–6 m/s Jun–Jul). Best months for small wind generation.
Inter-monsoon (Transition) | NE Monsoon / Dry season (Nov–Apr) Jan: Apr–May, Oct–Nov; NE Monsoon / Dry season (Nov–Apr) Feb: Variable; NE Monsoon / Dry season (Nov–Apr) Mar: Transitional periods. Unpredictable weather. Short intense rain squalls possible.; NE Monsoon / Dry season (Nov–Apr) Apr: Variable GHI. Planning buffer needed for storage/backup.; Transition months Oct: Variable winds.
E. IMPLICATIONS FOR ENERGY MODELING
Aspect | NE Monsoon / Dry season (Nov–Apr) Jan: NE Monsoon (Nov–Apr)
Solar PV capacity factor | NE Monsoon / Dry season (Nov–Apr) Jan: Higher — apply ~20% uplift vs annual avg in energy models (peak ~Feb–Apr); SW Monsoon / Wet season (May–Oct) Jul: Lower — apply ~15% discount vs annual avg (trough ~Jun–Jul)
Diesel generation requirement | NE Monsoon / Dry season (Nov–Apr) Jan: Lower diesel dispatch possible if storage available; SW Monsoon / Wet season (May–Oct) Jul: Higher diesel dispatch required to compensate reduced solar
Cooling / AC demand | NE Monsoon / Dry season (Nov–Apr) Jan: Moderate — temps ~28°C, slightly lower humidity; SW Monsoon / Wet season (May–Oct) Jul: High — temps ~28–29°C with high humidity (82–83%), increases cooling load
Tourism demand | NE Monsoon / Dry season (Nov–Apr) Jan: Peak tourist season (Dec–Apr) → higher resort island demand; SW Monsoon / Wet season (May–Oct) Jul: Lower tourist season → lower resort island demand
Battery storage sizing | NE Monsoon / Dry season (Nov–Apr) Jan: Longer solar hours; batteries can cycle more efficiently; SW Monsoon / Wet season (May–Oct) Jul: Shorter effective solar window; storage more critical for evening supply