## 1_OSTRAM_Profiles
SRI LANKA — RECOMMENDED OSTRAM TIMESLICE PROFILES
Final consolidated values for model parameterisation. Source: PUCSL 15-minute dispatch data, 2023.
Date produced | March 2026
Base year | 2023 (12 months of PUCSL 15-minute dispatch data)
Data source | PUCSL monthly Excel files (96 intervals/day × 365 days). Dynamic row detection for varying table layouts.
Processing | process_pucsl_spyder_v2.py → 363 daily sheets across 12 files → timeslice aggregation
A. CAPACITY FACTORS — Recommended values for OSTRAM CapacityFactor parameter
Green = physically validated. Yellow = solar (PUCSL MW underestimates distributed; Energy column used for allocation). Red = CF > 1.0 warning.
Timeslice | Season | Band | Coal (900 MW) | Oil_CEB (710 MW) | Oil_IPP (420 MW) | Major_Hydro (1384 MW) | Wind (128 MW) | Solar (200 MW) | Biomass (30 MW) | Mini_Hydro (415 MW) | Source
S1D1 | Winter (Dec-Feb) | Night (00-06) | 0.5718 | 0.158 | 0.1073 | 0.3357 | 0.3363 | 0.0008 | 0.3235 | 0.1832 | PUCSL 15-min dispatch 2023
S1D2 | Winter (Dec-Feb) | Day (06-18) | 0.606 | 0.2078 | 0.2099 | 0.4808 | 0.4378 | 0.1058 | 0.315 | 0.1912 | PUCSL 15-min dispatch 2023
S1D3 | Winter (Dec-Feb) | Evening (18-24) | 0.6074 | 0.2084 | 0.2404 | 0.507 | 0.4329 | 0 | 0.3131 | 0.1763 | PUCSL 15-min dispatch 2023
S2D1 | Pre-monsoon (Mar-May) | Night (00-06) | 0.7451 | 0.2922 | 0.3255 | 0.1692 | 0.3456 | 0 | 0.188 | 0.0949 | PUCSL 15-min dispatch 2023
S2D2 | Pre-monsoon (Mar-May) | Day (06-18) | 0.7529 | 0.3787 | 0.4583 | 0.2895 | 0.332 | 0.0806 | 0.1833 | 0.1031 | PUCSL 15-min dispatch 2023
S2D3 | Pre-monsoon (Mar-May) | Evening (18-24) | 0.7646 | 0.4074 | 0.4561 | 0.3754 | 0.3913 | 0 | 0.1877 | 0.1001 | PUCSL 15-min dispatch 2023
S3D1 | SW Monsoon (Jun-Sep) | Night (00-06) | 0.5281 | 0.3878 | 0.3475 | 0.1814 | 0.9552 | -0.0003 | 0.3503 | 0.1202 | PUCSL 15-min dispatch 2023
S3D2 | SW Monsoon (Jun-Sep) | Day (06-18) | 0.5393 | 0.5347 | 0.5108 | 0.2702 | 0.8542 | 0.0822 | 0.3457 | 0.1045 | PUCSL 15-min dispatch 2023
S3D3 | SW Monsoon (Jun-Sep) | Evening (18-24) | 0.5511 | 0.5641 | 0.5537 | 0.3278 | 1.0196 | -0.0005 | 0.3542 | 0.1133 | PUCSL 15-min dispatch 2023
S4D1 | Post-monsoon (Oct-Nov) | Night (00-06) | 0.3871 | 0.0338 | 0.0024 | 0.4793 | 0.2306 | 0 | 0.2778 | 0.2884 | PUCSL 15-min dispatch 2023
S4D2 | Post-monsoon (Oct-Nov) | Day (06-18) | 0.4607 | 0.0781 | 0.0608 | 0.6477 | 0.2637 | 0.0895 | 0.2854 | 0.2414 | PUCSL 15-min dispatch 2023
S4D3 | Post-monsoon (Oct-Nov) | Evening (18-24) | 0.4692 | 0.0832 | 0.0928 | 0.6914 | 0.259 | 0 | 0.3029 | 0.2683 | PUCSL 15-min dispatch 2023
⚠ Wind CF = 1.02 at S3D3. Installed capacity may be ~131 MW vs assumed 128 MW. Verify with CEB 2023 capacity additions.
⚠ Solar: PUCSL MW column only captures CEB-dispatched grid-scale solar. Energy column (col 98) includes distributed/net-metered — used for energy allocation.
Solar night values reflect the Energy-column allocation method, not actual night generation. True night solar CF = 0.
B. DEMAND FRACTIONS — Recommended values for OSTRAM SpecifiedAnnualDemand distribution
From PUCSL Total MW row (row 36/37/38/44 depending on file). Energy-weighted daypart allocation. Total: 15,274 GWh.
Timeslice | Season | Band | YearSplit | Demand Fraction | Avg MW | Energy (GWh) | Source
S1D1 | Winter (Dec-Feb) | Night (00-06) | 0.061644 | 0.048317 | 1265.6 | 737.98 | PUCSL Total MW 2023
S1D2 | Winter (Dec-Feb) | Day (06-18) | 0.12329 | 0.12308 | 1612.7 | 1879.88 | PUCSL Total MW 2023
S1D3 | Winter (Dec-Feb) | Evening (18-24) | 0.061644 | 0.062397 | 1635.4 | 953.03 | PUCSL Total MW 2023
S2D1 | Pre-monsoon (Mar-May) | Night (00-06) | 0.063014 | 0.052457 | 1338.4 | 801.2 | PUCSL Total MW 2023
S2D2 | Pre-monsoon (Mar-May) | Day (06-18) | 0.12603 | 0.12898 | 1646.9 | 1969.92 | PUCSL Total MW 2023
S2D3 | Pre-monsoon (Mar-May) | Evening (18-24) | 0.063014 | 0.070015 | 1786 | 1069.38 | PUCSL Total MW 2023
S3D1 | SW Monsoon (Jun-Sep) | Night (00-06) | 0.083562 | 0.073649 | 1330.3 | 1124.88 | PUCSL Total MW 2023
S3D2 | SW Monsoon (Jun-Sep) | Day (06-18) | 0.16712 | 0.18064 | 1633.2 | 2759.08 | PUCSL Total MW 2023
S3D3 | SW Monsoon (Jun-Sep) | Evening (18-24) | 0.083562 | 0.098028 | 1771.1 | 1497.24 | PUCSL Total MW 2023
S4D1 | Post-monsoon (Oct-Nov) | Night (00-06) | 0.041781 | 0.032725 | 1194.3 | 499.83 | PUCSL Total MW 2023
S4D2 | Post-monsoon (Oct-Nov) | Day (06-18) | 0.083562 | 0.08501 | 1552.4 | 1298.41 | PUCSL Total MW 2023
S4D3 | Post-monsoon (Oct-Nov) | Evening (18-24) | 0.041781 | 0.044706 | 1631.1 | 682.82 | PUCSL Total MW 2023
TOTAL |  |  | 1 | 1 |  | 15273.65
C. INSTALLED CAPACITY — Approximate 2023 values (refine with CEB Statistical Digest)
Sources: CEB Statistical Digest 2023, CEB Long Term Generation Expansion Plan 2023-2042
OSTRAM Code | Technology | Installed (MW) | Description | Source
PWRCOALKA | Coal | 900 | Norochcholai (3×300 MW) | CEB Statistical Digest 2023
PWROILKA_CEB | Oil_CEB | 710 | CEB thermal: LVPS, KPS, Sapugaskanda | CEB Statistical Digest 2023
PWROILKA_IPP | Oil_IPP | 420 | IPP: Uthuru Janani, Asia Power, Barge | CEB Statistical Digest 2023
PWRHYDKA | Major_Hydro | 1384 | 15 major hydro plants (Canyon–Kukule) | CEB Statistical Digest 2023
PWRWONKA | Wind | 128 | Wind farms (Mannar, Puttalam) | CEB Statistical Digest 2023
PWRSPVKA | Solar | 200 | Solar PV (grid-scale CEB dispatch only) | CEB Statistical Digest 2023
PWRBIOKA | Biomass | 30 | Biomass plants | CEB Statistical Digest 2023
PWRMNHKA | Mini_Hydro | 415 | CEB/IPP mini hydro | CEB Statistical Digest 2023
TOTAL |  | 4187

## 2_Generation_Profiles
SRI LANKA — GENERATION PROFILES BY FUEL TYPE & TIMESLICE
Average MW and energy (GWh) per timeslice from PUCSL 15-minute dispatch data, 2023.
Timeslice | Season | Band | Coal Avg MW | Coal GWh | Oil_CEB Avg MW | Oil_CEB GWh | Oil_IPP Avg MW | Oil_IPP GWh | Major_Hydro Avg MW | Major_Hydro GWh | Wind Avg MW | Wind GWh | Solar Avg MW | Solar GWh | Biomass Avg MW | Biomass GWh | Mini_Hydro Avg MW | Mini_Hydro GWh | Total Avg MW | Total GWh
S1D1 | Winter (Dec-Feb) | Night (00-06) | 514.6 | 278.11 | 112.2 | 60.32 | 45.1 | 23.76 | 464.5 | 250.17 | 43 | 27.38 | 0.1 | 1.2 | 9.7 | 7.37 | 76 | 59.85 | 1265.4 | 708.16
S1D2 | Winter (Dec-Feb) | Day (06-18) | 545.4 | 589.49 | 147.5 | 158.46 | 88.2 | 92.7 | 665.4 | 717.24 | 56 | 71.84 | 21.2 | 178.32 | 9.4 | 13.81 | 79.3 | 133.44 | 1612.4 | 1955.3
S1D3 | Winter (Dec-Feb) | Evening (18-24) | 546.7 | 295.42 | 148 | 79.44 | 101 | 53.04 | 701.6 | 378.43 | 55.4 | 35.76 | 0 | 0.01 | 9.4 | 6.68 | 73.2 | 58.03 | 1635.2 | 906.83
S2D1 | Pre-monsoon (Mar-May) | Night (00-06) | 670.6 | 362.75 | 207.5 | 111.37 | 136.7 | 72.37 | 234.2 | 127.53 | 44.2 | 28.99 | 0 | 0 | 5.6 | 7.28 | 39.4 | 58.39 | 1338.3 | 768.67
S2D2 | Pre-monsoon (Mar-May) | Day (06-18) | 677.6 | 733.04 | 268.9 | 288.51 | 192.5 | 203.31 | 400.7 | 436.43 | 42.5 | 55.81 | 16.1 | 205 | 5.5 | 13.61 | 42.8 | 122.44 | 1646.6 | 2058.15
S2D3 | Pre-monsoon (Mar-May) | Evening (18-24) | 688.2 | 372.23 | 289.2 | 155.08 | 191.6 | 101.04 | 519.5 | 282.89 | 50.1 | 32.84 | 0 | 0 | 5.6 | 7.11 | 41.5 | 61.18 | 1785.7 | 1012.37
S3D1 | SW Monsoon (Jun-Sep) | Night (00-06) | 475.3 | 348.59 | 275.3 | 200.76 | 146 | 104.53 | 251 | 186.01 | 122.3 | 117.47 | -0.1 | -0.72 | 10.5 | 13.1 | 49.9 | 131.59 | 1330.2 | 1101.33
S3D2 | SW Monsoon (Jun-Sep) | Day (06-18) | 485.4 | 711.97 | 379.7 | 553.59 | 214.5 | 306.93 | 373.9 | 554.19 | 109.3 | 210.29 | 16.4 | 287.23 | 10.4 | 25.83 | 43.4 | 211.97 | 1633 | 2861.99
S3D3 | SW Monsoon (Jun-Sep) | Evening (18-24) | 496 | 363.78 | 400.5 | 291.94 | 232.6 | 166.31 | 453.7 | 336.1 | 130.5 | 125.45 | -0.1 | -1.32 | 10.6 | 13.29 | 47 | 122.34 | 1770.9 | 1417.89
S4D1 | Post-monsoon (Oct-Nov) | Night (00-06) | 348.4 | 127.72 | 24 | 8.74 | 1 | 0.36 | 663.4 | 245.3 | 29.5 | 14.63 | 0 | 0 | 8.3 | 4.3 | 119.7 | 86.06 | 1194.3 | 487.11
S4D2 | Post-monsoon (Oct-Nov) | Day (06-18) | 414.6 | 303.99 | 55.4 | 40.31 | 25.5 | 18.26 | 896.4 | 662.97 | 33.8 | 33.6 | 17.9 | 143.26 | 8.6 | 8.93 | 100.2 | 138.88 | 1552.3 | 1350.21
S4D3 | Post-monsoon (Oct-Nov) | Evening (18-24) | 422.3 | 154.82 | 59 | 21.46 | 39 | 13.97 | 956.9 | 353.95 | 33.1 | 16.58 | 0 | 0 | 9.1 | 4.87 | 111.3 | 78.09 | 1630.8 | 643.74
ANNUAL TOTAL |  |  |  | 4641.9 |  | 1969.98 |  | 1156.57 |  | 4531.22 |  | 770.64 |  | 812.98 |  | 126.17 |  | 1262.26 |  | 15271.72

## 3_Hydro_Detail
SRI LANKA — MAJOR HYDRO: PLANT-LEVEL DISPATCH BY TIMESLICE
15 individual plants from PUCSL Table 1. Average MW per timeslice.
RELAC lesson | MaxCapacity + low seasonal CF → per-timeslice bottleneck → model infeasibility. Use TotalTechnologyAnnualActivityUpperLimit.
Pattern | All seasons show D3 evening peaking (reservoir dispatch follows demand). S4 shows highest average — post-monsoon reservoir levels.
Timeslice | Season | Band | Bowa | Broadlands | Canyon | Koth | Kukule | Nlax | Olax | Polp | Rand | Rant | Sam | Uku | Upper_Kothmale | Vict | WPS | TOTAL
S1D1 | Winter (Dec-Feb) | Night (00-06) | 11 | 6.2 | 8.1 | 39.1 | 17.5 | 39.5 | 21.7 | 32.7 | 54.8 | 28.6 | 49.6 | 24.4 | 29.7 | 95.2 | 6.4 | 464.5
S1D2 | Winter (Dec-Feb) | Day (06-18) | 17.5 | 6.2 | 19.7 | 69.9 | 20.4 | 59 | 33.3 | 49.5 | 74.2 | 32.9 | 65.5 | 24.1 | 48.8 | 127.5 | 16.9 | 665.4
S1D3 | Winter (Dec-Feb) | Evening (18-24) | 17.1 | 10.6 | 22.6 | 68.3 | 24.1 | 61.1 | 31.9 | 51.3 | 78.4 | 33.5 | 80.7 | 25.1 | 60.5 | 116.8 | 19.4 | 701.6
S2D1 | Pre-monsoon (Mar-May) | Night (00-06) | 1.3 | 4.3 | 7.3 | 8.5 | 15.6 | 39.5 | 24.5 | 30 | 8.6 | 7.9 | 10.2 | 13.4 | 8 | 48.8 | 6.2 | 234.1
S2D2 | Pre-monsoon (Mar-May) | Day (06-18) | 6.2 | 4.4 | 17.3 | 17.4 | 22.3 | 55.7 | 32.3 | 45.7 | 29.3 | 13.6 | 42.1 | 17.2 | 18 | 65.8 | 13.4 | 400.7
S2D3 | Pre-monsoon (Mar-May) | Evening (18-24) | 11.2 | 7.6 | 22.2 | 25.1 | 28.9 | 59.9 | 33.5 | 50.6 | 53.2 | 24.5 | 59.1 | 20.8 | 36.5 | 68.9 | 17.4 | 519.5
S3D1 | SW Monsoon (Jun-Sep) | Night (00-06) | 0.6 | 6.3 | 3.9 | 24.6 | 35.8 | 39.2 | 20.4 | 31.9 | 10.1 | 10.1 | 7.7 | 18.4 | 16.5 | 23.4 | 2.1 | 251
S3D2 | SW Monsoon (Jun-Sep) | Day (06-18) | 1.8 | 6.4 | 13.2 | 35 | 45.8 | 53.7 | 26.4 | 45 | 26.5 | 11.7 | 19.1 | 22.7 | 38.3 | 20.8 | 7.5 | 373.9
S3D3 | SW Monsoon (Jun-Sep) | Evening (18-24) | 5.2 | 9.1 | 17.2 | 34.8 | 55.4 | 52.5 | 29.1 | 47.3 | 40.8 | 16.1 | 29.8 | 27.9 | 46.2 | 30 | 12.1 | 453.7
S4D1 | Post-monsoon (Oct-Nov) | Night (00-06) | 15 | 11.8 | 20.1 | 77.2 | 75 | 73.1 | 39.7 | 69.3 | 7.9 | 10.7 | 42.1 | 19.3 | 103.2 | 75.3 | 23.6 | 663.4
S4D2 | Post-monsoon (Oct-Nov) | Day (06-18) | 28 | 10.9 | 33.1 | 116.7 | 75.5 | 87.9 | 46.6 | 77.9 | 20.1 | 17.8 | 72.7 | 28 | 127.1 | 122.4 | 31.9 | 896.4
S4D3 | Post-monsoon (Oct-Nov) | Evening (18-24) | 31.5 | 13.5 | 35.4 | 117.5 | 76.6 | 90.5 | 46.5 | 80.5 | 30.1 | 22.9 | 77 | 27 | 132.5 | 138.6 | 36.7 | 956.9

## 4_Cross_Validation
SRI LANKA — CROSS-VALIDATION LOG
Validates PUCSL-derived profiles against CEB benchmarks and physical constraints.
A. Annual Energy vs CEB 2023 Benchmarks
Fuel Type | Script (GWh) | CEB Benchmark (GWh) | Ratio | Assessment
Coal | 4641.9 | 4800 | 96.7% | ✓ Within 5%
Oil_CEB | 1970 | 1900 | 103.7% | ✓ Within 5%
Oil_IPP | 1156.6 | 1200 | 96.4% | ✓ Within 5%
Major_Hydro | 4531.2 | 4500 | 100.7% | ✓ Within 5%
Wind | 770.6 | 800 | 96.3% | ✓ Within 5%
Solar | 813 | 900 | 90.3% | ~ Within 10%
Biomass | 126.2 | 130 | 97.1% | ✓ Within 5%
Mini_Hydro | 1262.3 | 1300 | 97.1% | ✓ Within 5%
B. Physical Constraint Checks
Check | Result | Status
Solar CF at night (D1) | Near zero (<0.001) in all seasons except via energy allocation method | ✓ Pass
Coal CF range | 0.39–0.76 across timeslices (Norochcholai 3-unit baseload) | ✓ Plausible
Wind CF max | 1.02 at S3D3 — installed capacity ~128 MW may be slightly low | ⚠ Minor
Hydro dispatch pattern | D3 (evening) peak in all 4 seasons — consistent with reservoir dispatch | ✓ Pass
Demand fractions sum | 1.000002 (rounding only) | ✓ Pass
Total demand | 15,274 GWh vs ~16,000 GWh CEB (95.5%) — 2 missing days in S2,S3,S4 | ✓ Acceptable
Gen/demand balance | 100.0% annual; per-timeslice 94–105% (T&D losses + measurement) | ✓ Pass
C. Table Layout Detection (dynamic row detection v2)
File (Month) | Total Row | Detection Result
June 2023 | 36 | 8/8 fuels, 15/15 hydro
April 2023 | 44 | 8/8 fuels, 15/15 hydro
November 2023 | 38 | 8/8 fuels, 15/15 hydro
September 2023 | 37 | 8/8 fuels, 15/15 hydro
March 2023 | 44 | 8/8 fuels, 15/15 hydro
August 2023 | 36 | 8/8 fuels, 15/15 hydro
December 2023 | 38 | 8/8 fuels, 15/15 hydro
July 2023 | 36 | 8/8 fuels, 15/15 hydro
February 2023 | 44 | 8/8 fuels, 15/15 hydro
January 2023 | 44 | 8/8 fuels, 15/15 hydro
May 2023 | 36 | 8/8 fuels, 15/15 hydro
October 2023 | 38 | 8/8 fuels, 15/15 hydro

## 5_Sources
SRI LANKA — COMPLETE SOURCE INDEX
Every data point in this workbook traces to one of the sources below.
Code | Source | Publisher | Coverage | Sheets Used | Key Data
[P] | PUCSL 15-Minute System Dispatch Reports | Public Utilities Commission of Sri Lanka | Jan–Dec 2023 (12 monthly files, 363 daily sheets) | 1,2,3,4 | 96 intervals/day: individual plant MW + fuel-type aggregates + daily energy (MWh). Table 1 = plants, Table 2 = fuel types.
[C] | CEB Statistical Digest 2023 | Ceylon Electricity Board | 2023 annual | 1,4 | Installed capacity by plant/fuel. Annual generation totals for cross-validation. System peak demand.
[L] | CEB Long Term Generation Expansion Plan 2023-2042 | Ceylon Electricity Board | 2023–2042 planning horizon | 1 | Future capacity additions. Technology costs. Demand forecasts. Hydro expansion plans.
[S] | process_pucsl_spyder_v2.py | CLG/OSTRAM (this project) | 2023 processing | All | Python script: dynamic row detection, 15-min→timeslice aggregation, energy-weighted daypart allocation. Handles solar MW/Energy discrepancy.