## Existing Generation
BHUTAN — Existing Power Generation
Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Plant Name | Zone | Fuel Type | Owner Type | Owner | Installed Capacity (MW) | Derated Capacity (MW) | Technology | Status | Notes
Tala Hydropower Plant | West | Hydro | Public | Druk Green Power Corporation (DGPC) | 1020 | 1020 | Run-of-River | Operational | 6×170 MW units; largest plant in Bhutan; 4,642 MU generated in 2024 (39.85% of total)
Mangdechhu Hydropower Plant | Central | Hydro | Public | Mangdechhu Hydropower Authority (MHPA) | 720 | 720 | Run-of-River | Operational | 4×180 MW units; 3,565 MU generated in 2024 (30.60% of total)
Chhukha Hydropower Plant | West | Hydro | Public | Druk Green Power Corporation (DGPC) | 336 | 336 | Run-of-River | Operational | 4×84 MW units; 1,771 MU generated in 2024 (15.20% of total)
Dagachhu Hydropower Plant | South-West | Hydro | Public | Druk Green Power Corporation (DGPC) | 252 | 252 | Run-of-River | Operational | 2×126 MW units; 449 MU generated in 2024 (3.86%)
Nikachhu Hydropower Plant | Central | Hydro | Public | Druk Green Power Corporation (DGPC) | 118 | 118 | Run-of-River | Operational | 2×59 MW units; commenced generation in 2024; 513 MU generated
Kurichhu Hydropower Plant | East | Hydro | Public | Druk Green Power Corporation (DGPC) | 60 | 60 | Run-of-River | Operational | 4×15 MW units; 393 MU generated in 2024 (3.38%)
Basochhu Hydropower Plant | West | Hydro | Public | Druk Green Power Corporation (DGPC) | 64 | 64 | Run-of-River | Operational | 2×12 MW + 2×20 MW units; 303 MU generated in 2024 (2.60%)
Punatsangchhu-II Hydropower Plant (PHP-II) | West | Hydro | Public | Druk Green Power Corporation (DGPC) | 1020 | 1020 | Run-of-River | Operational (partial) | 6×170 MW; commenced 2024; 12.23 MU generated; ramp-up phase
Mini/Micro Hydel Plants (various) | National | Hydro | Public / Community | BPC / Various | - | - | Mini/Micro Hydel | Operational | Total mini/micro generation: 16.90 MU in 2024; embedded in distribution network
DSP Solar Plant | Central | Solar | Public | Druk Green Power Corporation (DGPC) | - | - | Solar PV | Operational | Solar tariff Nu. 3.64/kWh; 3.23 MU purchased by BPC in 2024
Diesel Generator Sets (various) | National | Diesel | Public | BPC / Various | - | - | Diesel Generator | Standby/Emergency | Negligible generation recorded in 2024 (~0 MU); used as backup
ℹ️ Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024) ¦ Total installed hydro capacity (DGPC): ~3,590 MW ¦ Total generation 2024: 11,648.68 MU

## Generation Summary
BHUTAN — Generation Summary & Demand Statistics
Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
A. GENERATION BY PLANT (MU) — 2020 to 2024
Plant | 2020 | 2021 | 2022 | 2023 | 2024 | Notes
Kurichhu HP (60 MW) | 391.59 | 386.29 | 407.92 | 385.84 | 393.33 | 4×15 MW
Tala HP (1,020 MW) | 5031.82 | 4619.77 | 4539.01 | 4454.24 | 4642.17 | 6×170 MW
Chhukha HP (336 MW) | 1858.07 | 1966.31 | 1915.92 | 1775.37 | 1770.94 | 4×84 MW
Basochhu HP (64 MW) | 348.56 | 339.17 | 354.59 | 311.38 | 303.1 | 2×12+2×20 MW
Mangdechhu HP (720 MW) | 3218.39 | 2988.89 | 3084.96 | 3145.05 | 3564.59 | 4×180 MW
Dagachhu HP (252 MW) | 518.27 | 499.87 | 451.65 | 444.14 | 449.18 | 2×126 MW
Nikachhu HP (118 MW) | 0 | 0 | 0 | 0 | 513.15 | New; 2×59 MW; commenced 2024
PHP-II (1,020 MW) | 0 | 0 | 0 | 0 | 12.23 | 6×170 MW; ramp-up 2024
TOTAL | 11366.7 | 10800.3 | 10754.05 | 10516.02 | 11648.69
B. BPC ENERGY STATISTICS (MU) — 2020 to 2024
Metric | 2020 | 2021 | 2022 | 2023 | 2024 | Notes
Total Energy Purchase by BPC (MU) | 2154.02 | 2670.95 | 3662.96 | 5922.04 | 7548.99 | Incl. mini-hydro, solar, import
Total Energy Sales (MU) | 1961.31 | 2474.49 | 3465.18 | 5689.74 | 7125
Energy Wheeled for Export (MU) | 9156.71 | 8074.27 | 7240.21 | 5135.06 | 5456.44 | BPC wheels surplus to India
Total DGPC Generation (MU) | 11366.71 | 10800.3 | 10754.05 | 10516.02 | 11648.68
Energy Export to India (MU) | 9156.71 | 8074.27 | 7240.21 | 5135.06 | 5456.44 | Via wheeling contracts
Number of Customers | 213629 | 222058 | 232465 | 243285 | 255517 | 5.03% growth in 2024
C. NATIONAL PEAK DEMAND — 2020 to 2024
Year | Peak Load (MW) | Date | Time |  |  | Notes
2020 | 374.53 | 24-Dec-2020 | 15:00
2021 | 435.35 | 27-Dec-2021 | 18:02
2022 | 629.23 | 28-Dec-2022 | 18:00
2023 | 955.51 | 30-Dec-2023 | 18:00
2024 | 1026.44 | 25-Dec-2024 | 18:38 |  |  | Leading substations: Jamjee 192.04 MW; 220kV Gedu (DHI) 149.1 MW; Singhigoan 170.1 MW
D. SYSTEM LOSSES — 2020 to 2024
Loss Metric | 2020 | 2021 | 2022 | 2023 | 2024 | Notes
Global System Losses (incl. Wheeling) % | 1.70% | 1.83% | 1.81% | 2.14% | 2.15%
Transmission Loss (incl. Wheeling) % | 1.11% | 1.23% | 1.21% | 1.49% | 1.49%
Distribution Losses (incl. HV Industries) % | 3.34% | 2.30% | 1.98% | 1.35% | 0.16% | Improved due to HV industrial connections
Distribution Losses (excl. HV Industries) % | 9.37% | 7.51% | 7.30% | 7.86% | 8.05%

## Existing Interconnections
BHUTAN — Existing Power Interconnections (Cross-Border)
Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024) ¦ National Transmission Grid Master Plan 2018
Project | From Country | To Country | From Point | To Point | Capacity (MW) | Voltage Level | DC/AC | Technology | Directionality | Operational Date | Status | Notes
400kV Tala–Siliguri Line 1&2 | Bhutan | India | Tala Power House | Siliguri (WB) | ~1,020 | 400 kV | AC | HVAC Overhead Twin Moose ACSR D/C | Export (Bhutan→India) | 2006 | Operational | 24.62 km; primary export corridor for Tala HP
400kV Tala–Malbase–Siliguri Line 3&4 | Bhutan | India | Tala Power House (via Malbase) | Siliguri (WB) | ~1,020 | 400 kV | AC | HVAC Overhead Twin Moose ACSR D/C | Export (Bhutan→India) | 2008 | Operational | 49.53 km route
400kV Puna-I–Alipurduar Line 1&2 | Bhutan | India | Punatsangchhu-I HP | Alipurduar (WB) | ~1,200 | 400 kV | AC | HVAC Overhead Twin Moose ACSR D/C | Export (Bhutan→India) | 2020 | Operational | 93.38 km
400kV Puna-I–Puna-II Line 1&2 | Bhutan | Bhutan | Punatsangchhu-I HP | Punatsangchhu-II HP | Internal | 400 kV | AC | HVAC Overhead Twin Moose ACSR D/C | Internal Transfer | 2020 | Operational | 13.03 km
400kV Puna-II–Alipurduar Line 1&2 | Bhutan | India | Punatsangchhu-II HP | Alipurduar (WB) | ~1,200 | 400 kV | AC | HVAC Overhead Twin Moose ACSR D/C | Export (Bhutan→India) | 2024 | Operational | 80.85 km
400kV Puna-II–Jigmeling Line 1&2 | Bhutan | Bhutan | Punatsangchhu-II HP | Jigmeling SS | Internal | 400 kV | AC | HVAC Overhead Twin Moose ACSR D/C | Internal Transfer | 2024 | Operational | 64.98 km
400kV Mangdechhu–Jigmeling Line 1-4 | Bhutan | Bhutan | Mangdechhu HP | Jigmeling SS | Internal | 400 kV | AC | HVAC Overhead Twin Moose ACSR D/C | Internal Transfer | 2019 | Operational | 85.07 km + 84.65 km (2 pairs)
400kV Jigmeling–Alipurduar Line 1&2 | Bhutan | India | Jigmeling SS | Alipurduar (WB) | ~720 | 400 kV | AC | HVAC Overhead Quad Moose ACSR D/C | Export (Bhutan→India) | 2019 | Operational | 4.75 km; Mangdechhu export corridor
220kV Chhukha–Birpara (India Border) | Bhutan | India | Chhukha HP | Birpara (WB) | ~336 | 220 kV | AC | HVAC Overhead Zebra ACSR D/C | Export (Bhutan→India) | 1988 | Operational | 35.46 km
220kV Chhukha–Malbase–Siliguri | Bhutan | India | Chhukha HP (via Malbase) | Siliguri (WB) | ~336 | 220 kV | AC | HVAC Overhead Zebra ACSR S/C | Export (Bhutan→India) | 1988 | Operational | S/C feeder; 29.87 km
220kV Malbase–India Border (Birpara) | Bhutan | India | Malbase SS | Birpara (WB) | ~100 | 220 kV | AC | HVAC Overhead Zebra ACSR S/C | Export (Bhutan→India) | 1988 | Operational | ~8 km to border
220kV Samtse–Singhigaon (India Border) | Bhutan | India | Samtse SS | India Border | ~100 | 220 kV | AC | HVAC Overhead Zebra ACSR D/C | Export/Import | ~2022 | Operational | New corridor; 6 towers
220kV Damdum–Norbugang (NIP) | Bhutan | Bhutan | Damdum SS | Norbugang Industrial Park | Internal | 220 kV | AC | HVAC Overhead Zebra ACSR D/C | Internal Transfer | ~2022 | Operational | 6.46 km; serves Norbugang Industrial Park
132kV Deothang–Motanga–India Border | Bhutan | India | Deothang SS | India Border (Assam) | ~60 | 132 kV | AC | HVAC Overhead Panther ACSR S/C | Export + Emergency Import | ~2010 | Operational | Samdrup Jongkhar corridor; ASEB import possible
132kV Gelephu–Salakati (India Border) | Bhutan | India | Gelephu SS | Salakati (Assam) | ~50 | 132 kV | AC | HVAC Overhead Panther ACSR S/C | Export/Emergency Import | ~2010 | Operational | 0.10 km at border; Gelephu corridor
66kV Samtse–Sibsoo (India area) | Bhutan | India | Samtse SS | Sibsoo (WB) | ~30 | 66 kV | AC | HVAC Overhead Wolf ACSR D/C | Export/Import | Historic | Operational | 26.96 km; southern Bhutan–WB link
66kV Phuentsholing–Gomtu (southward) | Bhutan | India/Bhutan | Phuentsholing SS | Gomtu | ~30 | 66 kV | AC | HVAC Overhead Dog ACSR S/C | Internal/Export | Historic | Operational | 27.35 km
ℹ️ Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024) ¦ Source: National Transmission Grid Master Plan 2018 ¦ Total 400kV transmission: 500.86 km ¦ Total cross-border capacity: >3,500 MW export

## Planned Interconnections
BHUTAN — Planned / Proposed Power Interconnections
Source: Bhutan Power System Master Plan 2040 ¦ Source: National Transmission Grid Master Plan 2018
Project | From Country | To Country | From Point | To Point | Voltage Level | Function | Capacity (MW) | DC/AC | Background / Rationale | Expected COD | Status | Source
Punatsangchhu-I Export Line (additional) | Bhutan | India | Punatsangchhu-I HP | Alipurduar | 400 kV | Export | 1,200 | AC | Additional export capacity for PHP-I; Power System Master Plan 2040 identified need for additional evacuation capacity | Post 2025 | Planned | Source: Bhutan Power System Master Plan 2040
Bunakha Reservoir–India Interconnection | Bhutan | India | Bunakha (West Bhutan) | India (WB) | 400 kV | Export | 2,400 | AC | Proposed for Bunakha Reservoir Hydropower Project (4×600 MW); Master Plan 2040 envisions major new export corridor | Post 2030 | Proposed | Source: Bhutan Power System Master Plan 2040
Kholongchhu HP Export Line | Bhutan | India | Kholongchhu (East Bhutan) | Assam/WB | 400 kV | Export | 600 | AC | Export evacuation for Kholongchhu HP (600 MW); Eastern Bhutan export corridor development | Post 2027 | Under Study | Source: National Transmission Grid Master Plan 2018
Dorjilung HP Export Line | Bhutan | India | Dorjilung (South Bhutan) | Assam | 400 kV | Export | 1,125 | AC | Proposed export for Dorjilung HP; requires new India interconnection in Assam sector | Post 2030 | Proposed | Source: Bhutan Power System Master Plan 2040
Chamkharchhu HP Export Line | Bhutan | India | Chamkharchhu (Central) | India | 400 kV | Export | 670 | AC | Planned export corridor for Chamkharchhu Hydropower Project | Post 2028 | Under Study | Source: Bhutan Power System Master Plan 2040
South Asia Subregional Economic Cooperation (SASEC) Grid | Bhutan | Bangladesh/India/Nepal | TBD | TBD | 400 kV | Multi-directional | TBD | AC | Regional power trade under SASEC framework; Bhutan as potential power exporter to Bangladesh via India | Post 2030 | Concept | Source: Bhutan Power System Master Plan 2040
Gelephu Mindfulness City (GMC) Grid Interconnection | Bhutan | India | Gelephu (S. Bhutan) | Assam | 220/400 kV | Import/Export | 500 | AC | New interconnection to serve GMC Special Administrative Region (SAR); large industrial/urban development planned; high import requirement initially | 2027-2030 | Under Planning | Power System Master Plan 2040 + Bhutan Gov.
ℹ️ Source: Bhutan Power System Master Plan 2040 ¦ Note: Planned projects subject to bilateral agreements with India; actual CODs may vary significantly

## Existing Transmission
BHUTAN — Existing Transmission Infrastructure (as of December 2024)
Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
A. TRANSMISSION LINES BY VOLTAGE LEVEL
Voltage Level | Circuit Type | Route Length (km) 2024 | # Towers | Conductor Type | From – To (Examples) | 2022 Length | 2023 Length | Notes
400 kV | D/C Twin Moose ACSR | 496.11 | 1156 | Twin Moose ACSR | Tala→Siliguri; MHP→Jigmeling; Puna-I→Alipurduar; Puna-II→Alipurduar/Jigmeling; MHP→Jigmeling | 496.11 | 496.11 | Primary export backbone
400 kV | D/C Quad Moose ACSR | 4.75 | 12 | Quad Moose ACSR | Jigmeling→Alipurduar | 4.75 | 4.75 | Short border section
220 kV | S/C Zebra ACSR | 187.26 | 488 | Zebra ACSR | Chhukha→Malbase; Semtokha→Rurichhu; Rurichhu→Tsirang; Singhigoan border section | 181.72 | 181.74
220 kV | D/C Zebra ACSR | 183.01 | 280 | Zebra ACSR | Chhukha→Birpara; Malbase→Samtse; Tsirang→Jigmeling; Dagachhu→Tsirang; Damdum→Norbugang | 137.48 | 136.98 | New sections added 2024
132 kV | S/C Panther ACSR | 344.65 | 541 | Panther ACSR | Kurichhu→Nangkhor→Deothang→Motanga; Nganglam→Tingtibi; Gelephu→Tintibi | 344.65 | 344.65 | Eastern Bhutan backbone
132 kV | D/C Panther ACSR | 157.99 | 327 | Panther ACSR | Jigmeling→Pelrithang; Motanga→Phuntshothang; Kanglung→Phuntshothang; Nganglam→Motanga; Nikachhu→Mangdechhu | 156.89 | 156.89
66 kV | S/C Dog/Wolf ACSR | 384.04 | 744 | Dog ACSR / Wolf ACSR / HTLS ACCC | Chhukha→Chumdo; Semtokha→Habesa; Jamjee→Paro/Haa; Dechencholing→Gasa; Chukha→Gedu→Phuentsholing; Yurmoo→Bumthang | 349.8 | 345.7 | Distribution to remote dzongkhags
66 kV | D/C Wolf ACSR | 69.04 | 110 | Wolf ACSR | Khasadrapchu→Jemina; Jemina→Changedaphu; Samtse→Sibsoo; Damdum→Gomtu | 59.92 | 59.92
66 kV | Quad/C Dog ACSR | 3.41 | 17 | Dog ACSR | Malbase→Pasakha (multi-circuit) | 3.41 | 3.41 | Industrial area feed
66 kV | Underground Cable (HV) | 6.72 | - | XLPE Cable | Khasadrapchu→Olakha; Pasakha Industrial; SW31→Dochula SS | 6.72 | 6.72 | 66kV underground sections
TOTAL | All | 1,836.97 | 5,050 | Various |  | 1741.44 | 1736.86 | Total route length grew from 1,736.86 km (2023) to 1,836.97 km (2024)
B. MAJOR TRANSMISSION SUBSTATIONS (as of December 2024)
Substation | Type | Voltage Ratio (kV) | Capacity (MVA) | TOMS Region | 2020 Capacity | 2021 Capacity | 2022 Capacity | Notes
Malbase | AIS | 400/220/33 + 220/66 + 66/11 | 500 | TOMS Pling | 500 | 500 | 500 | Key export hub; PHP-I/II interconnection
Jigmeling | AIS + GIS (Bitdeer) | 400/220 + 220/132 + 132/33 | 700 | TOMS Jigmeling | - | - | - | Major central hub; MHP + PHP-II evacuation
Semtokha | AIS | 220/66 + 66/11 | 176 | TOMS Semtokha | 175 | 175 | 175 | Thimphu supply hub
Jamjee | GIS | 220/66 + 66/33 + 66/11 | 300 | TOMS Semtokha | - | - | - | Key west-central SS; peak 192.04 MW (2024)
Gedu (220kV) | GIS | 220/66 | 160 | TOMS Pling | - | - | - | New 220kV; DHI farm supply
Singhigaon | GIS | 66/33+11 | 189 | TOMS Pling | - | - | - | Norbugang industrial hub; peak 170.1 MW
Phuentsholing | GIS | 66/33/11 | 60 | TOMS Pling | 60 | 60 | 60 | Border city supply
Dechencholing | AIS | 66/33+11 | 60 | TOMS Semtokha | 60 | 60 | 60 | North Thimphu; peak 42.57 MW
Olakha | AIS | 66/33 | 40 | TOMS Semtokha | 40 | 40 | 40 | Thimphu industrial
Gelephu | AIS | 132/33 + 33/11 | 50 | TOMS Tingtibi | 50 | 50 | 50 | Gelephu Mindfulness City supply point; future growth
Motanga | AIS | 132/33 | 15 | TOMS Deothang | 15 | 15 | 15 | Samdrup Jongkhar area; India interconnection
Dagapela | AIS | 220/33 | 80 | TOMS Tsirang | - | - | - | Dagachhu HP output; Dagana supply
Tsirang (Darjey) | AIS | 220/33 | 20 | TOMS Tsirang | - | - | - | Dagachhu/Dagapela distribution
Yurmoo | GIS | 132/33 | 30 | TOMS Tingtibi | - | - | - | Central eastern hub
Pangbesa | AIS | 66/33+11 | 20 | TOMS Lobyesa | 20 | 20 | 20 | Paro valley supply
Lobeysa | AIS | 66/33+11 | 20 | TOMS Lobyesa | 20 | 20 | 20 | Punakha supply
Damji (GIS) | GIS | 66/33 | 30 | TOMS Semtokha | - | - | - | Gasa/Punakha northern supply
TOTAL TRANSFORMATION CAPACITY |  |  | 3,478 |  | 1675.5 | 1900.5 | 1910.5 | Grew from 2,735.5 MVA (2023) to 3,478 MVA (2024)
C. DISTRIBUTION NETWORK SUMMARY (as of December 2024)
Network Level | Route Length 2024 (km) | Route Length 2023 | Route Length 2022 | Route Length 2021 | Route Length 2020 | Transformer Capacity (kVA) |  | Notes
33 kV Lines | 4500.18 | 4412.4 | 4185.73 | 4149.48 | 4050.57 |  |  | 19 dzongkhags; main MV backbone
11 kV Lines | 2901.71 | 2786.77 | 2696.46 | 2686.44 | 2636.8
6.6 kV Lines | 85.47 | 86.79 | 80.14 | 85.02 | 83.86 |  |  | Legacy voltage; being phased out
LV Lines (415/230V) | 10018.37 | 9966.43 | 10426.12 | 10036.2 | 9944.96 |  |  | Last-mile customer connections
TOTAL Distribution Lines | 17505.73 | 17252.39 | 17388.44 | 16957.14 | 16716.19
Distribution Transformer Capacity | 1,344,651 | 1,157,581 | 1,046,742 | 959,187 | 908,036 |  |  | kVA; 5,746 BPC transformers + 6,461 private

## Planned Transmission
BHUTAN — Planned / Under-Development Transmission Projects
Source: Bhutan Power System Master Plan 2040 ¦ Source: National Transmission Grid Master Plan 2018
Project | From | To | Voltage Level | Function | Capacity / Length | Background / Rationale | Expected COD | Status | Source
Gelephu 400kV Substation & Evacuation Line | Mangdechhu/Jigmeling grid | Gelephu (GMC SAR) | 400 kV | Power supply to Gelephu Mindfulness City; future export corridor to Bangladesh | ~100 km; 400kV SS 500 MVA | Gelephu Mindfulness City (GMC) Special Administrative Region requires massive new power infrastructure; planned as major economic hub | 2026-2028 | Under Planning / EPC Tender | Source: Bhutan Power System Master Plan 2040
220kV Tshendagang–Dagapela Upgrade | Tshendagang (Dagachhu) | Dagapela SS | 220 kV | Strengthen south-central grid; reduce outage risk | LILO upgrade; ~5 km | Existing LILO commissioned; capacity expansion needed for Dagana industrial growth | 2025-2026 | Under Implementation | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
220kV Rurichhu–PHPA-I LILO | Rurichhu SS | PHPA-I (PHP-I) | 220 kV | Integration of PHP-I into main grid | ~2.4 km LILO | Required for full PHP-I evacuation and grid stability | 2024-2025 | Under Construction | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
132kV Merung–Corlung Upgrade (D/C) | Merung | Corlung | 132 kV | Strengthen eastern grid reliability | 18.68 km D/C | Eastern Bhutan (Trashigang/Mongar) load growth requires additional capacity | 2025-2027 | Planned | Source: National Transmission Grid Master Plan 2018
132kV Kanglung–Phuntshothang (Full D/C stringing) | Kanglung SS | Phuntshothang SS | 132 kV | Reliability; currently single-strung D/C towers | 51.43 km | Currently single-strung; full stringing to double capacity for eastern industrial park | 2025-2027 | Planned | Source: National Transmission Grid Master Plan 2018
132kV Nganglam–Motanga (D/C stringing) | Nganglam SS | Motanga SS | 132 kV | Reliability upgrade | 34.92 km | Currently single-strung; upgrade for Samdrup Jongkhar area load growth | 2026-2028 | Planned | Source: National Transmission Grid Master Plan 2018
400kV Jigmeling–Punatsangchhu-II Integration | Jigmeling SS | PHP-II powerhouse | 400 kV | Full evacuation capacity for PHP-II (1,020 MW) | ~65 km | As PHP-II ramps up generation, additional evacuation capacity required beyond existing 400kV links | 2025 | Under Commissioning | Source: Bhutan Power System Master Plan 2040
66kV Samtse–Norbugang Industrial Park Upgrades | Samtse SS | Norbugang (NIP) | 66 kV / 220 kV | Industrial park power supply | New feeders + SS capacity | Norbugang Industrial Park load growth; existing 220kV Damdum–Norbugang to be supplemented | 2025-2026 | Under Planning | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Smart Grid & SCADA Upgrade (National) | National | National | All Voltages | Automation; real-time monitoring; fault isolation | National SCADA rollout | BPC investing in automation and smart grid technology per PDB 2024 Executive Summary; improve reliability indices | 2025-2030 | Ongoing/Rolling | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Rural Electrification – Remaining 0.03% Households | National (remote areas) | National | LV Extension | Achieve 100% rural electrification | ~0.03% remaining | As of Dec 2024, 99.97% RE achieved; remaining connections in extremely remote areas (Highlander communities) | 2025 | Near Completion | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Optical Fiber OPGW Expansion | National TL network | National TL network | All TL voltages | Fiber optic communication overlay on transmission lines | OPGW on new TLs | Total OPGW: 1,528.51 km (2024); ADSS: 5,406.75 km; expanding with new TL projects | 2025-2027 | Ongoing | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
ℹ️ Source: Bhutan Power System Master Plan 2040 ¦ Source: National Transmission Grid Master Plan 2018 ¦ Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)

## Planned Generation
BHUTAN — Planned & Under-Construction Generation Projects
Source: Bhutan Power System Master Plan 2040 ¦ Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Project / Plant | Zone / Location | Fuel Type | Capacity (MW) | Technology | Developer | Status | Expected COD | Notes / Source
Punatsangchhu-II HP (PHP-II) — Full Commissioning | West (Wangdue Phodrang) | Hydro | 1020 | Run-of-River (storage-like) | DGPC / PHPA-II | Partially Operational – Ramp Up | 2025 (full) | 6×170 MW; commenced 2024 with 12.23 MU; full commissioning ongoing; export to Alipurduar
Kholongchhu Hydropower Project | East (Trashiyangtse) | Hydro | 600 | Run-of-River | DGPC / Kholongchhu Hydro Energy Ltd. (JV with Satluj Jal Vidyut Nigam) | Under Construction | 2027 | JV project with SJVNL (India); 4×150 MW; Trashi Yangtse district
Bunakha Reservoir Hydropower Project | West (Thimphu/Paro area) | Hydro | 2400 | Reservoir / Storage | DGPC / Government of Bhutan | Feasibility / Planning | Post 2030 | 4×600 MW; reservoir project providing storage capability; one of Bhutan's largest planned projects; requires major dam construction
Chamkharchhu I Hydropower Project | Central (Bumthang/Zhemgang) | Hydro | 670 | Run-of-River | DGPC / Chamkharchhu Hydropower Ltd. | Pre-Construction / DPR | 2028-2030 | Chamkharchhu river; ~670 MW capacity; evacuation planning ongoing
Dorjilung Hydropower Project | South (Samdrup Jongkhar) | Hydro | 1125 | Run-of-River | DGPC / JV (India partner TBD) | Feasibility Complete | Post 2030 | 3×375 MW; India–Bhutan JV; Arunachal Pradesh border area
Nikachhu HP — Full Output Stabilization | Central (Trongsa) | Hydro | 118 | Run-of-River | DGPC | Operational (stabilizing) | 2025 | 2×59 MW; commenced 2024; 513 MU generated; full stabilized output expected 2025
Gelephu Solar Power Plant | South (Gelephu GMC) | Solar | TBD (target 200-500) | Solar PV (utility-scale) | TBD / Private IPP | Planning | 2026-2028 | Part of Gelephu Mindfulness City energy mix; may include storage; first large-scale solar beyond DSP
DSP Solar Expansion | Central (Dungsam area) | Solar | TBD | Solar PV | DGPC | Under Study | 2026+ | Expansion of existing DSP Solar; 3.23 MU purchased in 2024 by BPC; tariff Nu. 3.64/kWh
Rooftop Solar Program (National) | National | Solar | Target: 50 MW by 2030 | Rooftop Solar PV | Private / Households / BPC | Rolling / Ongoing | 2030 target | Policy-driven; embedded generation integrated into BPC grid; 2024: 3.23 MU purchased under solar tariff
Mini/Micro Hydel Expansion | National (remote areas) | Hydro | ~10-20 MW additional | Mini/Micro Hydel | Local Communities / BPC | Rolling | Ongoing | Replace isolated diesel; 16.90 MU generated in 2024; further expansion in remote Dzongkhags
Shakti Hydropower Project (proposed) | West Bhutan | Hydro | 2585 | Reservoir / Storage | Government of Bhutan / India JV | Feasibility | Post 2035 | Very large storage project; subject to environmental studies; part of long-term Power System Master Plan
Amochhu Reservoir Project | West (Ha/Haa district) | Hydro | 620 | Reservoir | Government of Bhutan | Feasibility | Post 2030 | Reservoir project; inter-seasonal storage to firm up run-of-river generation
TOTAL PLANNED CAPACITY (identifiable projects): |  |  | ~9,150+ MW
ℹ️ Source: Bhutan Power System Master Plan 2040 ¦ Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024) ¦ Bhutan targets to develop remaining ~10,000 MW hydropower potential for export

## Additional Data
BHUTAN — Additional Power Sector Data
Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024) ¦ Source: Bhutan Power System Master Plan 2040
A. ELECTRICITY TARIFFS (BPC to Customers) — Effective 1 Sep 2022 to 30 Jun 2025
Category | Tariff Structure | Rate (Nu./kWh or kVA/Month) | Previous Rate (Jul 2021–Aug 2022) | Notes | Source
LV Block I – Rural (0-100 kWh) | Free first 100 kWh | Nu. 0.00 /kWh | Nu. 0.00 /kWh | Subsidized; rural households | BPC PDB 2024, Table 6.1
LV Block I – Highlanders (0-200 kWh) | Free first 200 kWh | Nu. 0.00 /kWh | Nu. 0.00 /kWh | Higher subsidy for highland communities | BPC PDB 2024, Table 6.1
LV Block I – Others (0-100 kWh) | Energy charge | Nu. 1.28 /kWh | Nu. 1.28 /kWh | Urban/commercial first block | BPC PDB 2024, Table 6.1
LV Block II – All (101-500 kWh) | Energy charge | Nu. 2.66 /kWh | Nu. 2.68 /kWh | Mid-tier consumption | BPC PDB 2024, Table 6.1
LV Block III – All (>500 kWh) | Energy charge | Nu. 2.66 /kWh | Nu. 3.64 /kWh | Tariff rationalization in 2022 | BPC PDB 2024, Table 6.1
LV Bulk Supply | Energy charge | Nu. 2.66 /kWh | Nu. 4.14 /kWh | Bulk LV consumers | BPC PDB 2024, Table 6.1
Medium Voltage (MV) | Energy + Demand | Energy: Nu. 1.60/kWh + Demand: Nu. 496/kVA/Month | Energy: Nu. 2.65/kWh + Nu. 325/kVA | Revised demand charges 2022 | BPC PDB 2024, Table 6.1
High Voltage (HV) | Energy + Demand | Energy: Nu. 1.60/kWh + Demand: Nu. 170/kVA/Month | Energy: Nu. 1.50/kWh + Nu. 292/kVA | Major industrial/export consumers | BPC PDB 2024, Table 6.1
Average Tariff – HV | Average realized | Nu. 2.66 /kWh | Nu. 2.26 /kWh |  | BPC PDB 2024, Table 6.2
Average Tariff – MV | Average realized | Nu. 2.66 /kWh | Nu. 5.15 /kWh | Large reduction post-2022 revision | BPC PDB 2024, Table 6.2
Average Tariff – LV | Average realized | Nu. 2.66 /kWh | Nu. 5.06 /kWh |  | BPC PDB 2024, Table 6.2
Wheeling Charge | Per unit wheeled | Nu. 0.23 /kWh | Nu. 0.27 /kWh | For export energy wheeled by BPC | BPC PDB 2024, Table 6.3
B. ELECTRICITY TARIFF LEVIED BY GENERATING COMPANIES TO BPC (Nu./kWh)
Plant | Domestic Tariff (Jul 2021 – Aug 2022) | Domestic Tariff (Sep 2022 – Jun 2025) | Export Tariff (Jul 2024 – Jun 2025) | Installed Capacity (MW) | Source
Chhukha HP | Nu. 3.00 /kWh | Nu. 1.42 /kWh | Nu. 1.34 /kWh | 336 MW | BPC PDB 2024, Table 6.4
Basochhu HP | Nu. 3.00 /kWh | Nu. 1.42 /kWh | Nu. 1.34 /kWh | 64 MW | BPC PDB 2024, Table 6.4
Kurichhu HP | Nu. 2.23 /kWh | Nu. 1.42 /kWh | Nu. 1.34 /kWh | 60 MW | BPC PDB 2024, Table 6.4
Tala HP | Nu. 2.23 /kWh | Nu. 1.42 /kWh | Nu. 1.34 /kWh | 1,020 MW | BPC PDB 2024, Table 6.4
Dagachhu HP | Nu. 3.40 /kWh | Nu. 1.42 /kWh | Nu. 1.34 /kWh | 252 MW | BPC PDB 2024, Table 6.4
Mangdechhu HP | Nu. 4.12 /kWh | Nu. 3.77 /kWh | Nu. 3.64 /kWh | 720 MW | BPC PDB 2024, Table 6.4
PHP-II | N/A | N/A | Nu. 4.60 /kWh | 1,020 MW | BPC PDB 2024, Table 6.4
DSP Solar | N/A | N/A | Nu. 3.64 /kWh | Small | BPC PDB 2024, Table 6.4
C. BPC FINANCIAL PERFORMANCE (Million Nu.) — 2020 to 2024
Metric | 2020 | 2021 | 2022 | 2023 | 2024
Revenue from Electricity Sales (Nu. M) | 6114.75 | 7035.68 | 9614.34 | 16234.65 | 22973.61
Revenue from Wheeling (Nu. M) | 2463.94 | 2185.15 | 1850.32 | 1318.53 | 1595.34
Revenue from Construction Contracts (Nu. M) | 374.22 | 1328.08 | 3039.04 | 2287.41 | 195.22
Revenue from Others (Nu. M) | 223.84 | 326.38 | 347.42 | 367.91 | 334.47
Power Purchase Cost from GENCOs (Nu. M) | 3169.73 | 3842.86 | 6305.08 | 8730.82 | 10741.93
Total Fixed Assets (Nu. M) | 30658.53 | 31217.11 | 38379.95 | 38831.5 | 42920.82
Net Fixed Assets (Nu. M) | 27939.46 | 28428.76 | 33915.79 | 35626.62 | 37032.68
Return on Equity (%) | 3.80% | 7.46% | 5.27% | 7.11% | 10.41%
Return on Assets (%) | 1.99% | 3.92% | 2.66% | 3.29% | 4.69%
Debt-to-Equity Ratio (%) | 93.80% | 88.88% | 112.45% | 116.64% | 127.80%
Interest Coverage Ratio | 2.15 | 2.79 | 2.45 | 2.79 | 3.92
Customers per Employee | 89.8 | 99.58 | 104.76 | 109.64 | 114.99
Energy Sales (MU) per Employee | 0.82 | 1.11 | 1.55 | 2.56 | 3.21
D. RELIABILITY INDICES (BPC System-Wide) — 2023 vs 2024
Index | Full Name | 2023 Total | 2024 Total | 2024 Monthly Avg | Notes
SAIFI | System Average Interruption Frequency Index (interruptions/customer/year) | 30.81 | 28.82 | 2.4 | Lower is better; improved from 2023
SAIDI | System Average Interruption Duration Index (hours/customer/year) | 19.36 | 43.03 | 3.59 | Increased in 2024; summer storms impact
MAIFI | Momentary Average Interruption Frequency Index (momentary events/year) | 14.33 | 14.58 | 1.21 | Roughly stable
E. DZONGKHAG-WISE ENERGY TRANSFERRED (MU) — 2024 (Selected)
Dzongkhag | Energy (MU) 2024 | Customers (2024) | Total Losses (%) | Notes | Source
Thimphu | 2523.998 | 59541 | 0.95% | Largest dzongkhag; 23.30% of customers | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Chhukha | 2762.861 | 22951 | 1.34% | Major industrial/HV consumers; Pasakha | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Sarpang | 52.733 | 18017 | 10.10% |  | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Samtse | 99.834 | 17993 | 2.28% | WBSEB emergency import possible | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Paro | 83.701 | 18590 | 9.62% | Airport; tourism hub | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Samdrup Jongkhar | 242.517 | 11157 | 1.17% | ASEB import possible; border town | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Punakha | 190.316 | 10357 | 0.56% | Hydropower nearby; low losses | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Mongar | 17.882 | 12682 | 7.30% | Eastern hub | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Tsirang | 12.041 | 8074 | 5.19% |  | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Trashigang | 16.961 | 15564 | 12.52% | Remote; highest mini-hydro dependency | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Dagana | 474.944 | 6653 | 0.80% | Major growth due to HV industry (2022+) | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Trongsa | 530.573 | 5058 | 0.21% | PHP-II & Mangdechhu transit zone | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Bumthang | 17.772 | 6244 | 11.66% | High losses; remote terrain | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Wangdue Phodrang | 50.671 | 11260 | 6.54% | Punatsangchhu HP base | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Haa | 17.756 | 5224 | 10.94% | Remote; border district | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Lhuntse | 8.784 | 5145 | 15.28% | Highest loss dzongkhag 2024 | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Pemagatsel | 77.937 | 8957 | 1.86% |  | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Zhemgang | 9.897 | 5534 | 11.62% | Remote; low density | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
Trashi Yangtse | 9.075 | 6516 | 11.52% | Remote; eastern | Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024)
F. RURAL ELECTRIFICATION COVERAGE — 2020 to 2024
Metric | 2020 | 2021 | 2022 | 2023 | 2024
Total Electrified Households | 90483 | 91195 | 91195 | 92476 | 93725
RE Coverage (excl. off-grid works) | 100.00% | 100.00% | 100.00% | 100.00% | 100.00%
RE Coverage (incl. off-grid works) | 99.09% | 99.87% | 99.87% | 99.97% | 99.97%
Off-grid connections migrated to grid | 100% | 100% | 100% | 100% | 100%
G. BPC EMPLOYEE STATISTICS — 2024
Category | Subcategory | Count | Percentage | Notes | Source
Employment Type | Regular | 2209 | 99% |  | BPC PDB 2024, Table 9.1
Employment Type | Contract | 13 | 1% |  | BPC PDB 2024, Table 9.1
Gender | Male | 1796 | 81% |  | BPC PDB 2024, Table 9.1
Gender | Female | 426 | 19% |  | BPC PDB 2024, Table 9.1
Age Group | 50+ years | 367 | 17% |  | BPC PDB 2024, Table 9.1
Age Group | 40-49 years | 744 | 33% |  | BPC PDB 2024, Table 9.1
Age Group | 30-39 years | 795 | 36% | Largest cohort | BPC PDB 2024, Table 9.1
Age Group | 18-29 years | 316 | 14% |  | BPC PDB 2024, Table 9.1
Qualification | Masters Degree | 62 | 3% |  | BPC PDB 2024, Table 9.1
Qualification | Bachelors Degree | 185 | 8% |  | BPC PDB 2024, Table 9.1
Qualification | Diploma | 248 | 11% |  | BPC PDB 2024, Table 9.1
Qualification | Certificate/Others | 1727 | 78% |  | BPC PDB 2024, Table 9.1
Total Employees | All | 2222 | 100% | 2021 had highest count (2,415) | BPC PDB 2024, Table 9.1
H. FIBER OPTIC NETWORK (BPC Communication Infrastructure) — December 2024
Network Type | Coverage (km) | Coverage / Notes | Voltage Association | Purpose | Source
OPGW (Optical Ground Wire) | 1,528.51 km | On transmission lines; 400kV/220kV/132kV/66kV | HV Transmission Lines | Primary fiber backbone; terminates at HV substations near Dzongkhag HQs | BPC PDB 2024, Table 7.1
ADSS (All Dielectric Self Supporting) | 5,406.75 km | On distribution poles; reaches all 19 Dzongkhags + Gewogs | MV/LV Distribution Network | Last-mile connectivity to Dzongkhag HQs, Gewog Centers, government offices, BHUs | BPC PDB 2024, Table 7.2
Total Fiber Network | 6,935.26 km | Combined OPGW + ADSS | All voltage levels | National broadband backbone (BPC contributes to Bhutan ICT Broadband Master Plan) | BPC PDB 2024, Ch. 7
ℹ️ All data: Source: Bhutan Power Corporation Limited – Power Data Book 2024 (BPC PDB 2024) unless otherwise noted. Exchange rate reference: 1 USD ≈ 84 Nu. (Bhutanese Ngultrum, pegged to Indian Rupee)